## Luminescence 1_01
Measurement results
20220306_6123_Day0CTG_MPH.skax
3/6/2022 11:39:02 AM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 4553000 | 3145000 | 5294000 | 3232000 | 3950000
B
C
D
E
F
G
H
I
J
K
L
M
N
O
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Day0_UNT0001 | Day0_UNT0002 | Day0_UNT0003 | Day0_UNT0004 | Day0_UNT0005
B
C
D
E
F
G
H
I
J
K
L
M
N
O
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | A01 | Group 1 | Day0_UNT0001 | 4553000
Plate 1 | A02 | Group 1 | Day0_UNT0002 | 3145000
Plate 1 | A03 | Group 1 | Day0_UNT0003 | 5294000
Plate 1 | A04 | Group 1 | Day0_UNT0004 | 3232000
Plate 1 | A05 | Group 1 | Day0_UNT0005 | 3950000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220306_6123_Day0CTG_MPH.skax
Session notes
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/6/2022 11:39:02 AM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/6/2022 11:39:02 AM | Session 20220306_6123_Day0CTG_MPH.skax started
| 3/6/2022 11:39:02 AM | Temperature | 22.3°C
| 3/6/2022 11:39:02 AM | Temperature | 22.3°C
| 3/6/2022 11:39:03 AM | Step Luminescence 1 started
| 3/6/2022 11:39:11 AM | Calibration | Luminometric 1.06203 363596746
| 3/6/2022 11:39:18 AM | Step Luminescence 1 ended
| 3/6/2022 11:39:18 AM | Temperature | 22.3°C
| 3/6/2022 11:39:28 AM | Session 20220306_6123_Day0CTG_MPH.skax ended

## Layout definitions
Name | Plate 1
Plate template | Greiner, F-bottom, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Day0_UNT0001 | Day0_UNT0002 | Day0_UNT0003 | Day0_UNT0004 | Day0_UNT0005
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B
C
D
E
F
G
H
I
J
K
L
M
N
O
P