## Luminescence 1_01
Measurement results
20220309_6125_OXSN38_DAY4CTG_MJP.skax
3/9/2022 7:21:26 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 4534000 | 9996000 | 7620000 | 4654000 | 5878000 | 9570000 | 6692000 | 9010000 | 25020000 | 28510000 | 7890000 | 10250000 | 9598000 | 8492000 | 12540000 | 5659000 | 2639000 | 3584000 | 23080000 | 26930000 | 11470000 | 6983000
C |  | 6810000 | 10890000 | 6878000 | 8196000 | 9305000 | 13680000 | 8348000 | 5001000 | 25570000 | 20350000 | 11900000 | 9328000 | 3417000 | 14500000 | 3500000 | 9705000 | 9137000 | 11940000 | 20270000 | 19790000 | 13830000 | 311800
D |  | 11290000 | 11080000 | 12540000 | 7266000 | 13280000 | 9198000 | 11130000 | 12000000 | 19530000 | 23020000 | 4941000 | 9026000 | 7151000 | 10270000 | 8571000 | 4400000 | 6882000 | 3173000 | 4259000 | 7078000 | 7194000 | 142200
E |  | 12530000 | 13790000 | 7810000 | 9375000 | 11900000 | 7518000 | 12530000 | 11530000 | 12860000 | 12500000 | 13470000 | 9042000 | 4708000 | 3911000 | 5902000 | 7120000 | 4286000 | 1071000 | 2933000 | 3114000 | 13730000 | 225100
F |  | 8418000 | 10900000 | 9262000 | 10770000 | 10590000 | 7528000 | 9340000 | 10640000 | 4167000 | 6625000 | 11870000 | 6095000 | 5725000 | 3204000 | 4041000 | 3745000 | 5261000 | 814300 | 315200 | 344300 | 9623000 | 166000
G |  | 8307000 | 9766000 | 11380000 | 8130000 | 4852000 | 6991000 | 7223000 | 2810000 | 178800 | 367900 | 11320000 | 5735000 | 1339000 | 1301000 | 1831000 | 1079000 | 835000 | 890100 | 102200 | 336500 | 3475000 | 90780
H |  | 5442000 | 7205000 | 13930000 | 9785000 | 9275000 | 9909000 | 11080000 | 4596000 | 2383000 | 27880000 | 1623000 | 893500 | 1036000 | 839100 | 720400 | 439100 | 391500 | 919600 | 540500 | 20770000 | 15340000 | 316300
I |  | 9185000 | 7224000 | 7890000 | 10590000 | 8935000 | 4942000 | 6566000 | 3400000 | 718600 | 20110000 | 1454000 | 426000 | 918700 | 1284000 | 436600 | 464600 | 424600 | 523600 | 810000 | 29540000 | 8503000 | 8313000
J |  | 10510000 | 5516000 | 12790000 | 9581000 | 9259000 | 7171000 | 5885000 | 2748000 | 942000 | 29860000 | 1458000 | 1362000 | 877000 | 643300 | 297800 | 338700 | 242800 | 195100 | 355800 | 31430000 | 678400 | 8170000
K |  | 7562000 | 11960000 | 10110000 | 9352000 | 6057000 | 6686000 | 4390000 | 7338000 | 570700 | 28910000 | 847000 | 258600 | 345100 | 134500 | 295400 | 16750 | 17100 | 24950 | 146900 | 15640000 | 369500 | 8675000
L |  | 1742000 | 854600 | 605900 | 465000 | 224300 | 91450 | 72040 | 96880 | 190400 | 15050000 | 290200 | 83170 | 150900 | 151200 | 112100 | 8140 | 9618 | 16140 | 75590 | 6646000 | 222200 | 11230000
M |  | 1610000 | 603000 | 618300 | 433000 | 111600 | 16380 | 18680 | 17140 | 99940 | 11790000 | 228500 | 40800 | 21200 | 17280 | 9881 | 9790 | 11720 | 15460 | 44080 | 3498000 | 164800 | 11070000
N |  | 1380000 | 683700 | 595900 | 550100 | 236500 | 13710 | 12870 | 9625 | 52640 | 5277000 | 78440 | 9075 | 6702 | 7295 | 10460 | 18970 | 23800 | 27330 | 32750 | 430400 | 94770 | 7508000
O |  | 1693000 | 1047000 | 438200 | 685900 | 139300 | 9186 | 11410 | 4791 | 9553 | 64060 | 9663 | 6518 | 9283 | 9004 | 25310 | 172200 | 195300 | 228900 | 211300 | 143700 | 138500 | 10630000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 4534000
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 6810000
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 11290000
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 12530000
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 8418000
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 8307000
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 5442000
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 9185000
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 10510000
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 7562000
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 1742000
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 1610000
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 1380000
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 1693000
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 9996000
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 10890000
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 11080000
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 13790000
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 10900000
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 9766000
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 7205000
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 7224000
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 5516000
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 11960000
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 854600
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 603000
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 683700
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 1047000
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 7620000
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 6878000
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 12540000
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 7810000
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 9262000
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 11380000
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 13930000
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 7890000
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 12790000
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 10110000
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 605900
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 618300
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 595900
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 438200
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 4654000
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 8196000
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 7266000
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 9375000
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 10770000
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 8130000
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 9785000
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 10590000
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 9581000
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 9352000
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 465000
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 433000
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 550100
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 685900
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 5878000
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 9305000
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 13280000
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 11900000
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 10590000
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 4852000
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 9275000
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 8935000
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 9259000
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 6057000
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 224300
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 111600
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 236500
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 139300
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 9570000
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 13680000
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 9198000
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 7518000
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 7528000
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 6991000
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 9909000
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 4942000
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 7171000
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 6686000
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 91450
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 16380
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 13710
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 9186
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 6692000
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 8348000
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 11130000
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 12530000
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 9340000
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 7223000
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 11080000
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 6566000
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 5885000
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 4390000
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 72040
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 18680
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 12870
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 11410
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 9010000
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 5001000
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 12000000
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 11530000
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 10640000
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 2810000
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 4596000
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 3400000
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 2748000
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 7338000
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 96880
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 17140
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 9625
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 4791
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 25020000
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 25570000
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 19530000
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 12860000
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 4167000
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 178800
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 2383000
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 718600
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 942000
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 570700
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 190400
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 99940
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 52640
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 9553
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 28510000
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 20350000
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 23020000
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 12500000
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 6625000
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 367900
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 27880000
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 20110000
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 29860000
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 28910000
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 15050000
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 11790000
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 5277000
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 64060
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 7890000
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 11900000
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 4941000
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 13470000
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 11870000
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 11320000
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 1623000
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 1454000
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 1458000
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | 847000
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 290200
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 228500
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 78440
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 9663
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 10250000
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 9328000
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 9026000
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 9042000
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 6095000
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 5735000
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 893500
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 426000
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 1362000
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 258600
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 83170
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 40800
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 9075
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 6518
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 9598000
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 3417000
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 7151000
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 4708000
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 5725000
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 1339000
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 1036000
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 918700
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 877000
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 345100
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 150900
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 21200
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 6702
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 9283
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 8492000
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 14500000
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 10270000
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 3911000
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 3204000
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 1301000
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 839100
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 1284000
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 643300
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 134500
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 151200
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 17280
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 7295
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 9004
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 12540000
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 3500000
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 8571000
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 5902000
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 4041000
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 1831000
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 720400
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 436600
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 297800
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 295400
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 112100
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 9881
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 10460
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 25310
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 5659000
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 9705000
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 4400000
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 7120000
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 3745000
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 1079000
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 439100
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 464600
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 338700
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 16750
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 8140
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 9790
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 18970
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 172200
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 2639000
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 9137000
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 6882000
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 4286000
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 5261000
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 835000
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 391500
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 424600
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 242800
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 17100
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 9618
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 11720
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 23800
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 195300
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 3584000
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 11940000
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 3173000
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 1071000
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 814300
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 890100
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 919600
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 523600
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 195100
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 24950
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 16140
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 15460
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 27330
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 228900
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 23080000
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 20270000
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 4259000
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 2933000
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 315200
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 102200
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 540500
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 810000
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 355800
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 146900
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 75590
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 44080
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 32750
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 211300
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 26930000
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 19790000
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 7078000
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 3114000
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 344300
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 336500
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 20770000
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 29540000
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 31430000
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 15640000
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 6646000
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 3498000
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 430400
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 143700
Plate 1 | B22 | Group 1 | OX BLANK | 11470000
Plate 1 | C22 | Group 1 | OX BLANK | 13830000
Plate 1 | D22 | Group 1 | OX BLANK | 7194000
Plate 1 | E22 | Group 1 | OX BLANK | 13730000
Plate 1 | F22 | Group 1 | OX BLANK | 9623000
Plate 1 | G22 | Group 1 | OX BLANK | 3475000
Plate 1 | H22 | Group 1 | OX BLANK | 15340000
Plate 1 | I22 | Group 1 | NVX 0 uM | 8503000
Plate 1 | J22 | Group 1 | NVX 20 uM | 678400
Plate 1 | K22 | Group 1 | NVX 20 uM | 369500
Plate 1 | L22 | Group 1 | NVX 20 uM | 222200
Plate 1 | M22 | Group 1 | NVX 40 uM | 164800
Plate 1 | N22 | Group 1 | NVX 40 uM | 94770
Plate 1 | O22 | Group 1 | NVX 40 uM | 138500
Plate 1 | B23 | Group 1 | STP 0 uM | 6983000
Plate 1 | C23 | Group 1 | STP 20 uM | 311800
Plate 1 | D23 | Group 1 | STP 20 uM | 142200
Plate 1 | E23 | Group 1 | STP 20 uM | 225100
Plate 1 | F23 | Group 1 | STP 40 uM | 166000
Plate 1 | G23 | Group 1 | STP 40 uM | 90780
Plate 1 | H23 | Group 1 | STP 40 uM | 316300
Plate 1 | I23 | Group 1 | SN38 BLANK | 8313000
Plate 1 | J23 | Group 1 | SN38 BLANK | 8170000
Plate 1 | K23 | Group 1 | SN38 BLANK | 8675000
Plate 1 | L23 | Group 1 | SN38 BLANK | 11230000
Plate 1 | M23 | Group 1 | SN38 BLANK | 11070000
Plate 1 | N23 | Group 1 | SN38 BLANK | 7508000
Plate 1 | O23 | Group 1 | SN38 BLANK | 10630000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220309_6125_OXSN38_DAY4CTG_MJP.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/9/2022 7:21:26 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/9/2022 7:21:26 PM | Session 20220309_6125_OXSN38_DAY4CTG_MJP.skax started
| 3/9/2022 7:21:26 PM | Temperature | 22.4°C
| 3/9/2022 7:21:27 PM | Step Luminescence 1 started
| 3/9/2022 7:21:34 PM | Calibration | Luminometric 1.05819 392291065
| 3/9/2022 7:22:18 PM | Temperature | 22.4°C
| 3/9/2022 7:23:18 PM | Temperature | 22.4°C
| 3/9/2022 7:24:18 PM | Temperature | 22.4°C
| 3/9/2022 7:25:18 PM | Temperature | 22.4°C
| 3/9/2022 7:26:18 PM | Temperature | 22.4°C
| 3/9/2022 7:27:18 PM | Temperature | 22.4°C
| 3/9/2022 7:27:54 PM | Step Luminescence 1 ended
| 3/9/2022 7:27:54 PM | Temperature | 22.3°C
| 3/9/2022 7:28:05 PM | Session 20220309_6125_OXSN38_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P