## Luminescence 1_01
Measurement results
20220315_6164_5FUTAS_DAY4CTG_MJP.skax
3/15/2022 12:48:58 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 11210000 | 6944000 | 18210000 | 11540000 | 6806000 | 8690000 | 6197000 | 6223000 | 10070000 | 8879000 | 7714000 | 17430000 | 14850000 | 8523000 | 12890000 | 15680000 | 6259000 | 13450000 | 7659000 | 9579000 | 11960000 | 5465000
C |  | 9676000 | 8348000 | 10340000 | 11600000 | 7632000 | 7535000 | 5948000 | 9602000 | 8729000 | 5755000 | 11130000 | 14070000 | 11670000 | 9261000 | 17520000 | 10840000 | 11650000 | 8669000 | 4869000 | 10450000 | 561200 | 12220000
D |  | 6835000 | 9390000 | 8080000 | 9033000 | 11240000 | 7945000 | 10260000 | 9678000 | 4080000 | 4115000 | 10520000 | 10620000 | 13810000 | 9253000 | 9693000 | 11730000 | 12680000 | 9386000 | 7350000 | 11770000 | 376600 | 8439000
E |  | 3955000 | 9694000 | 7993000 | 12820000 | 11140000 | 9814000 | 6625000 | 5098000 | 1762000 | 1484000 | 10320000 | 9517000 | 9461000 | 10150000 | 14200000 | 8708000 | 6885000 | 9811000 | 3784000 | 2386000 | 195900 | 12670000
F |  | 14410000 | 8426000 | 8155000 | 12890000 | 8991000 | 6747000 | 11210000 | 10610000 | 394900 | 263600 | 10880000 | 14230000 | 15130000 | 13530000 | 9944000 | 14560000 | 7934000 | 10360000 | 823200 | 421500 | 134000 | 11610000
G |  | 7680000 | 3995000 | 6928000 | 7517000 | 3180000 | 4195000 | 2732000 | 1246000 | 110000 | 174000 | 7581000 | 13400000 | 13180000 | 9353000 | 13160000 | 10990000 | 10310000 | 1390000 | 134500 | 109700 | 110900 | 8591000
H |  | 6233000 | 5779000 | 7094000 | 7495000 | 5084000 | 4819000 | 3625000 | 1732000 | 859200 | 10450000 | 10590000 | 7435000 | 12310000 | 14580000 | 10400000 | 10110000 | 8376000 | 6819000 | 5676000 | 8146000 | 391900 | 7935000
I |  | 5837000 | 7617000 | 7108000 | 3906000 | 6500000 | 1953000 | 3800000 | 1591000 | 346700 | 7462000 | 7013000 | 10800000 | 14440000 | 9904000 | 11550000 | 10600000 | 4406000 | 7587000 | 2652000 | 8608000 | 13810000 | 11910000
J |  | 3058000 | 4098000 | 7726000 | 3607000 | 3400000 | 4247000 | 3029000 | 851100 | 168500 | 9544000 | 7309000 | 9339000 | 9387000 | 8868000 | 8884000 | 7955000 | 7469000 | 7171000 | 2997000 | 8854000 | 542000 | 9980000
K |  | 5888000 | 7813000 | 6986000 | 4966000 | 6013000 | 3287000 | 1672000 | 1527000 | 247700 | 7719000 | 10690000 | 9544000 | 12480000 | 6376000 | 8400000 | 8533000 | 7871000 | 6982000 | 1290000 | 6603000 | 280600 | 8070000
L |  | 428800 | 452300 | 277000 | 347100 | 233100 | 154600 | 166300 | 150300 | 222600 | 1962000 | 4588000 | 5030000 | 2724000 | 1290000 | 1116000 | 226500 | 165000 | 137800 | 393300 | 11570000 | 396500 | 9972000
M |  | 590400 | 160200 | 95050 | 130400 | 191400 | 52700 | 114900 | 162300 | 137300 | 1207000 | 4946000 | 2314000 | 1794000 | 1113000 | 376700 | 143600 | 36880 | 18470 | 99460 | 1466000 | 124200 | 6925000
N |  | 302900 | 246100 | 134100 | 84900 | 98710 | 135800 | 356100 | 85440 | 171500 | 119500 | 4108000 | 2486000 | 3509000 | 729700 | 817500 | 199400 | 27230 | 13330 | 27020 | 409200 | 65880 | 6101000
O |  | 291800 | 51000 | 172800 | 84780 | 101300 | 118000 | 153100 | 150700 | 83310 | 48090 | 4019000 | 2983000 | 2626000 | 2132000 | 738000 | 379700 | 78160 | 45420 | 77030 | 30490 | 44810 | 4410000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 11210000
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 9676000
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 6835000
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 3955000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 14410000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 7680000
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 6233000
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 5837000
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 3058000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 5888000
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 428800
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 590400
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 302900
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 291800
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 6944000
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 8348000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 9390000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 9694000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 8426000
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 3995000
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 5779000
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 7617000
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 4098000
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 7813000
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 452300
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 160200
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 246100
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 51000
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 18210000
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 10340000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 8080000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 7993000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 8155000
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 6928000
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 7094000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 7108000
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 7726000
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 6986000
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 277000
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 95050
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 134100
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 172800
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 11540000
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 11600000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 9033000
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 12820000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 12890000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 7517000
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 7495000
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 3906000
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 3607000
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 4966000
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 347100
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 130400
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 84900
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 84780
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 6806000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 7632000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 11240000
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 11140000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 8991000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 3180000
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 5084000
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 6500000
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 3400000
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 6013000
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 233100
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 191400
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 98710
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 101300
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 8690000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 7535000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 7945000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 9814000
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 6747000
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 4195000
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 4819000
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 1953000
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 4247000
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 3287000
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 154600
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 52700
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 135800
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 118000
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 6197000
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 5948000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 10260000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 6625000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 11210000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 2732000
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 3625000
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 3800000
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 3029000
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 1672000
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 166300
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 114900
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 356100
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 153100
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 6223000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 9602000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 9678000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 5098000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 10610000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 1246000
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 1732000
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 1591000
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 851100
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 1527000
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 150300
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 162300
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 85440
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 150700
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 10070000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 8729000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 4080000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 1762000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 394900
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 110000
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 859200
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 346700
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 168500
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 247700
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 222600
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 137300
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 171500
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 83310
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 8879000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 5755000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 4115000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 1484000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 263600
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 174000
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 10450000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 7462000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 9544000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 7719000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 1962000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 1207000
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 119500
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 48090
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 7714000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 11130000
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 10520000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 10320000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 10880000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 7581000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 10590000
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 7013000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 7309000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 10690000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 4588000
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 4946000
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 4108000
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 4019000
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 17430000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 14070000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 10620000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 9517000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 14230000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 13400000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 7435000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 10800000
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 9339000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 9544000
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 5030000
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 2314000
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 2486000
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 2983000
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 14850000
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 11670000
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 13810000
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 9461000
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 15130000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 13180000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 12310000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 14440000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 9387000
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 12480000
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 2724000
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 1794000
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 3509000
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 2626000
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 8523000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 9261000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 9253000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 10150000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 13530000
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 9353000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 14580000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 9904000
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 8868000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 6376000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 1290000
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 1113000
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 729700
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 2132000
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 12890000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 17520000
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 9693000
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 14200000
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 9944000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 13160000
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 10400000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 11550000
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 8884000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 8400000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 1116000
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 376700
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 817500
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 738000
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 15680000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 10840000
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 11730000
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 8708000
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 14560000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 10990000
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 10110000
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 10600000
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 7955000
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 8533000
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 226500
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 143600
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 199400
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 379700
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 6259000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 11650000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 12680000
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 6885000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 7934000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 10310000
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 8376000
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 4406000
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 7469000
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 7871000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 165000
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 36880
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 27230
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 78160
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 13450000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 8669000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 9386000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 9811000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 10360000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 1390000
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 6819000
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 7587000
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 7171000
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 6982000
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 137800
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 18470
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 13330
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 45420
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 7659000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 4869000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 7350000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 3784000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 823200
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 134500
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 5676000
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 2652000
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 2997000
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 1290000
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 393300
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 99460
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 27020
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 77030
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 9579000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 10450000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 11770000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 2386000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 421500
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 109700
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 8146000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 8608000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 8854000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 6603000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 11570000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 1466000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 409200
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 30490
Plate 1 | B22 | Group 1 | STP 0 uM | 11960000
Plate 1 | C22 | Group 1 | STP 20 uM | 561200
Plate 1 | D22 | Group 1 | STP 20 uM | 376600
Plate 1 | E22 | Group 1 | STP 20 uM | 195900
Plate 1 | F22 | Group 1 | STP 40 uM | 134000
Plate 1 | G22 | Group 1 | STP 40 uM | 110900
Plate 1 | H22 | Group 1 | STP 40 uM | 391900
Plate 1 | I22 | Group 1 | NVX 0 uM | 13810000
Plate 1 | J22 | Group 1 | NVX 20 uM | 542000
Plate 1 | K22 | Group 1 | NVX 20 uM | 280600
Plate 1 | L22 | Group 1 | NVX 20 uM | 396500
Plate 1 | M22 | Group 1 | NVX 40 uM | 124200
Plate 1 | N22 | Group 1 | NVX 40 uM | 65880
Plate 1 | O22 | Group 1 | NVX 40 uM | 44810
Plate 1 | B23 | Group 1 | 5-FU BLANK | 5465000
Plate 1 | C23 | Group 1 | 5-FU BLANK | 12220000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 8439000
Plate 1 | E23 | Group 1 | 5-FU BLANK | 12670000
Plate 1 | F23 | Group 1 | 5-FU BLANK | 11610000
Plate 1 | G23 | Group 1 | 5-FU BLANK | 8591000
Plate 1 | H23 | Group 1 | 5-FU BLANK | 7935000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 11910000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 9980000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 8070000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 9972000
Plate 1 | M23 | Group 1 | TAS102 BLANK | 6925000
Plate 1 | N23 | Group 1 | TAS102 BLANK | 6101000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 4410000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220315_6164_5FUTAS_DAY4CTG_MJP.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/15/2022 12:48:58 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/15/2022 12:48:58 PM | Session 20220315_6164_5FUTAS_DAY4CTG_MJP.skax started
| 3/15/2022 12:48:59 PM | Temperature | 22.9°C
| 3/15/2022 12:48:59 PM | Step Luminescence 1 started
| 3/15/2022 12:49:07 PM | Calibration | Luminometric 1.11769 441416134
| 3/15/2022 12:49:23 PM | Temperature | 22.9°C
| 3/15/2022 12:50:23 PM | Temperature | 22.9°C
| 3/15/2022 12:51:23 PM | Temperature | 23.0°C
| 3/15/2022 12:52:23 PM | Temperature | 22.9°C
| 3/15/2022 12:53:23 PM | Temperature | 23.0°C
| 3/15/2022 12:54:23 PM | Temperature | 23.0°C
| 3/15/2022 12:55:22 PM | Step Luminescence 1 ended
| 3/15/2022 12:55:22 PM | Temperature | 23.0°C
| 3/15/2022 12:55:23 PM | Temperature | 23.0°C
| 3/15/2022 12:55:32 PM | Session 20220315_6164_5FUTAS_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P