## Luminescence 1_01
Measurement results
20220315_6165_OXSN38_DAY4CTG_MJP.skax
3/15/2022 3:03:53 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 10550000 | 7136000 | 9356000 | 9103000 | 9641000 | 10090000 | 6138000 | 4306000 | 10310000 | 9594000 | 11760000 | 11530000 | 10240000 | 9953000 | 11330000 | 8309000 | 7594000 | 5549000 | 7203000 | 7700000 | 9321000 | 6990000
C |  | 8525000 | 8162000 | 7479000 | 6738000 | 10770000 | 5891000 | 9702000 | 12030000 | 6650000 | 13450000 | 7046000 | 6902000 | 9976000 | 11100000 | 11370000 | 9367000 | 7877000 | 8557000 | 8663000 | 4403000 | 11280000 | 263000
D |  | 6005000 | 7885000 | 11900000 | 8802000 | 9304000 | 11140000 | 2929000 | 8072000 | 8667000 | 8626000 | 11080000 | 11210000 | 6504000 | 11520000 | 5809000 | 12150000 | 9652000 | 5440000 | 2473000 | 1933000 | 9520000 | 168400
E |  | 8094000 | 8504000 | 9144000 | 8197000 | 4298000 | 10330000 | 6593000 | 12690000 | 3742000 | 4483000 | 13240000 | 10370000 | 9417000 | 8770000 | 11280000 | 7467000 | 10530000 | 1665000 | 560700 | 739100 | 6549000 | 129400
F |  | 5717000 | 8027000 | 5966000 | 6523000 | 4760000 | 8109000 | 11590000 | 8485000 | 1989000 | 2679000 | 7848000 | 7016000 | 12690000 | 7887000 | 7361000 | 8779000 | 6875000 | 3793000 | 300400 | 297000 | 10580000 | 192900
G |  | 3904000 | 10390000 | 4600000 | 5854000 | 4881000 | 3625000 | 6497000 | 1819000 | 138200 | 238700 | 12620000 | 8672000 | 7099000 | 8918000 | 4429000 | 8667000 | 4473000 | 3572000 | 122900 | 159300 | 8481000 | 174600
H |  | 7639000 | 6105000 | 6906000 | 5177000 | 5975000 | 6657000 | 6520000 | 4540000 | 4320000 | 14590000 | 4717000 | 3054000 | 5053000 | 3265000 | 3411000 | 2536000 | 3449000 | 1925000 | 2936000 | 7777000 | 9296000 | 255100
I |  | 8357000 | 8483000 | 11060000 | 8568000 | 10880000 | 6181000 | 7119000 | 5280000 | 2858000 | 6413000 | 2358000 | 2422000 | 2018000 | 2619000 | 1389000 | 2283000 | 1121000 | 1145000 | 2765000 | 11910000 | 5502000 | 11210000
J |  | 6717000 | 4976000 | 5739000 | 9909000 | 4617000 | 8380000 | 5676000 | 3556000 | 1957000 | 7417000 | 1063000 | 1950000 | 2807000 | 3952000 | 1659000 | 1127000 | 1489000 | 1474000 | 1434000 | 12030000 | 418500 | 5419000
K |  | 5326000 | 5882000 | 5948000 | 3714000 | 4041000 | 4755000 | 4911000 | 4009000 | 1682000 | 7775000 | 558500 | 636400 | 342600 | 996700 | 1243000 | 125500 | 119400 | 147800 | 216900 | 6107000 | 192800 | 6280000
L |  | 3608000 | 2072000 | 3438000 | 1527000 | 1201000 | 205800 | 196500 | 67800 | 1601000 | 8303000 | 488400 | 413800 | 262800 | 339700 | 657900 | 111700 | 232600 | 89800 | 164600 | 1611000 | 114900 | 8248000
M |  | 2362000 | 2120000 | 645900 | 1710000 | 327600 | 215300 | 31350 | 15350 | 383200 | 4323000 | 202000 | 122400 | 169800 | 283100 | 89520 | 141400 | 128500 | 90190 | 194700 | 553200 | 83610 | 7460000
N |  | 1636000 | 1907000 | 1502000 | 1544000 | 586400 | 165200 | 135700 | 11360 | 121500 | 3283000 | 172700 | 110900 | 232700 | 129300 | 214900 | 99920 | 95400 | 167000 | 191600 | 139400 | 86330 | 10270000
O |  | 2518000 | 2456000 | 424600 | 470800 | 53510 | 79500 | 40570 | 5392 | 6310 | 40220 | 101000 | 110000 | 138400 | 155300 | 167800 | 218600 | 257500 | 197600 | 192900 | 44410 | 62810 | 5612000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 10550000
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 8525000
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 6005000
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 8094000
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 5717000
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 3904000
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 7639000
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 8357000
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 6717000
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 5326000
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 3608000
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 2362000
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 1636000
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 2518000
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 7136000
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 8162000
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 7885000
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 8504000
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 8027000
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 10390000
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 6105000
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 8483000
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 4976000
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 5882000
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 2072000
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 2120000
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 1907000
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 2456000
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 9356000
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 7479000
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 11900000
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 9144000
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 5966000
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 4600000
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 6906000
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 11060000
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 5739000
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 5948000
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 3438000
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 645900
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 1502000
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 424600
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 9103000
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 6738000
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 8802000
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 8197000
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 6523000
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 5854000
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 5177000
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 8568000
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 9909000
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 3714000
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 1527000
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 1710000
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 1544000
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 470800
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 9641000
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 10770000
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 9304000
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 4298000
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 4760000
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 4881000
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 5975000
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 10880000
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 4617000
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 4041000
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 1201000
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 327600
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 586400
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 53510
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 10090000
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 5891000
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 11140000
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 10330000
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 8109000
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 3625000
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 6657000
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 6181000
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 8380000
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 4755000
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 205800
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 215300
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 165200
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 79500
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 6138000
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 9702000
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 2929000
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 6593000
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 11590000
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 6497000
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 6520000
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 7119000
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 5676000
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 4911000
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 196500
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 31350
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 135700
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 40570
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 4306000
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 12030000
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 8072000
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 12690000
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 8485000
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 1819000
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 4540000
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 5280000
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 3556000
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 4009000
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 67800
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 15350
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 11360
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 5392
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 10310000
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 6650000
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 8667000
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 3742000
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 1989000
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 138200
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 4320000
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 2858000
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 1957000
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 1682000
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 1601000
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 383200
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 121500
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 6310
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 9594000
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 13450000
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 8626000
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 4483000
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 2679000
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 238700
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 14590000
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 6413000
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 7417000
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 7775000
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 8303000
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 4323000
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 3283000
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 40220
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 11760000
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 7046000
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 11080000
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 13240000
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 7848000
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 12620000
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 4717000
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 2358000
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 1063000
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | 558500
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 488400
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 202000
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 172700
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 101000
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 11530000
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 6902000
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 11210000
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 10370000
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 7016000
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 8672000
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 3054000
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 2422000
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 1950000
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 636400
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 413800
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 122400
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 110900
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 110000
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 10240000
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 9976000
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 6504000
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 9417000
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 12690000
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 7099000
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 5053000
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 2018000
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 2807000
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 342600
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 262800
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 169800
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 232700
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 138400
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 9953000
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 11100000
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 11520000
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 8770000
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 7887000
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 8918000
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 3265000
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 2619000
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 3952000
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 996700
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 339700
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 283100
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 129300
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 155300
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 11330000
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 11370000
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 5809000
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 11280000
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 7361000
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 4429000
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 3411000
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 1389000
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 1659000
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 1243000
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 657900
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 89520
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 214900
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 167800
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 8309000
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 9367000
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 12150000
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 7467000
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 8779000
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 8667000
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 2536000
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 2283000
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 1127000
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 125500
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 111700
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 141400
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 99920
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 218600
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 7594000
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 7877000
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 9652000
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 10530000
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 6875000
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 4473000
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 3449000
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 1121000
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 1489000
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 119400
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 232600
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 128500
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 95400
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 257500
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 5549000
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 8557000
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 5440000
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 1665000
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 3793000
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 3572000
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 1925000
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 1145000
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 1474000
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 147800
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 89800
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 90190
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 167000
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 197600
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 7203000
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 8663000
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 2473000
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 560700
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 300400
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 122900
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 2936000
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 2765000
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 1434000
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 216900
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 164600
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 194700
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 191600
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 192900
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 7700000
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 4403000
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 1933000
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 739100
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 297000
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 159300
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 7777000
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 11910000
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 12030000
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 6107000
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 1611000
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 553200
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 139400
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 44410
Plate 1 | B22 | Group 1 | OX BLANK | 9321000
Plate 1 | C22 | Group 1 | OX BLANK | 11280000
Plate 1 | D22 | Group 1 | OX BLANK | 9520000
Plate 1 | E22 | Group 1 | OX BLANK | 6549000
Plate 1 | F22 | Group 1 | OX BLANK | 10580000
Plate 1 | G22 | Group 1 | OX BLANK | 8481000
Plate 1 | H22 | Group 1 | OX BLANK | 9296000
Plate 1 | I22 | Group 1 | NVX 0 uM | 5502000
Plate 1 | J22 | Group 1 | NVX 20 uM | 418500
Plate 1 | K22 | Group 1 | NVX 20 uM | 192800
Plate 1 | L22 | Group 1 | NVX 20 uM | 114900
Plate 1 | M22 | Group 1 | NVX 40 uM | 83610
Plate 1 | N22 | Group 1 | NVX 40 uM | 86330
Plate 1 | O22 | Group 1 | NVX 40 uM | 62810
Plate 1 | B23 | Group 1 | STP 0 uM | 6990000
Plate 1 | C23 | Group 1 | STP 20 uM | 263000
Plate 1 | D23 | Group 1 | STP 20 uM | 168400
Plate 1 | E23 | Group 1 | STP 20 uM | 129400
Plate 1 | F23 | Group 1 | STP 40 uM | 192900
Plate 1 | G23 | Group 1 | STP 40 uM | 174600
Plate 1 | H23 | Group 1 | STP 40 uM | 255100
Plate 1 | I23 | Group 1 | SN38 BLANK | 11210000
Plate 1 | J23 | Group 1 | SN38 BLANK | 5419000
Plate 1 | K23 | Group 1 | SN38 BLANK | 6280000
Plate 1 | L23 | Group 1 | SN38 BLANK | 8248000
Plate 1 | M23 | Group 1 | SN38 BLANK | 7460000
Plate 1 | N23 | Group 1 | SN38 BLANK | 10270000
Plate 1 | O23 | Group 1 | SN38 BLANK | 5612000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220315_6165_OXSN38_DAY4CTG_MJP.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/15/2022 3:03:53 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/15/2022 3:03:53 PM | Session 20220315_6165_OXSN38_DAY4CTG_MJP.skax started
| 3/15/2022 3:03:53 PM | Temperature | 24.9°C
| 3/15/2022 3:03:54 PM | Step Luminescence 1 started
| 3/15/2022 3:04:01 PM | Calibration | Luminometric 1.13926 442225571
| 3/15/2022 3:04:23 PM | Temperature | 24.9°C
| 3/15/2022 3:05:23 PM | Temperature | 24.9°C
| 3/15/2022 3:06:23 PM | Temperature | 24.9°C
| 3/15/2022 3:07:23 PM | Temperature | 24.9°C
| 3/15/2022 3:08:23 PM | Temperature | 24.9°C
| 3/15/2022 3:09:23 PM | Temperature | 24.9°C
| 3/15/2022 3:10:15 PM | Step Luminescence 1 ended
| 3/15/2022 3:10:15 PM | Temperature | 24.9°C
| 3/15/2022 3:10:23 PM | Temperature | 24.9°C
| 3/15/2022 3:10:25 PM | Session 20220315_6165_OXSN38_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P