## Luminescence 1_01
Measurement results
20220304_6101_5FUTAS_DAY4CTG_NDS.skax
3/4/2022 4:09:43 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 11070000 | 10270000 | 10300000 | 10950000 | 5761000 | 16580000 | 12280000 | 4960000 | 35620000 | 42860000 | 7037000 | 15420000 | 9067000 | 11730000 | 8982000 | 2400000 | 7908000 | 7787000 | 38320000 | 27740000 | 16580000 | 7015000
C |  | 9741000 | 5219000 | 6447000 | 10150000 | 10120000 | 13110000 | 13690000 | 11710000 | 40250000 | 37070000 | 7675000 | 11560000 | 12400000 | 10050000 | 12350000 | 8704000 | 9162000 | 8294000 | 38930000 | 36760000 | 943400 | 12420000
D |  | 14360000 | 11930000 | 10790000 | 12180000 | 8150000 | 8946000 | 12620000 | 12000000 | 23730000 | 24700000 | 15030000 | 6256000 | 8734000 | 10810000 | 6826000 | 11950000 | 7273000 | 9583000 | 31980000 | 24870000 | 556400 | 10440000
E |  | 8749000 | 8957000 | 16050000 | 11540000 | 9554000 | 10780000 | 13120000 | 2487000 | 21860000 | 14130000 | 9902000 | 8889000 | 12850000 | 3795000 | 10340000 | 8727000 | 5635000 | 10390000 | 23240000 | 20290000 | 454800 | 7364000
F |  | 16200000 | 11250000 | 7865000 | 12780000 | 7282000 | 8664000 | 13460000 | 5660000 | 1112000 | 784400 | 10430000 | 10390000 | 8629000 | 7762000 | 7948000 | 13400000 | 9511000 | 8697000 | 5445000 | 4602000 | 226500 | 12730000
G |  | 8729000 | 5705000 | 3224000 | 4610000 | 2632000 | 3929000 | 3525000 | 1217000 | 198100 | 386200 | 5085000 | 7632000 | 10990000 | 4769000 | 6907000 | 11620000 | 5651000 | 3706000 | 251000 | 364600 | 140800 | 8113000
H |  | 12870000 | 8021000 | 3851000 | 3874000 | 5448000 | 6593000 | 4721000 | 1161000 | 399900 | 30840000 | 5697000 | 7811000 | 11460000 | 7541000 | 11480000 | 7334000 | 11190000 | 2835000 | 2333000 | 31190000 | 700900 | 12990000
I |  | 6507000 | 5097000 | 2014000 | 2786000 | 6033000 | 1996000 | 1524000 | 982700 | 1042000 | 38030000 | 5147000 | 5528000 | 8706000 | 12410000 | 5657000 | 5018000 | 7256000 | 4353000 | 1964000 | 34780000 | 10130000 | 3968000
J |  | 3281000 | 8298000 | 8074000 | 6494000 | 4664000 | 1861000 | 2368000 | 2153000 | 557400 | 41790000 | 7082000 | 10340000 | 7474000 | 11150000 | 7999000 | 5367000 | 7576000 | 5119000 | 1567000 | 34830000 | 837700 | 9771000
K |  | 2185000 | 7683000 | 4647000 | 4514000 | 2791000 | 3469000 | 805200 | 1489000 | 622700 | 34090000 | 11240000 | 8107000 | 8516000 | 5639000 | 10250000 | 8887000 | 2555000 | 7938000 | 4592000 | 28800000 | 673100 | 12280000
L |  | 1579000 | 279900 | 231800 | 229400 | 199300 | 152800 | 374300 | 431400 | 335200 | 21110000 | 4182000 | 3466000 | 2180000 | 1129000 | 1284000 | 371300 | 74630 | 152400 | 1860000 | 24150000 | 596500 | 9233000
M |  | 1178000 | 442900 | 100800 | 409100 | 489500 | 176500 | 203900 | 199500 | 393000 | 15620000 | 4092000 | 1537000 | 3905000 | 1680000 | 798300 | 148800 | 41760 | 37150 | 321700 | 12080000 | 409500 | 9988000
N |  | 400100 | 335800 | 654100 | 323600 | 165600 | 69670 | 146700 | 148100 | 304100 | 747600 | 1984000 | 3444000 | 3373000 | 1200000 | 375700 | 217600 | 45880 | 44160 | 90140 | 6071000 | 246300 | 14200000
O |  | 554300 | 109800 | 198000 | 299100 | 246500 | 109300 | 136800 | 244600 | 160200 | 161700 | 4305000 | 1568000 | 924900 | 1102000 | 889500 | 349000 | 313300 | 310300 | 235900 | 138900 | 124100 | 11090000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 11070000
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 9741000
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 14360000
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 8749000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 16200000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 8729000
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 12870000
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 6507000
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 3281000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 2185000
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 1579000
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 1178000
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 400100
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 554300
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 10270000
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 5219000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 11930000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 8957000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 11250000
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 5705000
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 8021000
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 5097000
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 8298000
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 7683000
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 279900
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 442900
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 335800
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 109800
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 10300000
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 6447000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 10790000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 16050000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 7865000
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 3224000
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 3851000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 2014000
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 8074000
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 4647000
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 231800
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 100800
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 654100
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 198000
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 10950000
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 10150000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 12180000
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 11540000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 12780000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 4610000
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 3874000
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 2786000
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 6494000
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 4514000
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 229400
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 409100
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 323600
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 299100
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 5761000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 10120000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 8150000
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 9554000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 7282000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 2632000
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 5448000
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 6033000
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 4664000
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 2791000
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 199300
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 489500
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 165600
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 246500
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 16580000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 13110000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 8946000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 10780000
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 8664000
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 3929000
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 6593000
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 1996000
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 1861000
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 3469000
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 152800
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 176500
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 69670
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 109300
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 12280000
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 13690000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 12620000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 13120000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 13460000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 3525000
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 4721000
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 1524000
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 2368000
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 805200
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 374300
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 203900
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 146700
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 136800
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 4960000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 11710000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 12000000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 2487000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 5660000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 1217000
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 1161000
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 982700
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 2153000
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 1489000
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 431400
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 199500
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 148100
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 244600
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 35620000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 40250000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 23730000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 21860000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 1112000
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 198100
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 399900
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 1042000
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 557400
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 622700
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 335200
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 393000
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 304100
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 160200
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 42860000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 37070000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 24700000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 14130000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 784400
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 386200
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 30840000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 38030000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 41790000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 34090000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 21110000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 15620000
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 747600
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 161700
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 7037000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 7675000
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 15030000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 9902000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 10430000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 5085000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 5697000
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 5147000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 7082000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 11240000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 4182000
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 4092000
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 1984000
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 4305000
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 15420000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 11560000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 6256000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 8889000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 10390000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 7632000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 7811000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 5528000
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 10340000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 8107000
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 3466000
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 1537000
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 3444000
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 1568000
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 9067000
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 12400000
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 8734000
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 12850000
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 8629000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 10990000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 11460000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 8706000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 7474000
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 8516000
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 2180000
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 3905000
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 3373000
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 924900
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 11730000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 10050000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 10810000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 3795000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 7762000
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 4769000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 7541000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 12410000
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 11150000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 5639000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 1129000
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 1680000
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 1200000
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 1102000
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 8982000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 12350000
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 6826000
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 10340000
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 7948000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 6907000
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 11480000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 5657000
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 7999000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 10250000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 1284000
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 798300
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 375700
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 889500
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 2400000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 8704000
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 11950000
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 8727000
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 13400000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 11620000
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 7334000
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 5018000
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 5367000
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 8887000
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 371300
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 148800
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 217600
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 349000
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 7908000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 9162000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 7273000
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 5635000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 9511000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 5651000
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 11190000
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 7256000
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 7576000
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 2555000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 74630
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 41760
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 45880
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 313300
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 7787000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 8294000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 9583000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 10390000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 8697000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 3706000
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 2835000
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 4353000
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 5119000
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 7938000
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 152400
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 37150
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 44160
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 310300
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 38320000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 38930000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 31980000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 23240000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 5445000
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 251000
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 2333000
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 1964000
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 1567000
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 4592000
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 1860000
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 321700
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 90140
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 235900
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 27740000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 36760000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 24870000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 20290000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 4602000
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 364600
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 31190000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 34780000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 34830000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 28800000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 24150000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 12080000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 6071000
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 138900
Plate 1 | B22 | Group 1 | STP 0 uM | 16580000
Plate 1 | C22 | Group 1 | STP 20 uM | 943400
Plate 1 | D22 | Group 1 | STP 20 uM | 556400
Plate 1 | E22 | Group 1 | STP 20 uM | 454800
Plate 1 | F22 | Group 1 | STP 40 uM | 226500
Plate 1 | G22 | Group 1 | STP 40 uM | 140800
Plate 1 | H22 | Group 1 | STP 40 uM | 700900
Plate 1 | I22 | Group 1 | NVX 0 uM | 10130000
Plate 1 | J22 | Group 1 | NVX 20 uM | 837700
Plate 1 | K22 | Group 1 | NVX 20 uM | 673100
Plate 1 | L22 | Group 1 | NVX 20 uM | 596500
Plate 1 | M22 | Group 1 | NVX 40 uM | 409500
Plate 1 | N22 | Group 1 | NVX 40 uM | 246300
Plate 1 | O22 | Group 1 | NVX 40 uM | 124100
Plate 1 | B23 | Group 1 | 5-FU BLANK | 7015000
Plate 1 | C23 | Group 1 | 5-FU BLANK | 12420000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 10440000
Plate 1 | E23 | Group 1 | 5-FU BLANK | 7364000
Plate 1 | F23 | Group 1 | 5-FU BLANK | 12730000
Plate 1 | G23 | Group 1 | 5-FU BLANK | 8113000
Plate 1 | H23 | Group 1 | 5-FU BLANK | 12990000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 3968000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 9771000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 12280000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 9233000
Plate 1 | M23 | Group 1 | TAS102 BLANK | 9988000
Plate 1 | N23 | Group 1 | TAS102 BLANK | 14200000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 11090000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220304_6101_5FUTAS_DAY4CTG_NDS.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/4/2022 4:09:43 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/4/2022 4:09:43 PM | Session 20220304_6101_5FUTAS_DAY4CTG_NDS.skax started
| 3/4/2022 4:09:43 PM | Temperature | 25.1°C
| 3/4/2022 4:09:44 PM | Step Luminescence 1 started
| 3/4/2022 4:09:51 PM | Calibration | Luminometric 1.13585 347940905
| 3/4/2022 4:10:17 PM | Temperature | 25.1°C
| 3/4/2022 4:11:17 PM | Temperature | 25.1°C
| 3/4/2022 4:12:17 PM | Temperature | 25.1°C
| 3/4/2022 4:13:17 PM | Temperature | 25.0°C
| 3/4/2022 4:14:17 PM | Temperature | 25.0°C
| 3/4/2022 4:15:17 PM | Temperature | 25.0°C
| 3/4/2022 4:16:15 PM | Step Luminescence 1 ended
| 3/4/2022 4:16:15 PM | Temperature | 25.0°C
| 3/4/2022 4:16:17 PM | Temperature | 25.0°C
| 3/4/2022 4:16:25 PM | Session 20220304_6101_5FUTAS_DAY4CTG_NDS.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P