## Luminescence 1_01
Measurement results
20220304_6101_OXSN38_DAY4_NDS.skax
3/4/2022 3:11:27 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 20410000 | 15760000 | 17530000 | 17950000 | 19240000 | 7492000 | 12920000 | 14550000 | 53160000 | 46100000 | 23440000 | 17660000 | 3866000 | 8670000 | 14770000 | 8576000 | 15490000 | 9714000 | 48610000 | 37100000 | 15910000 | 9982000
C |  | 4216000 | 11390000 | 18630000 | 9184000 | 11980000 | 17950000 | 15070000 | 7004000 | 43690000 | 48140000 | 12040000 | 19910000 | 18570000 | 13330000 | 13070000 | 14030000 | 4685000 | 10980000 | 51010000 | 45000000 | 7936000 | 299500
D |  | 16620000 | 13610000 | 17330000 | 7563000 | 10890000 | 13090000 | 13540000 | 14230000 | 51130000 | 46950000 | 17840000 | 6980000 | 15770000 | 11820000 | 20460000 | 10360000 | 11650000 | 13920000 | 26010000 | 22840000 | 13490000 | 265200
E |  | 4119000 | 17640000 | 12400000 | 11860000 | 8955000 | 14060000 | 9707000 | 11310000 | 17760000 | 38300000 | 17920000 | 17980000 | 9054000 | 11450000 | 9170000 | 11770000 | 5004000 | 8672000 | 11360000 | 6418000 | 12770000 | 256400
F |  | 1740000 | 11080000 | 13250000 | 13740000 | 11120000 | 14590000 | 16190000 | 17320000 | 18240000 | 18800000 | 6700000 | 7864000 | 14410000 | 11350000 | 13330000 | 8229000 | 11990000 | 4158000 | 642100 | 1131000 | 15340000 | 294600
G |  | 10420000 | 8814000 | 8618000 | 11050000 | 13920000 | 7443000 | 7636000 | 6823000 | 482600 | 663400 | 12010000 | 14560000 | 12680000 | 9449000 | 7486000 | 10200000 | 11300000 | 4698000 | 281400 | 678100 | 7473000 | 180300
H |  | 13420000 | 11000000 | 7744000 | 6223000 | 14800000 | 9713000 | 4230000 | 3675000 | 5821000 | 46160000 | 8548000 | 6115000 | 3957000 | 8225000 | 5846000 | 4135000 | 1914000 | 6882000 | 3002000 | 51500000 | 6728000 | 235100
I |  | 18880000 | 10290000 | 11220000 | 13880000 | 6641000 | 3498000 | 14670000 | 10220000 | 3766000 | 44720000 | 6812000 | 7769000 | 12380000 | 11540000 | 3459000 | 5827000 | 2894000 | 4415000 | 3346000 | 49970000 | 10960000 | 10190000
J |  | 22270000 | 9068000 | 9682000 | 16340000 | 9297000 | 7472000 | 3336000 | 3721000 | 3452000 | 51550000 | 4049000 | 4955000 | 7151000 | 6969000 | 3437000 | 1383000 | 951800 | 2048000 | 1562000 | 39830000 | 1090000 | 13930000
K |  | 5531000 | 7860000 | 7635000 | 9028000 | 7629000 | 7326000 | 6329000 | 4065000 | 1485000 | 43900000 | 3333000 | 3245000 | 2283000 | 1014000 | 2083000 | 1214000 | 652700 | 1298000 | 988900 | 43580000 | 1095000 | 15140000
L |  | 11250000 | 6711000 | 5283000 | 3964000 | 2416000 | 675700 | 1806000 | 123900 | 834700 | 47110000 | 2161000 | 468500 | 1415000 | 2307000 | 1225000 | 476700 | 451500 | 873100 | 920900 | 19510000 | 707400 | 5817000
M |  | 13530000 | 12890000 | 9080000 | 8598000 | 4045000 | 662600 | 797300 | 57880 | 1079000 | 23610000 | 1681000 | 1517000 | 989900 | 1030000 | 895600 | 567800 | 830200 | 1062000 | 1233000 | 9781000 | 345700 | 14100000
N |  | 4897000 | 5694000 | 2685000 | 1549000 | 497200 | 771000 | 723600 | 36460 | 171700 | 13960000 | 795000 | 1507000 | 1618000 | 502500 | 370000 | 1374000 | 781400 | 745500 | 1477000 | 806300 | 108100 | 6423000
O |  | 5031000 | 4083000 | 2981000 | 1788000 | 853500 | 708000 | 449500 | 22250 | 24620 | 183300 | 705100 | 1842000 | 1323000 | 1053000 | 621500 | 766100 | 1104000 | 741900 | 929400 | 208200 | 177000 | 10440000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 20410000
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 4216000
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 16620000
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 4119000
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 1740000
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 10420000
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 13420000
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 18880000
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 22270000
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 5531000
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 11250000
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 13530000
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 4897000
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 5031000
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 15760000
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 11390000
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 13610000
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 17640000
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 11080000
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 8814000
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 11000000
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 10290000
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 9068000
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 7860000
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 6711000
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 12890000
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 5694000
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 4083000
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 17530000
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 18630000
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 17330000
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 12400000
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 13250000
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 8618000
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 7744000
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 11220000
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 9682000
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 7635000
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 5283000
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 9080000
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 2685000
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 2981000
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 17950000
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 9184000
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 7563000
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 11860000
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 13740000
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 11050000
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 6223000
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 13880000
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 16340000
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 9028000
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 3964000
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 8598000
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 1549000
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 1788000
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 19240000
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 11980000
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 10890000
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 8955000
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 11120000
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 13920000
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 14800000
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 6641000
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 9297000
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 7629000
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 2416000
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 4045000
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 497200
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 853500
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 7492000
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 17950000
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 13090000
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 14060000
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 14590000
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 7443000
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 9713000
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 3498000
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 7472000
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 7326000
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 675700
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 662600
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 771000
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 708000
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 12920000
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 15070000
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 13540000
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 9707000
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 16190000
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 7636000
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 4230000
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 14670000
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 3336000
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 6329000
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 1806000
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 797300
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 723600
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 449500
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 14550000
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 7004000
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 14230000
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 11310000
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 17320000
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 6823000
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 3675000
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 10220000
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 3721000
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 4065000
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 123900
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 57880
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 36460
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 22250
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 53160000
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 43690000
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 51130000
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 17760000
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 18240000
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 482600
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 5821000
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 3766000
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 3452000
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 1485000
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 834700
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 1079000
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 171700
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 24620
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 46100000
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 48140000
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 46950000
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 38300000
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 18800000
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 663400
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 46160000
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 44720000
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 51550000
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 43900000
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 47110000
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 23610000
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 13960000
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 183300
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 23440000
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 12040000
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 17840000
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 17920000
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 6700000
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 12010000
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 8548000
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 6812000
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 4049000
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | 3333000
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 2161000
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 1681000
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 795000
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 705100
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 17660000
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 19910000
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 6980000
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 17980000
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 7864000
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 14560000
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 6115000
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 7769000
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 4955000
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 3245000
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 468500
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 1517000
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 1507000
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 1842000
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 3866000
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 18570000
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 15770000
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 9054000
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 14410000
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 12680000
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 3957000
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 12380000
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 7151000
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 2283000
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 1415000
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 989900
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 1618000
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 1323000
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 8670000
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 13330000
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 11820000
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 11450000
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 11350000
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 9449000
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 8225000
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 11540000
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 6969000
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 1014000
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 2307000
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 1030000
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 502500
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 1053000
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 14770000
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 13070000
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 20460000
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 9170000
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 13330000
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 7486000
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 5846000
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 3459000
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 3437000
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 2083000
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 1225000
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 895600
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 370000
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 621500
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 8576000
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 14030000
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 10360000
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 11770000
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 8229000
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 10200000
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 4135000
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 5827000
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 1383000
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 1214000
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 476700
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 567800
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 1374000
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 766100
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 15490000
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 4685000
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 11650000
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 5004000
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 11990000
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 11300000
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 1914000
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 2894000
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 951800
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 652700
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 451500
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 830200
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 781400
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 1104000
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 9714000
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 10980000
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 13920000
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 8672000
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 4158000
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 4698000
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 6882000
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 4415000
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 2048000
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 1298000
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 873100
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 1062000
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 745500
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 741900
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 48610000
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 51010000
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 26010000
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 11360000
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 642100
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 281400
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 3002000
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 3346000
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 1562000
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 988900
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 920900
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 1233000
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 1477000
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 929400
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 37100000
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 45000000
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 22840000
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 6418000
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 1131000
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 678100
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 51500000
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 49970000
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 39830000
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 43580000
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 19510000
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 9781000
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 806300
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 208200
Plate 1 | B22 | Group 1 | OX BLANK | 15910000
Plate 1 | C22 | Group 1 | OX BLANK | 7936000
Plate 1 | D22 | Group 1 | OX BLANK | 13490000
Plate 1 | E22 | Group 1 | OX BLANK | 12770000
Plate 1 | F22 | Group 1 | OX BLANK | 15340000
Plate 1 | G22 | Group 1 | OX BLANK | 7473000
Plate 1 | H22 | Group 1 | OX BLANK | 6728000
Plate 1 | I22 | Group 1 | NVX 0 uM | 10960000
Plate 1 | J22 | Group 1 | NVX 20 uM | 1090000
Plate 1 | K22 | Group 1 | NVX 20 uM | 1095000
Plate 1 | L22 | Group 1 | NVX 20 uM | 707400
Plate 1 | M22 | Group 1 | NVX 40 uM | 345700
Plate 1 | N22 | Group 1 | NVX 40 uM | 108100
Plate 1 | O22 | Group 1 | NVX 40 uM | 177000
Plate 1 | B23 | Group 1 | STP 0 uM | 9982000
Plate 1 | C23 | Group 1 | STP 20 uM | 299500
Plate 1 | D23 | Group 1 | STP 20 uM | 265200
Plate 1 | E23 | Group 1 | STP 20 uM | 256400
Plate 1 | F23 | Group 1 | STP 40 uM | 294600
Plate 1 | G23 | Group 1 | STP 40 uM | 180300
Plate 1 | H23 | Group 1 | STP 40 uM | 235100
Plate 1 | I23 | Group 1 | SN38 BLANK | 10190000
Plate 1 | J23 | Group 1 | SN38 BLANK | 13930000
Plate 1 | K23 | Group 1 | SN38 BLANK | 15140000
Plate 1 | L23 | Group 1 | SN38 BLANK | 5817000
Plate 1 | M23 | Group 1 | SN38 BLANK | 14100000
Plate 1 | N23 | Group 1 | SN38 BLANK | 6423000
Plate 1 | O23 | Group 1 | SN38 BLANK | 10440000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220304_6101_OXSN38_DAY4_NDS.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/4/2022 3:11:27 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/4/2022 3:11:27 PM | Session 20220304_6101_OXSN38_DAY4_NDS.skax started
| 3/4/2022 3:11:27 PM | Temperature | 25.0°C
| 3/4/2022 3:11:28 PM | Step Luminescence 1 started
| 3/4/2022 3:11:35 PM | Calibration | Luminometric 1.12975 347591294
| 3/4/2022 3:12:18 PM | Temperature | 25.0°C
| 3/4/2022 3:13:18 PM | Temperature | 25.0°C
| 3/4/2022 3:14:18 PM | Temperature | 25.0°C
| 3/4/2022 3:15:18 PM | Temperature | 25.0°C
| 3/4/2022 3:16:18 PM | Temperature | 25.0°C
| 3/4/2022 3:17:18 PM | Temperature | 25.0°C
| 3/4/2022 3:17:57 PM | Step Luminescence 1 ended
| 3/4/2022 3:17:57 PM | Temperature | 25.0°C
| 3/4/2022 3:18:08 PM | Session 20220304_6101_OXSN38_DAY4_NDS.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P