## Luminescence 1_01
Measurement results
20220312_6144_5FUTAS_DAY4CTG_MJP.skax
3/12/2022 4:07:00 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 442300 | 858800 | 549300 | 209600 | 489500 | 614500 | 514900 | 1656000 | 23840000 | 15940000 | 1622000 | 725500 | 908800 | 568700 | 846700 | 1811000 | 1635000 | 929400 | 15100000 | 15110000 | 628600 | 612800
C |  | 106400 | 1868000 | 1446000 | 533500 | 1158000 | 699500 | 1399000 | 552800 | 17470000 | 14110000 | 835900 | 928000 | 808100 | 872700 | 641300 | 666500 | 1088000 | 753000 | 17030000 | 12620000 | 321400 | 1052000
D |  | 360500 | 1321000 | 3035000 | 950500 | 786500 | 743600 | 241800 | 1142000 | 7227000 | 4466000 | 435400 | 1600000 | 788300 | 1037000 | 749300 | 579900 | 376100 | 1163000 | 12320000 | 11210000 | 269800 | 514700
E |  | 1181000 | 341900 | 2276000 | 1690000 | 1135000 | 427500 | 1947000 | 1466000 | 3439000 | 2922000 | 1494000 | 2065000 | 964400 | 1077000 | 279500 | 797600 | 580300 | 1396000 | 5419000 | 5930000 | 163300 | 862500
F |  | 2209000 | 912700 | 669300 | 527900 | 892500 | 710700 | 1024000 | 1390000 | 276900 | 440700 | 2094000 | 359700 | 1422000 | 619600 | 697300 | 1354000 | 1342000 | 784700 | 1091000 | 1165000 | 47550 | 731200
G |  | 630200 | 389800 | 288400 | 176700 | 159200 | 163500 | 216500 | 53880 | 67270 | 178200 | 1424000 | 209600 | 1394000 | 1538000 | 545100 | 271400 | 228200 | 499300 | 54210 | 103300 | 24760 | 205600
H |  | 281200 | 636400 | 295000 | 192900 | 97350 | 147400 | 44430 | 70350 | 146500 | 17250000 | 916900 | 2876000 | 1769000 | 2019000 | 2692000 | 456900 | 575800 | 287900 | 375300 | 8989000 | 242300 | 1410000
I |  | 684500 | 417100 | 333800 | 213000 | 291800 | 257600 | 101000 | 50340 | 176400 | 22010000 | 1675000 | 550600 | 516600 | 261600 | 702200 | 534500 | 224100 | 219600 | 375700 | 20310000 | 1547000 | 464700
J |  | 297800 | 300400 | 235200 | 216900 | 104300 | 160100 | 94710 | 60190 | 166600 | 20630000 | 1687000 | 767700 | 402200 | 1309000 | 1335000 | 924800 | 410300 | 212000 | 278000 | 8320000 | 287400 | 1432000
K |  | 571600 | 329300 | 303400 | 126500 | 126600 | 293000 | 167000 | 27620 | 105700 | 13820000 | 1116000 | 731200 | 547200 | 1549000 | 800200 | 1256000 | 266000 | 528900 | 170300 | 15020000 | 448900 | 902100
L |  | 16550 | 8101 | 9215 | 5745 | 6718 | 5921 | 8071 | 10710 | 59360 | 6109000 | 377000 | 211000 | 184800 | 87880 | 56940 | 28710 | 12220 | 21790 | 170600 | 15520000 | 411000 | 906900
M |  | 12520 | 2778 | 4586 | 3675 | 1583 | 3389 | 2361 | 8030 | 25650 | 2869000 | 384200 | 163000 | 73330 | 99420 | 47840 | 29980 | 9278 | 11660 | 58090 | 5211000 | 178100 | 853300
N |  | 10370 | 15460 | 14680 | 2234 | 9155 | 1070 | 2743 | 4288 | 6913 | 228700 | 277600 | 124100 | 34490 | 63490 | 69720 | 17470 | 15440 | 16720 | 25260 | 950900 | 61980 | 1212000
O |  | 9060 | 5477 | 6329 | 3509 | 3322 | 3017 | 4103 | 3342 | 4481 | 65640 | 229100 | 235600 | 176500 | 176700 | 54820 | 129000 | 117300 | 143700 | 84320 | 33820 | 49090 | 1539000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 442300
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 106400
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 360500
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 1181000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 2209000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 630200
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 281200
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 684500
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 297800
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 571600
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 16550
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 12520
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 10370
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 9060
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 858800
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 1868000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 1321000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 341900
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 912700
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 389800
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 636400
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 417100
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 300400
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 329300
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 8101
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 2778
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 15460
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 5477
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 549300
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 1446000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 3035000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 2276000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 669300
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 288400
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 295000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 333800
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 235200
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 303400
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 9215
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 4586
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 14680
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 6329
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 209600
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 533500
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 950500
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 1690000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 527900
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 176700
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 192900
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 213000
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 216900
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 126500
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 5745
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 3675
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 2234
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 3509
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 489500
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 1158000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 786500
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 1135000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 892500
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 159200
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 97350
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 291800
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 104300
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 126600
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 6718
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 1583
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 9155
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 3322
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 614500
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 699500
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 743600
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 427500
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 710700
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 163500
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 147400
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 257600
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 160100
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 293000
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 5921
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 3389
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 1070
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 3017
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 514900
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 1399000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 241800
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 1947000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 1024000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 216500
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 44430
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 101000
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 94710
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 167000
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 8071
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 2361
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 2743
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 4103
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 1656000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 552800
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 1142000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 1466000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 1390000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 53880
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 70350
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 50340
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 60190
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 27620
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 10710
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 8030
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 4288
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 3342
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 23840000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 17470000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 7227000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 3439000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 276900
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 67270
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 146500
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 176400
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 166600
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 105700
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 59360
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 25650
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 6913
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 4481
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 15940000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 14110000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 4466000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 2922000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 440700
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 178200
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 17250000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 22010000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 20630000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 13820000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 6109000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 2869000
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 228700
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 65640
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 1622000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 835900
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 435400
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 1494000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 2094000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 1424000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 916900
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 1675000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 1687000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 1116000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 377000
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 384200
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 277600
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 229100
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 725500
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 928000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 1600000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 2065000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 359700
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 209600
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 2876000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 550600
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 767700
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 731200
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 211000
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 163000
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 124100
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 235600
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 908800
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 808100
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 788300
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 964400
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 1422000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 1394000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 1769000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 516600
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 402200
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 547200
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 184800
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 73330
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 34490
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 176500
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 568700
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 872700
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 1037000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 1077000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 619600
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 1538000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 2019000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 261600
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 1309000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 1549000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 87880
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 99420
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 63490
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 176700
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 846700
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 641300
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 749300
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 279500
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 697300
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 545100
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 2692000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 702200
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 1335000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 800200
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 56940
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 47840
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 69720
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 54820
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 1811000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 666500
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 579900
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 797600
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 1354000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 271400
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 456900
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 534500
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 924800
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 1256000
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 28710
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 29980
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 17470
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 129000
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 1635000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 1088000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 376100
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 580300
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 1342000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 228200
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 575800
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 224100
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 410300
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 266000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 12220
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 9278
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 15440
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 117300
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 929400
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 753000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 1163000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 1396000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 784700
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 499300
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 287900
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 219600
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 212000
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 528900
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 21790
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 11660
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 16720
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 143700
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 15100000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 17030000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 12320000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 5419000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 1091000
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 54210
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 375300
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 375700
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 278000
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 170300
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 170600
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 58090
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 25260
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 84320
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 15110000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 12620000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 11210000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 5930000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 1165000
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 103300
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 8989000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 20310000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 8320000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 15020000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 15520000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 5211000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 950900
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 33820
Plate 1 | B22 | Group 1 | STP 0 uM | 628600
Plate 1 | C22 | Group 1 | STP 20 uM | 321400
Plate 1 | D22 | Group 1 | STP 20 uM | 269800
Plate 1 | E22 | Group 1 | STP 20 uM | 163300
Plate 1 | F22 | Group 1 | STP 40 uM | 47550
Plate 1 | G22 | Group 1 | STP 40 uM | 24760
Plate 1 | H22 | Group 1 | STP 40 uM | 242300
Plate 1 | I22 | Group 1 | NVX 0 uM | 1547000
Plate 1 | J22 | Group 1 | NVX 20 uM | 287400
Plate 1 | K22 | Group 1 | NVX 20 uM | 448900
Plate 1 | L22 | Group 1 | NVX 20 uM | 411000
Plate 1 | M22 | Group 1 | NVX 40 uM | 178100
Plate 1 | N22 | Group 1 | NVX 40 uM | 61980
Plate 1 | O22 | Group 1 | NVX 40 uM | 49090
Plate 1 | B23 | Group 1 | 5-FU BLANK | 612800
Plate 1 | C23 | Group 1 | 5-FU BLANK | 1052000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 514700
Plate 1 | E23 | Group 1 | 5-FU BLANK | 862500
Plate 1 | F23 | Group 1 | 5-FU BLANK | 731200
Plate 1 | G23 | Group 1 | 5-FU BLANK | 205600
Plate 1 | H23 | Group 1 | 5-FU BLANK | 1410000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 464700
Plate 1 | J23 | Group 1 | TAS102 BLANK | 1432000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 902100
Plate 1 | L23 | Group 1 | TAS102 BLANK | 906900
Plate 1 | M23 | Group 1 | TAS102 BLANK | 853300
Plate 1 | N23 | Group 1 | TAS102 BLANK | 1212000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 1539000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220312_6144_5FUTAS_DAY4CTG_MJP.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/12/2022 4:07:00 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/12/2022 4:07:00 PM | Session 20220312_6144_5FUTAS_DAY4CTG_MJP.skax started
| 3/12/2022 4:07:00 PM | Temperature | 20.5°C
| 3/12/2022 4:07:01 PM | Step Luminescence 1 started
| 3/12/2022 4:07:09 PM | Calibration | Luminometric 1.04726 417044418
| 3/12/2022 4:07:19 PM | Temperature | 20.5°C
| 3/12/2022 4:08:19 PM | Temperature | 20.5°C
| 3/12/2022 4:09:19 PM | Temperature | 20.5°C
| 3/12/2022 4:10:19 PM | Temperature | 20.5°C
| 3/12/2022 4:11:19 PM | Temperature | 20.5°C
| 3/12/2022 4:12:19 PM | Temperature | 20.5°C
| 3/12/2022 4:13:19 PM | Temperature | 20.5°C
| 3/12/2022 4:13:23 PM | Step Luminescence 1 ended
| 3/12/2022 4:13:23 PM | Temperature | 20.5°C
| 3/12/2022 4:13:34 PM | Session 20220312_6144_5FUTAS_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P