## Luminescence 1_01
Measurement results
20220226_5941_5FUTAS_DAY4CTG_DB.skax
2/26/2022 4:24:33 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 535900 | 1240000 | 464200 | 337200 | 1017000 | 1192000 | 493200 | 602000 | 5418000 | 12890000 | 888400 | 2330000 | 479300 | 1673000 | 2160000 | 267500 | 447200 | 1169000 | 2846000 | 22730000 | 328000 | 799800
C |  | 481300 | 551100 | 1458000 | 1086000 | 618600 | 1279000 | 973900 | 1063000 | 9551000 | 8346000 | 214200 | 846600 | 45880 | 1338000 | 630600 | 110100 | 148000 | 1971000 | 13100000 | 16650000 | 245300 | 333600
D |  | 469800 | 961700 | 466000 | 711500 | 789200 | 1168000 | 1115000 | 315000 | 4568000 | 1228000 | 120000 | 877700 | 960200 | 659800 | 883100 | 90630 | 45810 | 205300 | 2064000 | 10780000 | 156200 | 289100
E |  | 222200 | 1296000 | 986300 | 1787000 | 329000 | 637700 | 1089000 | 853500 | 869300 | 1058000 | 1016000 | 520100 | 135400 | 1749000 | 710700 | 356100 | 1618000 | 709500 | 2834000 | 2648000 | 59700 | 929200
F |  | 1004000 | 656200 | 462600 | 2060000 | 1073000 | 869300 | 1000000 | 425100 | 193800 | 101000 | 2234000 | 1092000 | 1803000 | 537100 | 1410000 | 1158000 | 619800 | 1528000 | 650800 | 801700 | 30420 | 991800
G |  | 611600 | 438200 | 320600 | 365100 | 220400 | 243800 | 193700 | 75340 | 33240 | 97070 | 848800 | 1574000 | 1597000 | 1227000 | 556000 | 378100 | 455600 | 554300 | 40210 | 116600 | 21120 | 200800
H |  | 440800 | 385700 | 191100 | 157200 | 67210 | 100000 | 103200 | 67560 | 180100 | 8361000 | 471800 | 1055000 | 466300 | 403400 | 342000 | 500700 | 221700 | 253600 | 553900 | 10350000 | 148800 | 907700
I |  | 361900 | 196400 | 185100 | 64430 | 361100 | 204900 | 128200 | 51280 | 85650 | 9679000 | 993300 | 818300 | 1023000 | 438500 | 426500 | 463200 | 505700 | 186500 | 345300 | 9594000 | 852700 | 507000
J |  | 578000 | 525100 | 542800 | 152500 | 167200 | 162700 | 111300 | 41080 | 100400 | 11410000 | 1727000 | 1470000 | 336900 | 991900 | 557100 | 923900 | 787900 | 288700 | 449800 | 12010000 | 174000 | 562900
K |  | 233100 | 521800 | 684100 | 196200 | 195200 | 172800 | 148300 | 252200 | 83720 | 9809000 | 2384000 | 822200 | 329100 | 305600 | 1130000 | 828100 | 386700 | 538200 | 267400 | 9360000 | 142500 | 966000
L |  | 21160 | 24270 | 17130 | 11030 | 4931 | 4259 | 5046 | 8194 | 36070 | 3234000 | 417900 | 316900 | 335900 | 53920 | 27140 | 30060 | 11570 | 16670 | 157700 | 6630000 | 98320 | 716600
M |  | 90600 | 23180 | 8872 | 2951 | 2404 | 2352 | 2516 | 3706 | 11690 | 664500 | 449100 | 289300 | 256000 | 209300 | 39720 | 15710 | 7035 | 8351 | 48870 | 3584000 | 58210 | 397300
N |  | 74610 | 16050 | 5032 | 3994 | 1441 | 1640 | 2487 | 1860 | 4333 | 33340 | 216500 | 259700 | 220700 | 107400 | 18630 | 9750 | 9926 | 10730 | 16910 | 432200 | 22310 | 1183000
O |  | 79100 | 13250 | 8914 | 3511 | 1265 | 3455 | 1375 | 1168 | 1924 | 16320 | 320600 | 200600 | 71750 | 49780 | 31050 | 104100 | 73550 | 74490 | 117000 | 26400 | 9975 | 259800
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 535900
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 481300
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 469800
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 222200
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 1004000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 611600
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 440800
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 361900
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 578000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 233100
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 21160
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 90600
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 74610
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 79100
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 1240000
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 551100
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 961700
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 1296000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 656200
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 438200
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 385700
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 196400
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 525100
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 521800
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 24270
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 23180
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 16050
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 13250
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 464200
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 1458000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 466000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 986300
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 462600
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 320600
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 191100
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 185100
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 542800
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 684100
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 17130
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 8872
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 5032
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 8914
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 337200
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 1086000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 711500
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 1787000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 2060000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 365100
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 157200
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 64430
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 152500
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 196200
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 11030
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 2951
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 3994
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 3511
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 1017000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 618600
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 789200
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 329000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 1073000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 220400
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 67210
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 361100
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 167200
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 195200
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 4931
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 2404
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 1441
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 1265
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 1192000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 1279000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 1168000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 637700
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 869300
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 243800
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 100000
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 204900
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 162700
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 172800
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 4259
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 2352
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 1640
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 3455
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 493200
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 973900
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 1115000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 1089000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 1000000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 193700
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 103200
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 128200
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 111300
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 148300
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 5046
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 2516
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 2487
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 1375
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 602000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 1063000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 315000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 853500
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 425100
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 75340
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 67560
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 51280
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 41080
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 252200
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 8194
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 3706
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 1860
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 1168
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 5418000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 9551000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 4568000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 869300
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 193800
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 33240
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 180100
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 85650
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 100400
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 83720
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 36070
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 11690
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 4333
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 1924
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 12890000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 8346000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 1228000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 1058000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 101000
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 97070
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 8361000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 9679000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 11410000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 9809000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 3234000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 664500
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 33340
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 16320
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 888400
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 214200
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 120000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 1016000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 2234000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 848800
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 471800
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 993300
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 1727000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 2384000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 417900
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 449100
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 216500
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 320600
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 2330000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 846600
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 877700
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 520100
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 1092000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 1574000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 1055000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 818300
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 1470000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 822200
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 316900
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 289300
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 259700
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 200600
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 479300
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 45880
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 960200
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 135400
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 1803000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 1597000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 466300
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 1023000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 336900
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 329100
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 335900
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 256000
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 220700
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 71750
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 1673000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 1338000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 659800
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 1749000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 537100
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 1227000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 403400
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 438500
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 991900
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 305600
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 53920
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 209300
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 107400
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 49780
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 2160000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 630600
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 883100
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 710700
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 1410000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 556000
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 342000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 426500
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 557100
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 1130000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 27140
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 39720
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 18630
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 31050
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 267500
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 110100
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 90630
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 356100
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 1158000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 378100
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 500700
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 463200
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 923900
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 828100
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 30060
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 15710
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 9750
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 104100
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 447200
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 148000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 45810
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 1618000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 619800
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 455600
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 221700
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 505700
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 787900
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 386700
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 11570
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 7035
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 9926
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 73550
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 1169000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 1971000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 205300
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 709500
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 1528000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 554300
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 253600
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 186500
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 288700
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 538200
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 16670
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 8351
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 10730
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 74490
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 2846000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 13100000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 2064000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 2834000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 650800
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 40210
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 553900
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 345300
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 449800
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 267400
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 157700
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 48870
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 16910
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 117000
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 22730000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 16650000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 10780000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 2648000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 801700
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 116600
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 10350000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 9594000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 12010000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 9360000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 6630000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 3584000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 432200
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 26400
Plate 1 | B22 | Group 1 | STP 0 uM | 328000
Plate 1 | C22 | Group 1 | STP 20 uM | 245300
Plate 1 | D22 | Group 1 | STP 20 uM | 156200
Plate 1 | E22 | Group 1 | STP 20 uM | 59700
Plate 1 | F22 | Group 1 | STP 40 uM | 30420
Plate 1 | G22 | Group 1 | STP 40 uM | 21120
Plate 1 | H22 | Group 1 | STP 40 uM | 148800
Plate 1 | I22 | Group 1 | NVX 0 uM | 852700
Plate 1 | J22 | Group 1 | NVX 20 uM | 174000
Plate 1 | K22 | Group 1 | NVX 20 uM | 142500
Plate 1 | L22 | Group 1 | NVX 20 uM | 98320
Plate 1 | M22 | Group 1 | NVX 40 uM | 58210
Plate 1 | N22 | Group 1 | NVX 40 uM | 22310
Plate 1 | O22 | Group 1 | NVX 40 uM | 9975
Plate 1 | B23 | Group 1 | 5-FU BLANK | 799800
Plate 1 | C23 | Group 1 | 5-FU BLANK | 333600
Plate 1 | D23 | Group 1 | 5-FU BLANK | 289100
Plate 1 | E23 | Group 1 | 5-FU BLANK | 929200
Plate 1 | F23 | Group 1 | 5-FU BLANK | 991800
Plate 1 | G23 | Group 1 | 5-FU BLANK | 200800
Plate 1 | H23 | Group 1 | 5-FU BLANK | 907700
Plate 1 | I23 | Group 1 | TAS102 BLANK | 507000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 562900
Plate 1 | K23 | Group 1 | TAS102 BLANK | 966000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 716600
Plate 1 | M23 | Group 1 | TAS102 BLANK | 397300
Plate 1 | N23 | Group 1 | TAS102 BLANK | 1183000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 259800

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220226_5941_5FUTAS_DAY4CTG_DB.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 2/26/2022 4:24:33 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2/26/2022 4:24:33 PM | Session 20220226_5941_5FUTAS_DAY4CTG_DB.skax started
| 2/26/2022 4:24:33 PM | Temperature | 21.1°C
| 2/26/2022 4:24:34 PM | Step Luminescence 1 started
| 2/26/2022 4:24:41 PM | Calibration | Luminometric 1.05997 296190065
| 2/26/2022 4:25:13 PM | Temperature | 21.1°C
| 2/26/2022 4:26:13 PM | Temperature | 21.1°C
| 2/26/2022 4:27:13 PM | Temperature | 21.1°C
| 2/26/2022 4:28:13 PM | Temperature | 21.1°C
| 2/26/2022 4:29:13 PM | Temperature | 21.1°C
| 2/26/2022 4:30:13 PM | Temperature | 21.1°C
| 2/26/2022 4:30:54 PM | Step Luminescence 1 ended
| 2/26/2022 4:30:54 PM | Temperature | 21.1°C
| 2/26/2022 4:31:04 PM | Session 20220226_5941_5FUTAS_DAY4CTG_DB.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P