## Luminescence 1_01
Measurement results
20220224_6023_V2_5FUTAS_DAY4CTG_DB.skax
2/24/2022 3:32:46 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 12260000 | 12450000 | 13530000 | 10150000 | 17420000 | 11190000 | 9356000 | 10700000 | 24810000 | 20000000 | 10790000 | 16360000 | 12110000 | 14550000 | 12060000 | 17480000 | 13530000 | 11980000 | 27270000 | 25820000 | 7039000 | 15260000
C |  | 12320000 | 15390000 | 9799000 | 14480000 | 18870000 | 11290000 | 16810000 | 13090000 | 18080000 | 17230000 | 9306000 | 15290000 | 17090000 | 13070000 | 15000000 | 15940000 | 10200000 | 11660000 | 22630000 | 24350000 | 563500 | 11420000
D |  | 7561000 | 17430000 | 19710000 | 10020000 | 14260000 | 15650000 | 16040000 | 15360000 | 10570000 | 10890000 | 14290000 | 13690000 | 18160000 | 9667000 | 18730000 | 17570000 | 11330000 | 16650000 | 15050000 | 11290000 | 305100 | 10800000
E |  | 11940000 | 21720000 | 17610000 | 17850000 | 16330000 | 19430000 | 14390000 | 11990000 | 3882000 | 2204000 | 14530000 | 11130000 | 11990000 | 10930000 | 5111000 | 14830000 | 10340000 | 9367000 | 6446000 | 3262000 | 243100 | 17860000
F |  | 9435000 | 14770000 | 19020000 | 18540000 | 16060000 | 19530000 | 7537000 | 16470000 | 483600 | 378600 | 16050000 | 9794000 | 9926000 | 9280000 | 22670000 | 16630000 | 10280000 | 11190000 | 1873000 | 1464000 | 203600 | 12370000
G |  | 7176000 | 7187000 | 5718000 | 5784000 | 3452000 | 4261000 | 1763000 | 1152000 | 141400 | 312300 | 8423000 | 11760000 | 13240000 | 13430000 | 12200000 | 11780000 | 9219000 | 5244000 | 234800 | 224100 | 232000 | 15610000
H |  | 9480000 | 9737000 | 3496000 | 3075000 | 3879000 | 2551000 | 1830000 | 449800 | 655800 | 19680000 | 9724000 | 11630000 | 8617000 | 13790000 | 9197000 | 12920000 | 8701000 | 4905000 | 7797000 | 15680000 | 408700 | 5569000
I |  | 13330000 | 4814000 | 6655000 | 5322000 | 3749000 | 4313000 | 1623000 | 797000 | 547500 | 16830000 | 18040000 | 11670000 | 11530000 | 7316000 | 12960000 | 10170000 | 7339000 | 5950000 | 5833000 | 24370000 | 12240000 | 10540000
J |  | 4247000 | 10170000 | 4752000 | 5178000 | 7119000 | 3936000 | 674600 | 727200 | 261100 | 13940000 | 14970000 | 13340000 | 9499000 | 19140000 | 7212000 | 14610000 | 9513000 | 3686000 | 4622000 | 8947000 | 790600 | 9713000
K |  | 10120000 | 10120000 | 4353000 | 1796000 | 3134000 | 3571000 | 1998000 | 618900 | 279600 | 17110000 | 16770000 | 15770000 | 19530000 | 10080000 | 11500000 | 8062000 | 9085000 | 5643000 | 2140000 | 13920000 | 789700 | 14020000
L |  | 384500 | 387100 | 140600 | 171000 | 87040 | 153400 | 84070 | 115600 | 126600 | 6018000 | 6080000 | 3653000 | 1992000 | 3048000 | 1991000 | 303200 | 145400 | 108900 | 1284000 | 7995000 | 757800 | 10670000
M |  | 457000 | 287600 | 162800 | 135400 | 93300 | 52820 | 53660 | 116900 | 122800 | 2958000 | 6532000 | 4989000 | 2888000 | 2955000 | 1803000 | 314200 | 35350 | 29370 | 320700 | 5709000 | 445700 | 10370000
N |  | 252500 | 356600 | 102200 | 103800 | 80600 | 72300 | 53440 | 80200 | 44350 | 224000 | 3562000 | 4142000 | 3271000 | 4131000 | 1310000 | 419900 | 37010 | 28350 | 48790 | 1641000 | 410100 | 16640000
O |  | 545600 | 333500 | 216500 | 101900 | 72890 | 30550 | 59320 | 57960 | 66220 | 72900 | 6352000 | 5405000 | 1643000 | 2543000 | 1987000 | 291700 | 179900 | 192700 | 152900 | 116700 | 386000 | 14590000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 12260000
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 12320000
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 7561000
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 11940000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 9435000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 7176000
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 9480000
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 13330000
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 4247000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 10120000
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 384500
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 457000
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 252500
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 545600
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 12450000
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 15390000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 17430000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 21720000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 14770000
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 7187000
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 9737000
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 4814000
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 10170000
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 10120000
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 387100
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 287600
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 356600
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 333500
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 13530000
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 9799000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 19710000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 17610000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 19020000
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 5718000
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 3496000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 6655000
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 4752000
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 4353000
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 140600
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 162800
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 102200
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 216500
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 10150000
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 14480000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 10020000
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 17850000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 18540000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 5784000
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 3075000
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 5322000
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 5178000
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 1796000
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 171000
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 135400
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 103800
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 101900
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 17420000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 18870000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 14260000
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 16330000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 16060000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 3452000
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 3879000
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 3749000
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 7119000
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 3134000
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 87040
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 93300
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 80600
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 72890
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 11190000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 11290000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 15650000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 19430000
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 19530000
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 4261000
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 2551000
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 4313000
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 3936000
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 3571000
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 153400
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 52820
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 72300
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 30550
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 9356000
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 16810000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 16040000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 14390000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 7537000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 1763000
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 1830000
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 1623000
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 674600
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 1998000
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 84070
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 53660
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 53440
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 59320
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 10700000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 13090000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 15360000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 11990000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 16470000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 1152000
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 449800
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 797000
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 727200
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 618900
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 115600
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 116900
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 80200
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 57960
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 24810000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 18080000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 10570000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 3882000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 483600
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 141400
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 655800
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 547500
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 261100
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 279600
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 126600
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 122800
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 44350
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 66220
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 20000000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 17230000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 10890000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 2204000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 378600
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 312300
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 19680000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 16830000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 13940000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 17110000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 6018000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 2958000
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 224000
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 72900
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 10790000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 9306000
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 14290000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 14530000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 16050000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 8423000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 9724000
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 18040000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 14970000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 16770000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 6080000
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 6532000
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 3562000
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 6352000
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 16360000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 15290000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 13690000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 11130000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 9794000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 11760000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 11630000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 11670000
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 13340000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 15770000
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 3653000
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 4989000
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 4142000
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 5405000
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 12110000
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 17090000
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 18160000
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 11990000
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 9926000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 13240000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 8617000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 11530000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 9499000
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 19530000
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 1992000
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 2888000
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 3271000
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 1643000
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 14550000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 13070000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 9667000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 10930000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 9280000
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 13430000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 13790000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 7316000
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 19140000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 10080000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 3048000
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 2955000
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 4131000
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 2543000
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 12060000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 15000000
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 18730000
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 5111000
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 22670000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 12200000
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 9197000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 12960000
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 7212000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 11500000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 1991000
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 1803000
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 1310000
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 1987000
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 17480000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 15940000
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 17570000
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 14830000
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 16630000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 11780000
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 12920000
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 10170000
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 14610000
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 8062000
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 303200
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 314200
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 419900
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 291700
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 13530000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 10200000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 11330000
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 10340000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 10280000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 9219000
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 8701000
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 7339000
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 9513000
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 9085000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 145400
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 35350
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 37010
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 179900
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 11980000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 11660000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 16650000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 9367000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 11190000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 5244000
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 4905000
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 5950000
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 3686000
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 5643000
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 108900
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 29370
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 28350
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 192700
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 27270000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 22630000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 15050000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 6446000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 1873000
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 234800
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 7797000
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 5833000
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 4622000
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 2140000
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 1284000
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 320700
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 48790
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 152900
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 25820000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 24350000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 11290000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 3262000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 1464000
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 224100
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 15680000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 24370000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 8947000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 13920000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 7995000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 5709000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 1641000
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 116700
Plate 1 | B22 | Group 1 | STP 0 uM | 7039000
Plate 1 | C22 | Group 1 | STP 20 uM | 563500
Plate 1 | D22 | Group 1 | STP 20 uM | 305100
Plate 1 | E22 | Group 1 | STP 20 uM | 243100
Plate 1 | F22 | Group 1 | STP 40 uM | 203600
Plate 1 | G22 | Group 1 | STP 40 uM | 232000
Plate 1 | H22 | Group 1 | STP 40 uM | 408700
Plate 1 | I22 | Group 1 | NVX 0 uM | 12240000
Plate 1 | J22 | Group 1 | NVX 20 uM | 790600
Plate 1 | K22 | Group 1 | NVX 20 uM | 789700
Plate 1 | L22 | Group 1 | NVX 20 uM | 757800
Plate 1 | M22 | Group 1 | NVX 40 uM | 445700
Plate 1 | N22 | Group 1 | NVX 40 uM | 410100
Plate 1 | O22 | Group 1 | NVX 40 uM | 386000
Plate 1 | B23 | Group 1 | 5-FU BLANK | 15260000
Plate 1 | C23 | Group 1 | 5-FU BLANK | 11420000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 10800000
Plate 1 | E23 | Group 1 | 5-FU BLANK | 17860000
Plate 1 | F23 | Group 1 | 5-FU BLANK | 12370000
Plate 1 | G23 | Group 1 | 5-FU BLANK | 15610000
Plate 1 | H23 | Group 1 | 5-FU BLANK | 5569000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 10540000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 9713000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 14020000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 10670000
Plate 1 | M23 | Group 1 | TAS102 BLANK | 10370000
Plate 1 | N23 | Group 1 | TAS102 BLANK | 16640000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 14590000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220224_6023_V2_5FUTAS_DAY4CTG_DB.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 2/24/2022 3:32:46 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2/24/2022 3:32:46 PM | Session 20220224_6023_V2_5FUTAS_DAY4CTG_DB.skax started
| 2/24/2022 3:32:47 PM | Temperature | 22.4°C
| 2/24/2022 3:32:47 PM | Step Luminescence 1 started
| 2/24/2022 3:32:55 PM | Calibration | Luminometric 1.04201 278599455
| 2/24/2022 3:33:12 PM | Temperature | 22.4°C
| 2/24/2022 3:34:12 PM | Temperature | 22.5°C
| 2/24/2022 3:35:12 PM | Temperature | 22.4°C
| 2/24/2022 3:36:12 PM | Temperature | 22.4°C
| 2/24/2022 3:37:12 PM | Temperature | 22.4°C
| 2/24/2022 3:38:12 PM | Temperature | 22.4°C
| 2/24/2022 3:39:11 PM | Step Luminescence 1 ended
| 2/24/2022 3:39:11 PM | Temperature | 22.4°C
| 2/24/2022 3:39:12 PM | Temperature | 22.4°C
| 2/24/2022 3:39:21 PM | Session 20220224_6023_V2_5FUTAS_DAY4CTG_DB.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P