## Luminescence 1_01
Measurement results
20220225_6051_5FUTAS_DAY4CTG_MJP.skax
2/25/2022 4:51:08 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 11350000 | 9819000 | 13180000 | 10970000 | 11680000 | 11310000 | 12050000 | 9345000 | 3081000 | 6504000 | 13260000 | 12670000 | 12520000 | 12380000 | 11940000 | 12180000 | 8178000 | 10540000 | 5003000 | 5105000 | 11310000 | 12350000
C |  | 10760000 | 11490000 | 10840000 | 12170000 | 12560000 | 10090000 | 11980000 | 10630000 | 7679000 | 3331000 | 12450000 | 10950000 | 9949000 | 11320000 | 10690000 | 12340000 | 12430000 | 11000000 | 4915000 | 3574000 | 264700 | 9770000
D |  | 10490000 | 8086000 | 12300000 | 11410000 | 11020000 | 11070000 | 12420000 | 4701000 | 2749000 | 1892000 | 8046000 | 12030000 | 11880000 | 12160000 | 9082000 | 10320000 | 10120000 | 9667000 | 5673000 | 6382000 | 219400 | 11620000
E |  | 13160000 | 11620000 | 12540000 | 11350000 | 11700000 | 10190000 | 9188000 | 10620000 | 1433000 | 705000 | 10640000 | 8909000 | 9534000 | 11760000 | 10620000 | 7896000 | 10970000 | 9225000 | 1330000 | 1727000 | 133000 | 9075000
F |  | 12850000 | 11390000 | 9085000 | 12850000 | 10290000 | 10840000 | 11090000 | 7401000 | 302800 | 206200 | 11860000 | 10110000 | 10760000 | 10050000 | 8742000 | 7961000 | 11540000 | 10580000 | 696500 | 231300 | 119000 | 10900000
G |  | 6042000 | 11460000 | 5730000 | 6864000 | 8228000 | 6783000 | 3727000 | 2971000 | 155900 | 177000 | 11400000 | 10020000 | 10150000 | 9442000 | 8561000 | 9216000 | 10330000 | 8534000 | 263300 | 98760 | 111000 | 9704000
H |  | 14260000 | 6602000 | 7147000 | 4937000 | 4398000 | 6662000 | 3849000 | 3459000 | 1969000 | 4759000 | 11160000 | 9495000 | 9274000 | 11680000 | 10190000 | 9656000 | 9370000 | 8490000 | 5413000 | 5878000 | 274000 | 9775000
I |  | 7763000 | 7116000 | 7557000 | 9525000 | 5816000 | 4403000 | 5740000 | 3702000 | 1283000 | 8631000 | 8556000 | 12570000 | 10710000 | 10690000 | 11240000 | 10330000 | 10030000 | 8964000 | 6106000 | 3070000 | 9305000 | 8124000
J |  | 8312000 | 6537000 | 6873000 | 5214000 | 6513000 | 6831000 | 4749000 | 2579000 | 839300 | 4194000 | 9752000 | 10110000 | 11910000 | 10150000 | 12300000 | 9738000 | 7141000 | 6608000 | 3438000 | 6485000 | 296300 | 9296000
K |  | 9734000 | 6471000 | 7106000 | 7787000 | 4952000 | 5518000 | 5978000 | 3557000 | 587400 | 2005000 | 8335000 | 11610000 | 8749000 | 9436000 | 11350000 | 7988000 | 10440000 | 6143000 | 1656000 | 4065000 | 190900 | 11060000
L |  | 916000 | 1029000 | 446800 | 471300 | 435100 | 473500 | 593600 | 392100 | 357400 | 2573000 | 4259000 | 3643000 | 2150000 | 2178000 | 1356000 | 507300 | 141200 | 97450 | 1040000 | 3346000 | 171300 | 10380000
M |  | 1652000 | 953400 | 390200 | 267700 | 515800 | 306900 | 289400 | 410300 | 332600 | 957200 | 7025000 | 4652000 | 1869000 | 1698000 | 1278000 | 209500 | 41880 | 21420 | 392400 | 1389000 | 143900 | 11770000
N |  | 1352000 | 371200 | 377000 | 154600 | 551400 | 355600 | 318300 | 317800 | 589600 | 120400 | 6019000 | 3477000 | 4095000 | 1761000 | 1201000 | 380400 | 26430 | 14290 | 24560 | 278200 | 122300 | 10870000
O |  | 1586000 | 1027000 | 401200 | 195000 | 158400 | 161600 | 226700 | 497100 | 548100 | 54110 | 3947000 | 5592000 | 3961000 | 1940000 | 1031000 | 178500 | 66130 | 56900 | 60790 | 123700 | 180900 | 9065000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 11350000
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 10760000
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 10490000
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 13160000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 12850000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 6042000
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 14260000
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 7763000
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 8312000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 9734000
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 916000
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 1652000
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 1352000
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 1586000
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 9819000
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 11490000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 8086000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 11620000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 11390000
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 11460000
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 6602000
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 7116000
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 6537000
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 6471000
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 1029000
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 953400
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 371200
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 1027000
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 13180000
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 10840000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 12300000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 12540000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 9085000
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 5730000
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 7147000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 7557000
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 6873000
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 7106000
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 446800
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 390200
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 377000
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 401200
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 10970000
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 12170000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 11410000
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 11350000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 12850000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 6864000
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 4937000
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 9525000
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 5214000
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 7787000
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 471300
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 267700
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 154600
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 195000
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 11680000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 12560000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 11020000
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 11700000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 10290000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 8228000
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 4398000
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 5816000
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 6513000
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 4952000
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 435100
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 515800
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 551400
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 158400
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 11310000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 10090000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 11070000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 10190000
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 10840000
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 6783000
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 6662000
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 4403000
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 6831000
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 5518000
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 473500
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 306900
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 355600
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 161600
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 12050000
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 11980000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 12420000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 9188000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 11090000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 3727000
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 3849000
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 5740000
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 4749000
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 5978000
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 593600
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 289400
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 318300
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 226700
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 9345000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 10630000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 4701000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 10620000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 7401000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 2971000
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 3459000
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 3702000
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 2579000
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 3557000
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 392100
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 410300
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 317800
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 497100
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 3081000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 7679000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 2749000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 1433000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 302800
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 155900
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 1969000
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 1283000
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 839300
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 587400
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 357400
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 332600
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 589600
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 548100
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 6504000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 3331000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 1892000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 705000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 206200
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 177000
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 4759000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 8631000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 4194000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 2005000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 2573000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 957200
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 120400
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 54110
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 13260000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 12450000
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 8046000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 10640000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 11860000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 11400000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 11160000
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 8556000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 9752000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 8335000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 4259000
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 7025000
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 6019000
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 3947000
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 12670000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 10950000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 12030000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 8909000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 10110000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 10020000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 9495000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 12570000
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 10110000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 11610000
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 3643000
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 4652000
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 3477000
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 5592000
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 12520000
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 9949000
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 11880000
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 9534000
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 10760000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 10150000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 9274000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 10710000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 11910000
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 8749000
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 2150000
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 1869000
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 4095000
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 3961000
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 12380000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 11320000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 12160000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 11760000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 10050000
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 9442000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 11680000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 10690000
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 10150000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 9436000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 2178000
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 1698000
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 1761000
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 1940000
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 11940000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 10690000
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 9082000
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 10620000
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 8742000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 8561000
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 10190000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 11240000
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 12300000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 11350000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 1356000
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 1278000
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 1201000
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 1031000
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 12180000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 12340000
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 10320000
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 7896000
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 7961000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 9216000
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 9656000
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 10330000
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 9738000
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 7988000
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 507300
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 209500
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 380400
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 178500
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 8178000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 12430000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 10120000
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 10970000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 11540000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 10330000
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 9370000
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 10030000
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 7141000
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 10440000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 141200
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 41880
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 26430
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 66130
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 10540000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 11000000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 9667000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 9225000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 10580000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 8534000
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 8490000
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 8964000
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 6608000
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 6143000
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 97450
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 21420
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 14290
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 56900
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 5003000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 4915000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 5673000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 1330000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 696500
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 263300
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 5413000
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 6106000
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 3438000
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 1656000
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 1040000
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 392400
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 24560
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 60790
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 5105000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 3574000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 6382000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 1727000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 231300
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 98760
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 5878000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 3070000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 6485000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 4065000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 3346000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 1389000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 278200
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 123700
Plate 1 | B22 | Group 1 | STP 0 uM | 11310000
Plate 1 | C22 | Group 1 | STP 20 uM | 264700
Plate 1 | D22 | Group 1 | STP 20 uM | 219400
Plate 1 | E22 | Group 1 | STP 20 uM | 133000
Plate 1 | F22 | Group 1 | STP 40 uM | 119000
Plate 1 | G22 | Group 1 | STP 40 uM | 111000
Plate 1 | H22 | Group 1 | STP 40 uM | 274000
Plate 1 | I22 | Group 1 | NVX 0 uM | 9305000
Plate 1 | J22 | Group 1 | NVX 20 uM | 296300
Plate 1 | K22 | Group 1 | NVX 20 uM | 190900
Plate 1 | L22 | Group 1 | NVX 20 uM | 171300
Plate 1 | M22 | Group 1 | NVX 40 uM | 143900
Plate 1 | N22 | Group 1 | NVX 40 uM | 122300
Plate 1 | O22 | Group 1 | NVX 40 uM | 180900
Plate 1 | B23 | Group 1 | 5-FU BLANK | 12350000
Plate 1 | C23 | Group 1 | 5-FU BLANK | 9770000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 11620000
Plate 1 | E23 | Group 1 | 5-FU BLANK | 9075000
Plate 1 | F23 | Group 1 | 5-FU BLANK | 10900000
Plate 1 | G23 | Group 1 | 5-FU BLANK | 9704000
Plate 1 | H23 | Group 1 | 5-FU BLANK | 9775000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 8124000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 9296000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 11060000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 10380000
Plate 1 | M23 | Group 1 | TAS102 BLANK | 11770000
Plate 1 | N23 | Group 1 | TAS102 BLANK | 10870000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 9065000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220225_6051_5FUTAS_DAY4CTG_MJP.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 2/25/2022 4:51:08 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2/25/2022 4:51:08 PM | Session 20220225_6051_5FUTAS_DAY4CTG_MJP.skax started
| 2/25/2022 4:51:09 PM | Temperature | 23.7°C
| 2/25/2022 4:51:09 PM | Step Luminescence 1 started
| 2/25/2022 4:51:12 PM | Temperature | 23.7°C
| 2/25/2022 4:51:17 PM | Calibration | Luminometric 1.08854 287709654
| 2/25/2022 4:52:12 PM | Temperature | 23.8°C
| 2/25/2022 4:53:12 PM | Temperature | 23.8°C
| 2/25/2022 4:54:12 PM | Temperature | 23.8°C
| 2/25/2022 4:55:12 PM | Temperature | 23.8°C
| 2/25/2022 4:56:12 PM | Temperature | 23.8°C
| 2/25/2022 4:57:12 PM | Temperature | 23.8°C
| 2/25/2022 4:57:31 PM | Step Luminescence 1 ended
| 2/25/2022 4:57:31 PM | Temperature | 23.9°C
| 2/25/2022 4:57:42 PM | Session 20220225_6051_5FUTAS_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P