## Luminescence 1_01
Measurement results
20220225_6051_OXSN38_DAY4CTG_MJP.skax
2/25/2022 4:58:58 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 10870000 | 13420000 | 11880000 | 12310000 | 13950000 | 9506000 | 11840000 | 11580000 | 2514000 | 5411000 | 10100000 | 12470000 | 12180000 | 11700000 | 11600000 | 12870000 | 12070000 | 11690000 | 8120000 | 5095000 | 12080000 | 12810000
C |  | 10520000 | 9875000 | 12550000 | 11370000 | 11180000 | 7966000 | 12170000 | 12330000 | 6510000 | 5909000 | 10330000 | 11760000 | 11350000 | 8512000 | 10070000 | 12480000 | 12180000 | 12440000 | 4218000 | 8918000 | 12580000 | 357000
D |  | 7602000 | 10130000 | 10340000 | 11300000 | 10910000 | 12350000 | 12680000 | 11600000 | 6508000 | 6880000 | 11380000 | 11710000 | 9778000 | 11460000 | 12320000 | 11760000 | 10760000 | 11470000 | 1896000 | 1843000 | 10980000 | 184200
E |  | 11660000 | 11370000 | 10230000 | 11300000 | 7202000 | 10710000 | 9644000 | 9837000 | 5310000 | 5039000 | 10630000 | 10580000 | 8836000 | 9989000 | 14530000 | 13040000 | 10110000 | 8896000 | 546500 | 653100 | 11220000 | 186200
F |  | 11940000 | 11250000 | 11140000 | 12400000 | 11270000 | 12540000 | 10560000 | 11490000 | 2152000 | 1402000 | 6872000 | 11490000 | 12850000 | 10350000 | 10200000 | 9733000 | 12280000 | 6344000 | 196500 | 178500 | 10630000 | 172600
G |  | 10260000 | 12100000 | 11100000 | 8326000 | 11180000 | 11210000 | 9896000 | 7598000 | 316500 | 216100 | 11210000 | 11890000 | 11040000 | 8682000 | 11150000 | 10670000 | 11920000 | 5198000 | 185400 | 189100 | 10820000 | 174000
H |  | 10870000 | 12340000 | 11370000 | 8529000 | 10940000 | 9318000 | 12030000 | 6698000 | 8220000 | 8117000 | 8368000 | 11020000 | 7899000 | 10000000 | 4017000 | 7043000 | 4728000 | 5021000 | 6461000 | 4617000 | 9120000 | 218200
I |  | 12460000 | 11620000 | 10010000 | 10430000 | 11100000 | 10160000 | 10930000 | 5150000 | 6512000 | 5267000 | 9279000 | 6838000 | 5473000 | 6174000 | 2482000 | 6325000 | 2861000 | 5452000 | 4326000 | 3424000 | 3573000 | 8592000
J |  | 10480000 | 12880000 | 11530000 | 10510000 | 10870000 | 7582000 | 10260000 | 8070000 | 5143000 | 5556000 | 8439000 | 6611000 | 9821000 | 8675000 | 5037000 | 3710000 | 2717000 | 5043000 | 1726000 | 6086000 | 239800 | 11050000
K |  | 9455000 | 7501000 | 9975000 | 10930000 | 13030000 | 11430000 | 9591000 | 6567000 | 3801000 | 2677000 | 1882000 | 3068000 | 3828000 | 2938000 | 2798000 | 706400 | 1246000 | 663600 | 910700 | 5009000 | 200500 | 11880000
L |  | 6432000 | 10680000 | 3879000 | 3081000 | 3239000 | 912700 | 382500 | 124400 | 2703000 | 6541000 | 1589000 | 2606000 | 2397000 | 1776000 | 1740000 | 297500 | 296500 | 401600 | 575700 | 1206000 | 133200 | 10100000
M |  | 7636000 | 5347000 | 4030000 | 3132000 | 1416000 | 786300 | 450600 | 34830 | 481600 | 4833000 | 1423000 | 2148000 | 845900 | 1013000 | 857000 | 484900 | 477800 | 397600 | 547000 | 503900 | 121400 | 11070000
N |  | 7405000 | 5680000 | 3900000 | 5182000 | 2593000 | 667100 | 252700 | 18980 | 335700 | 2401000 | 949400 | 488000 | 337500 | 707100 | 809900 | 816100 | 706800 | 523600 | 499300 | 86640 | 126900 | 11430000
O |  | 7550000 | 5617000 | 7926000 | 3355000 | 1644000 | 758300 | 292300 | 14050 | 11900 | 30840 | 372600 | 664200 | 343100 | 300600 | 1479000 | 708300 | 615900 | 622300 | 541900 | 133900 | 187700 | 10550000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 10870000
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 10520000
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 7602000
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 11660000
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 11940000
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 10260000
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 10870000
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 12460000
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 10480000
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 9455000
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 6432000
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 7636000
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 7405000
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 7550000
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 13420000
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 9875000
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 10130000
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 11370000
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 11250000
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 12100000
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 12340000
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 11620000
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 12880000
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 7501000
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 10680000
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 5347000
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 5680000
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 5617000
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 11880000
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 12550000
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 10340000
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 10230000
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 11140000
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 11100000
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 11370000
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 10010000
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 11530000
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 9975000
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 3879000
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 4030000
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 3900000
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 7926000
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 12310000
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 11370000
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 11300000
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 11300000
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 12400000
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 8326000
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 8529000
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 10430000
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 10510000
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 10930000
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 3081000
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 3132000
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 5182000
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 3355000
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 13950000
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 11180000
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 10910000
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 7202000
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 11270000
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 11180000
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 10940000
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 11100000
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 10870000
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 13030000
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 3239000
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 1416000
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 2593000
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 1644000
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 9506000
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 7966000
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 12350000
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 10710000
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 12540000
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 11210000
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 9318000
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 10160000
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 7582000
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 11430000
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 912700
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 786300
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 667100
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 758300
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 11840000
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 12170000
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 12680000
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 9644000
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 10560000
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 9896000
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 12030000
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 10930000
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 10260000
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 9591000
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 382500
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 450600
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 252700
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 292300
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 11580000
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 12330000
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 11600000
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 9837000
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 11490000
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 7598000
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 6698000
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 5150000
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 8070000
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 6567000
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 124400
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 34830
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 18980
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 14050
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 2514000
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 6510000
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 6508000
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 5310000
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 2152000
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 316500
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 8220000
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 6512000
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 5143000
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 3801000
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 2703000
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 481600
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 335700
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 11900
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 5411000
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 5909000
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 6880000
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 5039000
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 1402000
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 216100
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 8117000
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 5267000
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 5556000
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 2677000
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 6541000
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 4833000
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 2401000
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 30840
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 10100000
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 10330000
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 11380000
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 10630000
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 6872000
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 11210000
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 8368000
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 9279000
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 8439000
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | 1882000
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 1589000
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 1423000
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 949400
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 372600
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 12470000
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 11760000
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 11710000
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 10580000
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 11490000
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 11890000
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 11020000
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 6838000
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 6611000
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 3068000
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 2606000
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 2148000
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 488000
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 664200
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 12180000
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 11350000
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 9778000
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 8836000
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 12850000
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 11040000
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 7899000
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 5473000
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 9821000
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 3828000
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 2397000
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 845900
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 337500
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 343100
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 11700000
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 8512000
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 11460000
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 9989000
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 10350000
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 8682000
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 10000000
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 6174000
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 8675000
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 2938000
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 1776000
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 1013000
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 707100
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 300600
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 11600000
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 10070000
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 12320000
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 14530000
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 10200000
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 11150000
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 4017000
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 2482000
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 5037000
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 2798000
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 1740000
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 857000
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 809900
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 1479000
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 12870000
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 12480000
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 11760000
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 13040000
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 9733000
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 10670000
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 7043000
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 6325000
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 3710000
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 706400
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 297500
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 484900
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 816100
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 708300
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 12070000
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 12180000
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 10760000
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 10110000
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 12280000
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 11920000
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 4728000
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 2861000
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 2717000
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 1246000
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 296500
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 477800
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 706800
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 615900
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 11690000
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 12440000
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 11470000
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 8896000
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 6344000
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 5198000
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 5021000
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 5452000
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 5043000
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 663600
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 401600
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 397600
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 523600
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 622300
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 8120000
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 4218000
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 1896000
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 546500
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 196500
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 185400
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 6461000
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 4326000
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 1726000
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 910700
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 575700
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 547000
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 499300
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 541900
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 5095000
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 8918000
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 1843000
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 653100
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 178500
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 189100
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 4617000
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 3424000
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 6086000
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 5009000
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 1206000
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 503900
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 86640
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 133900
Plate 1 | B22 | Group 1 | OX BLANK | 12080000
Plate 1 | C22 | Group 1 | OX BLANK | 12580000
Plate 1 | D22 | Group 1 | OX BLANK | 10980000
Plate 1 | E22 | Group 1 | OX BLANK | 11220000
Plate 1 | F22 | Group 1 | OX BLANK | 10630000
Plate 1 | G22 | Group 1 | OX BLANK | 10820000
Plate 1 | H22 | Group 1 | OX BLANK | 9120000
Plate 1 | I22 | Group 1 | NVX 0 uM | 3573000
Plate 1 | J22 | Group 1 | NVX 20 uM | 239800
Plate 1 | K22 | Group 1 | NVX 20 uM | 200500
Plate 1 | L22 | Group 1 | NVX 20 uM | 133200
Plate 1 | M22 | Group 1 | NVX 40 uM | 121400
Plate 1 | N22 | Group 1 | NVX 40 uM | 126900
Plate 1 | O22 | Group 1 | NVX 40 uM | 187700
Plate 1 | B23 | Group 1 | STP 0 uM | 12810000
Plate 1 | C23 | Group 1 | STP 20 uM | 357000
Plate 1 | D23 | Group 1 | STP 20 uM | 184200
Plate 1 | E23 | Group 1 | STP 20 uM | 186200
Plate 1 | F23 | Group 1 | STP 40 uM | 172600
Plate 1 | G23 | Group 1 | STP 40 uM | 174000
Plate 1 | H23 | Group 1 | STP 40 uM | 218200
Plate 1 | I23 | Group 1 | SN38 BLANK | 8592000
Plate 1 | J23 | Group 1 | SN38 BLANK | 11050000
Plate 1 | K23 | Group 1 | SN38 BLANK | 11880000
Plate 1 | L23 | Group 1 | SN38 BLANK | 10100000
Plate 1 | M23 | Group 1 | SN38 BLANK | 11070000
Plate 1 | N23 | Group 1 | SN38 BLANK | 11430000
Plate 1 | O23 | Group 1 | SN38 BLANK | 10550000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220225_6051_OXSN38_DAY4CTG_MJP.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 2/25/2022 4:58:58 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2/25/2022 4:58:58 PM | Session 20220225_6051_OXSN38_DAY4CTG_MJP.skax started
| 2/25/2022 4:58:58 PM | Temperature | 23.8°C
| 2/25/2022 4:58:59 PM | Step Luminescence 1 started
| 2/25/2022 4:59:07 PM | Calibration | Luminometric 1.09753 287756629
| 2/25/2022 4:59:12 PM | Temperature | 23.8°C
| 2/25/2022 5:00:12 PM | Temperature | 23.8°C
| 2/25/2022 5:01:12 PM | Temperature | 23.9°C
| 2/25/2022 5:02:12 PM | Temperature | 23.9°C
| 2/25/2022 5:03:12 PM | Temperature | 23.9°C
| 2/25/2022 5:04:12 PM | Temperature | 23.9°C
| 2/25/2022 5:05:12 PM | Temperature | 23.9°C
| 2/25/2022 5:05:18 PM | Step Luminescence 1 ended
| 2/25/2022 5:05:19 PM | Temperature | 23.9°C
| 2/25/2022 5:05:29 PM | Session 20220225_6051_OXSN38_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P