## Luminescence 1_01
Measurement results
20220225_6050_OXSN38_DAY4CTG_MJP.skax
2/25/2022 4:43:08 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5359000 | 8931000 | 5165000 | 6555000 | 6551000 | 5350000 | 6792000 | 9583000 | 8164000 | 4914000 | 6267000 | 9256000 | 11040000 | 8302000 | 5072000 | 7797000 | 6766000 | 11290000 | 4106000 | 9383000 | 5459000 | 8033000
C |  | 8556000 | 8127000 | 5607000 | 10440000 | 10310000 | 9161000 | 4965000 | 10790000 | 6385000 | 5030000 | 6662000 | 7104000 | 2960000 | 5948000 | 6326000 | 8028000 | 5751000 | 8952000 | 5572000 | 6268000 | 8549000 | 222400
D |  | 5063000 | 6114000 | 9731000 | 8872000 | 5074000 | 6760000 | 6957000 | 7723000 | 5671000 | 4822000 | 5666000 | 10060000 | 9160000 | 7688000 | 5628000 | 5668000 | 3919000 | 6529000 | 1683000 | 1098000 | 4076000 | 90110
E |  | 10830000 | 10120000 | 4603000 | 10200000 | 5900000 | 6151000 | 6073000 | 5168000 | 6995000 | 4701000 | 3997000 | 8851000 | 6700000 | 11250000 | 10730000 | 8398000 | 6837000 | 6608000 | 610000 | 346700 | 10810000 | 191600
F |  | 6804000 | 6296000 | 4707000 | 7868000 | 6917000 | 8496000 | 10150000 | 10470000 | 1143000 | 2630000 | 5101000 | 8904000 | 8153000 | 9370000 | 5356000 | 8959000 | 5854000 | 4306000 | 142300 | 173700 | 9501000 | 170000
G |  | 4054000 | 5613000 | 2667000 | 10280000 | 7448000 | 5258000 | 2148000 | 4718000 | 228800 | 153900 | 5789000 | 6098000 | 5390000 | 6106000 | 5706000 | 4541000 | 6436000 | 2623000 | 105100 | 153400 | 8755000 | 162000
H |  | 7169000 | 7744000 | 8091000 | 6474000 | 8055000 | 7604000 | 4195000 | 3123000 | 1838000 | 4241000 | 6041000 | 5611000 | 4448000 | 1860000 | 2764000 | 1427000 | 1792000 | 2892000 | 1083000 | 4462000 | 6617000 | 187900
I |  | 4621000 | 14190000 | 4418000 | 2101000 | 5018000 | 9931000 | 9030000 | 4013000 | 2229000 | 6232000 | 4227000 | 4606000 | 6087000 | 3796000 | 3905000 | 1378000 | 2003000 | 3309000 | 484000 | 5565000 | 3816000 | 7336000
J |  | 10090000 | 3435000 | 9038000 | 9972000 | 7287000 | 3199000 | 4452000 | 6237000 | 1199000 | 13570000 | 2633000 | 5691000 | 4778000 | 3771000 | 1956000 | 1694000 | 1104000 | 2254000 | 1746000 | 5080000 | 428500 | 6105000
K |  | 4748000 | 9946000 | 7363000 | 7297000 | 7259000 | 5716000 | 3790000 | 5516000 | 830200 | 6710000 | 1730000 | 1700000 | 1567000 | 1361000 | 1073000 | 417600 | 311100 | 330500 | 219300 | 7671000 | 532900 | 3772000
L |  | 4109000 | 1246000 | 1213000 | 545700 | 413000 | 651600 | 315700 | 89740 | 248600 | 7130000 | 1197000 | 800800 | 673200 | 474100 | 808200 | 226200 | 172000 | 161700 | 136900 | 1434000 | 503500 | 11160000
M |  | 1916000 | 1398000 | 1334000 | 399600 | 404400 | 336700 | 300000 | 34880 | 514700 | 4339000 | 811500 | 423200 | 985800 | 304000 | 783000 | 406500 | 237100 | 233500 | 294100 | 476600 | 274000 | 4566000
N |  | 1175000 | 1999000 | 488100 | 527000 | 476300 | 273200 | 323700 | 22160 | 287600 | 2246000 | 355800 | 322400 | 583500 | 295400 | 311500 | 627800 | 341600 | 230900 | 327300 | 59670 | 222000 | 6629000
O |  | 2665000 | 1492000 | 961700 | 951900 | 321300 | 206200 | 242300 | 17230 | 14830 | 25860 | 280700 | 132100 | 189800 | 341800 | 289600 | 373900 | 326400 | 202000 | 431100 | 67700 | 250300 | 2952000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 5359000
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 8556000
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 5063000
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 10830000
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 6804000
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 4054000
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 7169000
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 4621000
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 10090000
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 4748000
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 4109000
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 1916000
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 1175000
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 2665000
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 8931000
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 8127000
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 6114000
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 10120000
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 6296000
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 5613000
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 7744000
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 14190000
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 3435000
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 9946000
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 1246000
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 1398000
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 1999000
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 1492000
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 5165000
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 5607000
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 9731000
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 4603000
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 4707000
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 2667000
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 8091000
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 4418000
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 9038000
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 7363000
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 1213000
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 1334000
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 488100
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 961700
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 6555000
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 10440000
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 8872000
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 10200000
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 7868000
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 10280000
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 6474000
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 2101000
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 9972000
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 7297000
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 545700
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 399600
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 527000
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 951900
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 6551000
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 10310000
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 5074000
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 5900000
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 6917000
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 7448000
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 8055000
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 5018000
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 7287000
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 7259000
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 413000
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 404400
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 476300
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 321300
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 5350000
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 9161000
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 6760000
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 6151000
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 8496000
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 5258000
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 7604000
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 9931000
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 3199000
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 5716000
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 651600
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 336700
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 273200
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 206200
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 6792000
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 4965000
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 6957000
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 6073000
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 10150000
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 2148000
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 4195000
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 9030000
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 4452000
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 3790000
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 315700
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 300000
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 323700
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 242300
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 9583000
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 10790000
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 7723000
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 5168000
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 10470000
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 4718000
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 3123000
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 4013000
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 6237000
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 5516000
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 89740
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 34880
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 22160
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 17230
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 8164000
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 6385000
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 5671000
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 6995000
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 1143000
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 228800
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 1838000
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 2229000
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 1199000
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 830200
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 248600
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 514700
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 287600
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 14830
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 4914000
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 5030000
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 4822000
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 4701000
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 2630000
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 153900
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 4241000
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 6232000
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 13570000
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 6710000
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 7130000
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 4339000
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 2246000
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 25860
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 6267000
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 6662000
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 5666000
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 3997000
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 5101000
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 5789000
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 6041000
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 4227000
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 2633000
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | 1730000
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 1197000
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 811500
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 355800
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 280700
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 9256000
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 7104000
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 10060000
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 8851000
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 8904000
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 6098000
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 5611000
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 4606000
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 5691000
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 1700000
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 800800
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 423200
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 322400
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 132100
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 11040000
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 2960000
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 9160000
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 6700000
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 8153000
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 5390000
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 4448000
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 6087000
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 4778000
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 1567000
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 673200
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 985800
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 583500
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 189800
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 8302000
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 5948000
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 7688000
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 11250000
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 9370000
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 6106000
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 1860000
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 3796000
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 3771000
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 1361000
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 474100
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 304000
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 295400
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 341800
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 5072000
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 6326000
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 5628000
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 10730000
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 5356000
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 5706000
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 2764000
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 3905000
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 1956000
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 1073000
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 808200
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 783000
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 311500
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 289600
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 7797000
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 8028000
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 5668000
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 8398000
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 8959000
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 4541000
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 1427000
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 1378000
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 1694000
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 417600
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 226200
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 406500
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 627800
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 373900
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 6766000
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 5751000
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 3919000
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 6837000
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 5854000
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 6436000
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 1792000
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 2003000
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 1104000
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 311100
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 172000
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 237100
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 341600
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 326400
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 11290000
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 8952000
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 6529000
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 6608000
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 4306000
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 2623000
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 2892000
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 3309000
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 2254000
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 330500
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 161700
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 233500
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 230900
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 202000
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 4106000
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 5572000
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 1683000
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 610000
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 142300
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 105100
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 1083000
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 484000
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 1746000
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 219300
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 136900
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 294100
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 327300
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 431100
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 9383000
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 6268000
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 1098000
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 346700
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 173700
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 153400
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 4462000
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 5565000
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 5080000
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 7671000
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 1434000
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 476600
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 59670
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 67700
Plate 1 | B22 | Group 1 | OX BLANK | 5459000
Plate 1 | C22 | Group 1 | OX BLANK | 8549000
Plate 1 | D22 | Group 1 | OX BLANK | 4076000
Plate 1 | E22 | Group 1 | OX BLANK | 10810000
Plate 1 | F22 | Group 1 | OX BLANK | 9501000
Plate 1 | G22 | Group 1 | OX BLANK | 8755000
Plate 1 | H22 | Group 1 | OX BLANK | 6617000
Plate 1 | I22 | Group 1 | NVX 0 uM | 3816000
Plate 1 | J22 | Group 1 | NVX 20 uM | 428500
Plate 1 | K22 | Group 1 | NVX 20 uM | 532900
Plate 1 | L22 | Group 1 | NVX 20 uM | 503500
Plate 1 | M22 | Group 1 | NVX 40 uM | 274000
Plate 1 | N22 | Group 1 | NVX 40 uM | 222000
Plate 1 | O22 | Group 1 | NVX 40 uM | 250300
Plate 1 | B23 | Group 1 | STP 0 uM | 8033000
Plate 1 | C23 | Group 1 | STP 20 uM | 222400
Plate 1 | D23 | Group 1 | STP 20 uM | 90110
Plate 1 | E23 | Group 1 | STP 20 uM | 191600
Plate 1 | F23 | Group 1 | STP 40 uM | 170000
Plate 1 | G23 | Group 1 | STP 40 uM | 162000
Plate 1 | H23 | Group 1 | STP 40 uM | 187900
Plate 1 | I23 | Group 1 | SN38 BLANK | 7336000
Plate 1 | J23 | Group 1 | SN38 BLANK | 6105000
Plate 1 | K23 | Group 1 | SN38 BLANK | 3772000
Plate 1 | L23 | Group 1 | SN38 BLANK | 11160000
Plate 1 | M23 | Group 1 | SN38 BLANK | 4566000
Plate 1 | N23 | Group 1 | SN38 BLANK | 6629000
Plate 1 | O23 | Group 1 | SN38 BLANK | 2952000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220225_6050_OXSN38_DAY4CTG_MJP.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 2/25/2022 4:43:08 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2/25/2022 4:43:08 PM | Session 20220225_6050_OXSN38_DAY4CTG_MJP.skax started
| 2/25/2022 4:43:08 PM | Temperature | 23.7°C
| 2/25/2022 4:43:09 PM | Step Luminescence 1 started
| 2/25/2022 4:43:12 PM | Temperature | 23.7°C
| 2/25/2022 4:43:16 PM | Calibration | Luminometric 1.07604 287661584
| 2/25/2022 4:44:12 PM | Temperature | 23.7°C
| 2/25/2022 4:45:12 PM | Temperature | 23.7°C
| 2/25/2022 4:46:12 PM | Temperature | 23.8°C
| 2/25/2022 4:47:12 PM | Temperature | 23.8°C
| 2/25/2022 4:48:12 PM | Temperature | 23.8°C
| 2/25/2022 4:49:12 PM | Temperature | 23.8°C
| 2/25/2022 4:49:31 PM | Step Luminescence 1 ended
| 2/25/2022 4:49:31 PM | Temperature | 23.8°C
| 2/25/2022 4:49:41 PM | Session 20220225_6050_OXSN38_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P