## Luminescence 1_01
Measurement results
20220304_6079_5FUTAS_DAY4CTG_GSR.skax
3/4/2022 1:24:52 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 22550000 | 23550000 | 31920000 | 32060000 | 32950000 | 27520000 | 22760000 | 31680000 | 37300000 | 22710000 | 31510000 | 28670000 | 30660000 | 30950000 | 33650000 | 30960000 | 35430000 | 34300000 | 34200000 | 37820000 | 26940000 | 29710000
C |  | 26200000 | 32130000 | 26600000 | 25220000 | 31760000 | 32480000 | 33640000 | 26510000 | 38070000 | 33030000 | 30090000 | 28100000 | 32060000 | 32470000 | 34000000 | 34410000 | 26480000 | 31310000 | 41410000 | 38910000 | 1265000 | 30460000
D |  | 30970000 | 30850000 | 21670000 | 28290000 | 35030000 | 28970000 | 27610000 | 24120000 | 21080000 | 29510000 | 23300000 | 28970000 | 29220000 | 31890000 | 36420000 | 30580000 | 24000000 | 32530000 | 28770000 | 27490000 | 797100 | 31630000
E |  | 28890000 | 32390000 | 29540000 | 23690000 | 31300000 | 33690000 | 30920000 | 19560000 | 6147000 | 13710000 | 29780000 | 34160000 | 35510000 | 30770000 | 25440000 | 35520000 | 30870000 | 27520000 | 9852000 | 8433000 | 477900 | 30810000
F |  | 25840000 | 29600000 | 4855000 | 29390000 | 28830000 | 27240000 | 27330000 | 23330000 | 901700 | 1018000 | 32640000 | 31530000 | 37740000 | 21080000 | 28910000 | 31650000 | 32670000 | 26020000 | 3174000 | 9806000 | 470500 | 29840000
G |  | 19670000 | 23580000 | 20810000 | 24830000 | 22590000 | 18220000 | 7582000 | 4237000 | 336800 | 619900 | 28100000 | 35040000 | 28310000 | 25960000 | 27650000 | 23540000 | 16980000 | 21920000 | 641400 | 458300 | 352100 | 28440000
H |  | 24920000 | 21090000 | 30910000 | 20010000 | 18380000 | 27060000 | 7873000 | 4309000 | 6408000 | 39800000 | 28820000 | 15620000 | 32170000 | 17990000 | 33180000 | 24620000 | 29760000 | 21410000 | 11640000 | 27130000 | 970700 | 29980000
I |  | 23120000 | 28620000 | 21980000 | 30790000 | 24450000 | 13540000 | 7550000 | 4699000 | 3380000 | 37130000 | 34200000 | 38030000 | 35020000 | 24190000 | 31810000 | 29810000 | 1510000 | 21500000 | 17480000 | 31870000 | 30830000 | 20520000
J |  | 21580000 | 22240000 | 18030000 | 21570000 | 24060000 | 23620000 | 9335000 | 8982000 | 3190000 | 42860000 | 35680000 | 24780000 | 33850000 | 32420000 | 16110000 | 35320000 | 22850000 | 12180000 | 10780000 | 39710000 | 19420000 | 30220000
K |  | 13720000 | 24220000 | 27810000 | 24250000 | 24990000 | 19230000 | 11950000 | 6318000 | 667400 | 32030000 | 40790000 | 25720000 | 37400000 | 29720000 | 38070000 | 27730000 | 10110000 | 15010000 | 14760000 | 29880000 | 8938000 | 17020000
L |  | 2205000 | 2795000 | 2034000 | 1936000 | 1144000 | 1291000 | 466200 | 1490000 | 1165000 | 25360000 | 26140000 | 12430000 | 12930000 | 22440000 | 4481000 | 3559000 | 412600 | 332400 | 7336000 | 27840000 | 13570000 | 42970000
M |  | 2760000 | 739000 | 2502000 | 2737000 | 488500 | 1771000 | 250800 | 1182000 | 595600 | 10120000 | 34120000 | 14230000 | 17740000 | 12870000 | 7662000 | 2721000 | 166200 | 102100 | 3793000 | 11500000 | 1502000 | 32200000
N |  | 3979000 | 3522000 | 1738000 | 1258000 | 604100 | 1457000 | 1212000 | 486300 | 1334000 | 723200 | 22510000 | 19110000 | 17910000 | 23630000 | 6033000 | 3124000 | 189700 | 75840 | 336300 | 11510000 | 1160000 | 28010000
O |  | 1376000 | 639200 | 2474000 | 792100 | 984900 | 697400 | 539200 | 1141000 | 610400 | 286000 | 25020000 | 13700000 | 29080000 | 18780000 | 2756000 | 1422000 | 412600 | 336500 | 347100 | 465200 | 4720000 | 21580000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 22550000
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 26200000
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 30970000
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 28890000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 25840000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 19670000
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 24920000
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 23120000
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 21580000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 13720000
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 2205000
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 2760000
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 3979000
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 1376000
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 23550000
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 32130000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 30850000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 32390000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 29600000
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 23580000
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 21090000
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 28620000
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 22240000
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 24220000
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 2795000
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 739000
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 3522000
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 639200
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 31920000
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 26600000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 21670000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 29540000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 4855000
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 20810000
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 30910000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 21980000
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 18030000
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 27810000
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 2034000
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 2502000
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 1738000
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 2474000
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 32060000
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 25220000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 28290000
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 23690000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 29390000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 24830000
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 20010000
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 30790000
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 21570000
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 24250000
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 1936000
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 2737000
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 1258000
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 792100
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 32950000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 31760000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 35030000
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 31300000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 28830000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 22590000
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 18380000
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 24450000
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 24060000
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 24990000
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 1144000
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 488500
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 604100
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 984900
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 27520000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 32480000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 28970000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 33690000
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 27240000
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 18220000
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 27060000
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 13540000
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 23620000
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 19230000
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 1291000
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 1771000
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 1457000
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 697400
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 22760000
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 33640000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 27610000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 30920000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 27330000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 7582000
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 7873000
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 7550000
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 9335000
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 11950000
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 466200
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 250800
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 1212000
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 539200
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 31680000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 26510000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 24120000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 19560000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 23330000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 4237000
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 4309000
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 4699000
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 8982000
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 6318000
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 1490000
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 1182000
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 486300
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 1141000
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 37300000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 38070000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 21080000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 6147000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 901700
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 336800
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 6408000
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 3380000
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 3190000
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 667400
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 1165000
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 595600
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 1334000
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 610400
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 22710000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 33030000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 29510000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 13710000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 1018000
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 619900
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 39800000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 37130000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 42860000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 32030000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 25360000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 10120000
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 723200
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 286000
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 31510000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 30090000
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 23300000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 29780000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 32640000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 28100000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 28820000
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 34200000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 35680000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 40790000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 26140000
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 34120000
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 22510000
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 25020000
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 28670000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 28100000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 28970000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 34160000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 31530000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 35040000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 15620000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 38030000
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 24780000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 25720000
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 12430000
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 14230000
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 19110000
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 13700000
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 30660000
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 32060000
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 29220000
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 35510000
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 37740000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 28310000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 32170000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 35020000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 33850000
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 37400000
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 12930000
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 17740000
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 17910000
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 29080000
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 30950000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 32470000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 31890000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 30770000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 21080000
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 25960000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 17990000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 24190000
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 32420000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 29720000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 22440000
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 12870000
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 23630000
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 18780000
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 33650000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 34000000
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 36420000
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 25440000
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 28910000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 27650000
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 33180000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 31810000
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 16110000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 38070000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 4481000
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 7662000
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 6033000
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 2756000
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 30960000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 34410000
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 30580000
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 35520000
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 31650000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 23540000
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 24620000
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 29810000
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 35320000
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 27730000
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 3559000
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 2721000
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 3124000
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 1422000
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 35430000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 26480000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 24000000
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 30870000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 32670000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 16980000
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 29760000
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 1510000
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 22850000
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 10110000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 412600
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 166200
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 189700
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 412600
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 34300000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 31310000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 32530000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 27520000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 26020000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 21920000
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 21410000
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 21500000
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 12180000
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 15010000
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 332400
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 102100
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 75840
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 336500
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 34200000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 41410000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 28770000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 9852000
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 3174000
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 641400
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 11640000
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 17480000
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 10780000
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 14760000
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 7336000
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 3793000
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 336300
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 347100
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 37820000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 38910000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 27490000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 8433000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 9806000
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 458300
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 27130000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 31870000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 39710000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 29880000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 27840000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 11500000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 11510000
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 465200
Plate 1 | B22 | Group 1 | STP 0 uM | 26940000
Plate 1 | C22 | Group 1 | STP 20 uM | 1265000
Plate 1 | D22 | Group 1 | STP 20 uM | 797100
Plate 1 | E22 | Group 1 | STP 20 uM | 477900
Plate 1 | F22 | Group 1 | STP 40 uM | 470500
Plate 1 | G22 | Group 1 | STP 40 uM | 352100
Plate 1 | H22 | Group 1 | STP 40 uM | 970700
Plate 1 | I22 | Group 1 | NVX 0 uM | 30830000
Plate 1 | J22 | Group 1 | NVX 20 uM | 19420000
Plate 1 | K22 | Group 1 | NVX 20 uM | 8938000
Plate 1 | L22 | Group 1 | NVX 20 uM | 13570000
Plate 1 | M22 | Group 1 | NVX 40 uM | 1502000
Plate 1 | N22 | Group 1 | NVX 40 uM | 1160000
Plate 1 | O22 | Group 1 | NVX 40 uM | 4720000
Plate 1 | B23 | Group 1 | 5-FU BLANK | 29710000
Plate 1 | C23 | Group 1 | 5-FU BLANK | 30460000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 31630000
Plate 1 | E23 | Group 1 | 5-FU BLANK | 30810000
Plate 1 | F23 | Group 1 | 5-FU BLANK | 29840000
Plate 1 | G23 | Group 1 | 5-FU BLANK | 28440000
Plate 1 | H23 | Group 1 | 5-FU BLANK | 29980000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 20520000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 30220000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 17020000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 42970000
Plate 1 | M23 | Group 1 | TAS102 BLANK | 32200000
Plate 1 | N23 | Group 1 | TAS102 BLANK | 28010000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 21580000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220304_6079_5FUTAS_DAY4CTG_GSR.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/4/2022 1:24:52 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/4/2022 1:24:52 PM | Session 20220304_6079_5FUTAS_DAY4CTG_GSR.skax started
| 3/4/2022 1:24:52 PM | Temperature | 23.7°C
| 3/4/2022 1:24:53 PM | Step Luminescence 1 started
| 3/4/2022 1:25:00 PM | Calibration | Luminometric 1.11957 346951786
| 3/4/2022 1:25:18 PM | Temperature | 23.7°C
| 3/4/2022 1:26:18 PM | Temperature | 23.7°C
| 3/4/2022 1:27:18 PM | Temperature | 23.7°C
| 3/4/2022 1:28:18 PM | Temperature | 23.7°C
| 3/4/2022 1:29:18 PM | Temperature | 23.7°C
| 3/4/2022 1:30:18 PM | Temperature | 23.7°C
| 3/4/2022 1:31:18 PM | Temperature | 23.7°C
| 3/4/2022 1:31:24 PM | Step Luminescence 1 ended
| 3/4/2022 1:31:24 PM | Temperature | 23.7°C
| 3/4/2022 1:31:34 PM | Session 20220304_6079_5FUTAS_DAY4CTG_GSR.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P