## Luminescence 1_01
Measurement results
20220227_6080_Day0CTG_DB.skax
2/27/2022 2:19:26 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 13490000 | 5470000 | 6534000 | 4779000 | 7286000 | 132000 | 3287 | 689.3 | 332 | 205.6 | 140.8 | 154.7 | 147.9 | 85.69 | 41.45 | 66.23 | 44.69 | 26.92 | 48.46 | 38.06 | 17.32 | 48.08 | 35.5 | 42.65
B | 196600 | 98540 | 116100 | 92080 | 129900 | 10840 | 2591 | 862.9 | 340.9 | 134.5 | 90.64 | 98.43 | 55.15 | 44.12 | 28.55 | 68.67 | 49.39 | 60.15 | 37.19 | 46.2 | 40.51 | 29.86 | 35.81 | 55.91
C | 7111 | 7232 | 7132 | 6135 | 5092 | 2978 | 1264 | 576.1 | 230.7 | 161.5 | 79.7 | 66.61 | 72.6 | 45.12 | 63.37 | 10.59 | 39.63 | 35.88 | 36.94 | 17.23 | 26.94 | 47.34 | 29.08 | 34.74
D | 1846 | 2128 | 1829 | 1694 | 1407 | 1046 | 615 | 358.3 | 172.9 | 104.4 | 78.99 | 48.17 | 33.12 | 65.36 | 12.74 | 34.32 | 32.29 | 66.07 | 37.13 | 29.8 | 28.47 | 73.59 | 36.95 | 25.49
E | 571.2 | 578.4 | 486.2 | 552.2 | 463.1 | 233.1 | 169.6 | 134 | 86.96 | 46.35 | 36.82 | 59.54 | 30.64 | 53.01 | 51.33 | 28.33 | 35.25 | 49.2 | 26.04 | 18.62 | 21.07 | 42.68 | 52.09 | 58.26
F | 152.2 | 194.4 | 202.4 | 136.4 | 123 | 108.6 | 105 | 90.31 | 42.61 | 31.73 | 43.32 | 36.02 | 77.73 | 29.54 | 24.66 | 32.19 | 68.66 | 45.14 | 20.8 | 26.24 | 16.01 | 35.45 | 37.69 | 17.81
G | 58.28 | 61.47 | 61.15 | 51.18 | 131.7 | 88.87 | 64.05 | 52.34 | 44.86 | 59.32 | 28.57 | 45.65 | 39.55 | 52.52 | 45.25 | 71.97 | 34.48 | 52.05 | 26.04 | 21.69 | 24.89 | 26.94 | 44.96 | 10.65
H | 40.86 | 53.73 | 51.31 | 36.38 | 46.4 | 62.32 | 36.87 | 33.08 | 22.15 | 39.36 | 33.19 | 65.11 | 50.19 | 48.5 | 35.52 | 25.11 | 32.87 | 42.48 | 40.96 | 19.84 | 31.6 | 24.63 | 37.76 | 14.65
I | 41.46 | 49.03 | 40.96 | 74.31 | 20.7 | 50.92 | 32.72 | 24.18 | 17.5 | 38.82 | 50.88 | 31.14 | 42.47 | 21.5 | 42.6 | 34.32 | 35.35 | 18.19 | 12.09 | 26.92 | 37.55 | 28.31 | 22.32 | 40.05
J | 46.2 | 46.5 | 33.9 | 23.2 | 46.13 | 34.62 | 19.11 | 20.21 | 42.6 | 35.58 | 23.83 | 22.87 | 28.87 | 29.21 | 21.79 | 51.46 | 26.48 | 14.28 | 20.86 | 31.91 | 16.41 | 19.22 | 33.97 | 8.719
K | 26.85 | 34.29 | 42.53 | 39.47 | 55.23 | 47.63 | 48.52 | 33.98 | 51.69 | 33.18 | 21.23 | 29.81 | 19.5 | 43.41 | 24.46 | 24.27 | 55.29 | 18.35 | 42.62 | 15.94 | 9.242 | 18.26 | 21.61 | 29.92
L | 32.93 | 25.37 | 20.39 | 44.27 | 55.15 | 60.66 | 27.21 | 35.85 | 44.78 | 39.61 | 44.99 | 39.53 | 34.89 | 32.69 | 17.91 | 30.2 | 38.47 | 7.361 | 23.86 | 36.54 | 20.57 | 12.8 | 20.02 | 57.54
M | 46.29 | 57.49 | 55.8 | 41.44 | 33.55 | 40.4 | 47.23 | 28.83 | 19.48 | 43.61 | 37.86 | 36.92 | 39.43 | 32.11 | 39.48 | 36.07 | 33.65 | 20.91 | 23.02 | 31.01 | 23.74 | 25.43 | 35.16 | 28.44
N | 45.17 | 45.17 | 26.76 | 39.43 | 24.3 | 13.63 | 13 | 18.95 | 26.25 | 20.16 | 56.11 | 39.27 | 26.37 | 20.97 | 12.51 | 42.87 | 27.08 | 28.75 | 39.18 | 15.88 | 22.58 | 38.22 | 58.47 | 53.08
O | 38.52 | 35.06 | 32.26 | 36.72 | 30.81 | 36.16 | 23.59 | 30.49 | 32.95 | 40.17 | 20.31 | 25.38 | 32.77 | 47.91 | 8.616 | 36.87 | 78.92 | 17.01 | 31.02 | 37.26 | 26.11 | 18.83 | 36.37 | 30.39
P | 25.25 | 82.32 | 19.95 | 18.48 | 15.41 | 33.28 | 27.36 | 12.07 | 28.67 | 15.24 | 38.73 | 29.47 | 31.26 | 8 | 34.4 | 31.62 | 26.26 | 16.57 | 28.78 | 22.47 | 9.799 | 13.11 | 21.05 | 25.95
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C
D
E
F
G
H
I
J
K
L
M
N
O
P
Autoloading range A1 - Y44

## Result summary
Results summary
No results

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220225_6080_Day0CTG_DB.skax
Session notes
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 2/27/2022 2:19:26 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2/27/2022 2:19:26 PM | Session 20220225_6080_Day0CTG_DB.skax started
| 2/27/2022 2:19:27 PM | Temperature | 20.1°C
| 2/27/2022 2:19:27 PM | Step Luminescence 1 started
| 2/27/2022 2:19:35 PM | Calibration | Luminometric 1.05669 304079390
| 2/27/2022 2:20:13 PM | Temperature | 20.1°C
| 2/27/2022 2:21:13 PM | Temperature | 20.1°C
| 2/27/2022 2:22:13 PM | Temperature | 20.1°C
| 2/27/2022 2:23:13 PM | Temperature | 20.1°C
| 2/27/2022 2:24:13 PM | Temperature | 20.1°C
| 2/27/2022 2:25:13 PM | Temperature | 20.1°C
| 2/27/2022 2:26:13 PM | Temperature | 20.1°C
| 2/27/2022 2:27:12 PM | Step Luminescence 1 ended
| 2/27/2022 2:27:13 PM | Temperature | 20.1°C
| 2/27/2022 2:27:13 PM | Temperature | 20.1°C
| 2/27/2022 2:27:23 PM | Session 20220225_6080_Day0CTG_DB.skax ended

## Layout definitions
Name | Plate 1
Plate template | Greiner, F-bottom, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C
D
E
F
G
H
I
J
K
L
M
N
O
P