## Luminescence 1_01
Measurement results
20220304_6079_OXSN38_DAY4CTG_GSR.skax
3/4/2022 2:02:32 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 64.61 | 35.11 | 19.8 | 46.29 | 74.76 | 46.09 | 29.59 | 54.26 | 26.65 | 42.82 | 42.35 | 60.93 | 47.42 | 64.19 | 49.14 | 59.95 | 42.97 | 48.05 | 51.76 | 75.96 | 58.82 | 55.97
C |  | 65.4 | 19.66 | 49.08 | 65.3 | 56.19 | 66.26 | 62.91 | 25.33 | 42.52 | 39.62 | 31.27 | 47.68 | 64.44 | 49.68 | 35.18 | 72.89 | 39.5 | 15.65 | 54.25 | 52.6 | 37.79 | 34.57
D |  | 35.82 | 21.57 | 32.04 | 54.13 | 47.85 | 44.9 | 39.66 | 50.96 | 37.03 | 29.69 | 9.927 | 36.11 | 53.08 | 72.16 | 47.87 | 34.32 | 45.76 | 14.7 | 46.26 | 41.53 | 36.48 | 67.07
E |  | 73.04 | 60.19 | 38.52 | 37.81 | 46 | 58.14 | 38.64 | 49.48 | 39.41 | 51.93 | 50.06 | 54.85 | 41.87 | 54.36 | 14.07 | 39.4 | 63.89 | 39.29 | 23.62 | 28.5 | 27.11 | 30.34
F |  | 45.43 | 33.2 | 25.07 | 46.98 | 16.1 | 45.14 | 47.74 | 35.32 | 54.21 | 23 | 40.42 | 29.11 | 27.83 | 35.6 | 33.06 | 42.47 | 38.16 | 20.35 | 53.58 | 34.14 | 20.07 | 21.88
G |  | 46.88 | 54.1 | 39.81 | 31.96 | 30.65 | 29.05 | 48.29 | 29.61 | 46.52 | 43.57 | 43.95 | 25.65 | 46.12 | 23.43 | 21.61 | 40.34 | 50.4 | 31.58 | 37.31 | 21.62 | 30.76 | 36.17
H |  | 29.64 | 35.05 | 51.48 | 17.45 | 33.94 | 43.85 | 60.87 | 49.54 | 40.79 | 33.81 | 49.41 | 60.33 | 54.6 | 61.17 | 49.16 | 62.51 | 42.93 | 50.23 | 20.55 | 57.24 | 52.05 | 46.53
I |  | 50.78 | 20.27 | 25.27 | 79.55 | 66.78 | 30.54 | 32.54 | 37.19 | 41.41 | 37.1 | 37.66 | 61.14 | 25.09 | 51.01 | 35.28 | 62.07 | 36.92 | 88.24 | 25.95 | 32 | 28.28 | 42.18
J |  | 32.36 | 41.97 | 48.1 | 31.22 | 35.34 | 37.96 | 51.45 | 53.28 | 42.8 | 36.67 | 39.65 | 45.55 | 32.13 | 24.85 | 12.88 | 54.95 | 25.83 | 23.69 | 24.96 | 40.97 | 32.04 | 20.63
K |  | 40.43 | 18.61 | 20.93 | 42.47 | 20.94 | 38.11 | 25.64 | 31.48 | 22.16 | 35.39 | -0.173 | 36.38 | 28.5 | 55.31 | 39.19 | 54.35 | 43.01 | 47.47 | 28.56 | 14.29 | 45.87 | 25.93
L |  | 39.88 | 46.42 | 39.33 | 29.71 | 20.96 | 28.29 | 47.44 | 9.234 | 51.08 | 26.39 | 46.05 | 33.87 | 25.96 | 11.42 | 28.07 | 33.63 | 20.14 | 17.33 | 34.72 | 29.62 | 35.76 | 23.4
M |  | 35.8 | 17.33 | 25.77 | 35.48 | 18.34 | 23.27 | 28.24 | 31.42 | 56.25 | 38.7 | 37.64 | 30 | 19.31 | 22.19 | 24.94 | 16.17 | 38.53 | 33.93 | 34.69 | 28 | 27.48 | 14.56
N |  | 27.58 | 17.39 | 61.74 | 35.08 | 51.53 | 58.92 | 28.39 | 31.12 | 39.55 | 36.67 | 8.366 | 18.34 | 47.1 | 36.71 | 26.01 | 37.32 | 37.22 | 49.27 | 38.7 | 46.22 | 31.25 | 5.975
O |  | 23.04 | 56.21 | 45.1 | 40.26 | 10.53 | 23.02 | 43.2 | 27.42 | 57.38 | 46.27 | 35.59 | 27.24 | 17.14 | 24.58 | 31.12 | 26.59 | 21.61 | 3.76 | 38.56 | 56.35 | 26.18 | 43.23
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 64.61
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 65.4
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 35.82
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 73.04
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 45.43
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 46.88
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 29.64
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 50.78
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 32.36
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 40.43
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 39.88
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 35.8
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 27.58
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 23.04
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 35.11
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 19.66
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 21.57
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 60.19
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 33.2
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 54.1
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 35.05
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 20.27
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 41.97
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 18.61
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 46.42
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 17.33
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 17.39
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 56.21
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 19.8
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 49.08
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 32.04
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 38.52
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 25.07
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 39.81
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 51.48
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 25.27
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 48.1
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 20.93
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 39.33
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 25.77
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 61.74
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 45.1
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 46.29
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 65.3
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 54.13
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 37.81
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 46.98
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 31.96
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 17.45
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 79.55
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 31.22
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 42.47
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 29.71
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 35.48
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 35.08
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 40.26
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 74.76
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 56.19
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 47.85
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 46
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 16.1
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 30.65
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 33.94
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 66.78
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 35.34
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 20.94
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 20.96
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 18.34
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 51.53
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 10.53
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 46.09
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 66.26
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 44.9
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 58.14
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 45.14
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 29.05
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 43.85
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 30.54
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 37.96
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 38.11
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 28.29
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 23.27
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 58.92
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 23.02
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 29.59
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 62.91
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 39.66
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 38.64
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 47.74
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 48.29
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 60.87
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 32.54
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 51.45
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 25.64
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 47.44
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 28.24
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 28.39
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 43.2
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 54.26
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 25.33
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 50.96
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 49.48
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 35.32
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 29.61
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 49.54
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 37.19
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 53.28
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 31.48
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 9.234
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 31.42
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 31.12
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 27.42
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 26.65
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 42.52
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 37.03
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 39.41
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 54.21
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 46.52
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 40.79
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 41.41
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 42.8
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 22.16
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 51.08
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 56.25
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 39.55
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 57.38
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 42.82
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 39.62
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 29.69
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 51.93
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 23
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 43.57
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 33.81
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 37.1
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 36.67
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 35.39
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 26.39
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 38.7
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 36.67
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 46.27
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 42.35
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 31.27
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 9.927
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 50.06
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 40.42
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 43.95
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 49.41
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 37.66
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 39.65
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | -0.173
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 46.05
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 37.64
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 8.366
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 35.59
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 60.93
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 47.68
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 36.11
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 54.85
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 29.11
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 25.65
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 60.33
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 61.14
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 45.55
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 36.38
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 33.87
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 30
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 18.34
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 27.24
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 47.42
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 64.44
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 53.08
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 41.87
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 27.83
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 46.12
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 54.6
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 25.09
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 32.13
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 28.5
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 25.96
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 19.31
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 47.1
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 17.14
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 64.19
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 49.68
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 72.16
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 54.36
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 35.6
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 23.43
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 61.17
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 51.01
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 24.85
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 55.31
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 11.42
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 22.19
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 36.71
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 24.58
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 49.14
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 35.18
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 47.87
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 14.07
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 33.06
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 21.61
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 49.16
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 35.28
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 12.88
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 39.19
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 28.07
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 24.94
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 26.01
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 31.12
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 59.95
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 72.89
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 34.32
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 39.4
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 42.47
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 40.34
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 62.51
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 62.07
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 54.95
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 54.35
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 33.63
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 16.17
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 37.32
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 26.59
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 42.97
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 39.5
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 45.76
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 63.89
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 38.16
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 50.4
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 42.93
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 36.92
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 25.83
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 43.01
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 20.14
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 38.53
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 37.22
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 21.61
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 48.05
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 15.65
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 14.7
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 39.29
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 20.35
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 31.58
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 50.23
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 88.24
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 23.69
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 47.47
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 17.33
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 33.93
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 49.27
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 3.76
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 51.76
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 54.25
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 46.26
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 23.62
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 53.58
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 37.31
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 20.55
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 25.95
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 24.96
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 28.56
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 34.72
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 34.69
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 38.7
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 38.56
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 75.96
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 52.6
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 41.53
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 28.5
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 34.14
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 21.62
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 57.24
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 32
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 40.97
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 14.29
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 29.62
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 28
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 46.22
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 56.35
Plate 1 | B22 | Group 1 | OX BLANK | 58.82
Plate 1 | C22 | Group 1 | OX BLANK | 37.79
Plate 1 | D22 | Group 1 | OX BLANK | 36.48
Plate 1 | E22 | Group 1 | OX BLANK | 27.11
Plate 1 | F22 | Group 1 | OX BLANK | 20.07
Plate 1 | G22 | Group 1 | OX BLANK | 30.76
Plate 1 | H22 | Group 1 | OX BLANK | 52.05
Plate 1 | I22 | Group 1 | NVX 0 uM | 28.28
Plate 1 | J22 | Group 1 | NVX 20 uM | 32.04
Plate 1 | K22 | Group 1 | NVX 20 uM | 45.87
Plate 1 | L22 | Group 1 | NVX 20 uM | 35.76
Plate 1 | M22 | Group 1 | NVX 40 uM | 27.48
Plate 1 | N22 | Group 1 | NVX 40 uM | 31.25
Plate 1 | O22 | Group 1 | NVX 40 uM | 26.18
Plate 1 | B23 | Group 1 | STP 0 uM | 55.97
Plate 1 | C23 | Group 1 | STP 20 uM | 34.57
Plate 1 | D23 | Group 1 | STP 20 uM | 67.07
Plate 1 | E23 | Group 1 | STP 20 uM | 30.34
Plate 1 | F23 | Group 1 | STP 40 uM | 21.88
Plate 1 | G23 | Group 1 | STP 40 uM | 36.17
Plate 1 | H23 | Group 1 | STP 40 uM | 46.53
Plate 1 | I23 | Group 1 | SN38 BLANK | 42.18
Plate 1 | J23 | Group 1 | SN38 BLANK | 20.63
Plate 1 | K23 | Group 1 | SN38 BLANK | 25.93
Plate 1 | L23 | Group 1 | SN38 BLANK | 23.4
Plate 1 | M23 | Group 1 | SN38 BLANK | 14.56
Plate 1 | N23 | Group 1 | SN38 BLANK | 5.975
Plate 1 | O23 | Group 1 | SN38 BLANK | 43.23

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220304_6079_OXSN38_DAY4CTG_GSR.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/4/2022 2:02:32 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/4/2022 2:02:32 PM | Session 20220304_6079_OXSN38_DAY4CTG_GSR.skax started
| 3/4/2022 2:02:32 PM | Temperature | 23.9°C
| 3/4/2022 2:02:33 PM | Step Luminescence 1 started
| 3/4/2022 2:02:40 PM | Calibration | Luminometric 1.13709 347177791
| 3/4/2022 2:03:18 PM | Temperature | 23.9°C
| 3/4/2022 2:04:18 PM | Temperature | 24.0°C
| 3/4/2022 2:05:18 PM | Temperature | 24.0°C
| 3/4/2022 2:06:18 PM | Temperature | 24.0°C
| 3/4/2022 2:07:18 PM | Temperature | 24.0°C
| 3/4/2022 2:08:18 PM | Temperature | 24.0°C
| 3/4/2022 2:08:42 PM | Step Luminescence 1 ended
| 3/4/2022 2:08:42 PM | Temperature | 24.0°C
| 3/4/2022 2:08:52 PM | Session 20220304_6079_OXSN38_DAY4CTG_GSR.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P