## Luminescence 1_01
Measurement results
20220301_6081_OXSN38_DAY4CTG_MJP.skax
3/1/2022 2:03:09 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 9422000 | 13380000 | 7651000 | 7071000 | 5450000 | 2933000 | 7908000 | 5655000 | 2390000 | 1573000 | 9320000 | 10880000 | 12340000 | 6240000 | 8131000 | 5454000 | 8877000 | 1688000 | 4393000 | 2561000 | 5698000 | 7887000
C |  | 6833000 | 11220000 | 7284000 | 5633000 | 6686000 | 7698000 | 4987000 | 4578000 | 4230000 | 5381000 | 8292000 | 7148000 | 7764000 | 7206000 | 7771000 | 6456000 | 7954000 | 8778000 | 2401000 | 2341000 | 7728000 | 220300
D |  | 8850000 | 6781000 | 13230000 | 6003000 | 9796000 | 7787000 | 10520000 | 4790000 | 4109000 | 1321000 | 8104000 | 9376000 | 6998000 | 8318000 | 9898000 | 7571000 | 5870000 | 5893000 | 17500000 | 711300 | 6675000 | 127500
E |  | 9811000 | 7341000 | 7171000 | 8532000 | 13470000 | 4016000 | 4954000 | 6712000 | 659400 | 426000 | 6621000 | 6446000 | 2907000 | 6092000 | 9849000 | 6167000 | 4150000 | 3806000 | 429200 | 134300 | 4677000 | 97030
F |  | 6981000 | 6448000 | 6466000 | 4690000 | 5775000 | 10900000 | 6795000 | 7717000 | 485500 | 845000 | 4604000 | 8105000 | 5676000 | 3642000 | 7654000 | 6042000 | 6876000 | 2684000 | 89620 | 143500 | 8229000 | 142900
G |  | 3894000 | 7985000 | 7228000 | 10020000 | 4952000 | 6383000 | 2106000 | 2231000 | 109600 | 104200 | 5063000 | 11280000 | 7056000 | 4963000 | 3558000 | 3616000 | 4776000 | 2391000 | 91690 | 68810 | 295600 | 25980
H |  | 6142000 | 9079000 | 7248000 | 9030000 | 5491000 | 5935000 | 3761000 | 975000 | 823200 | 3529000 | 3486000 | 1876000 | 4398000 | 3287000 | 1584000 | 2300000 | 1226000 | 1455000 | 1892000 | 2142000 | 6868000 | 180600
I |  | 7915000 | 8804000 | 7306000 | 6613000 | 5318000 | 7598000 | 2503000 | 1780000 | 1450000 | 6149000 | 2522000 | 1958000 | 1743000 | 2018000 | 1649000 | 1962000 | 1947000 | 778600 | 1020000 | 3532000 | 4653000 | 6621000
J |  | 8363000 | 5537000 | 7990000 | 7315000 | 4610000 | 3559000 | 4644000 | 1521000 | 792200 | 2365000 | 2036000 | 2748000 | 2271000 | 2248000 | 1061000 | 1123000 | 2086000 | 956600 | 1853000 | 2214000 | 450300 | 4807000
K |  | 6692000 | 7658000 | 7250000 | 5961000 | 4238000 | 7673000 | 2374000 | 2602000 | 524800 | 946900 | 959100 | 1236000 | 1171000 | 1710000 | 1274000 | 137500 | 136000 | 118600 | 314200 | 5309000 | 379100 | 3915000
L |  | 1034000 | 696500 | 663700 | 589300 | 463300 | 129200 | 72030 | 39390 | 181300 | 4151000 | 474500 | 984600 | 1101000 | 539900 | 329900 | 87320 | 66340 | 135200 | 97270 | 353200 | 202200 | 8932000
M |  | 1084000 | 1100000 | 674900 | 393900 | 39990 | 97860 | 58830 | 11040 | 119500 | 1685000 | 711900 | 462000 | 288700 | 492200 | 209900 | 95540 | 97180 | 96480 | 141000 | 262100 | 153800 | 8349000
N |  | 1180000 | 662200 | 305000 | 283900 | 246700 | 176700 | 31480 | 6346 | 20840 | 336000 | 94040 | 56050 | 108100 | 76110 | 98050 | 77150 | 185700 | 175300 | 95800 | 120600 | 104000 | 4807000
O |  | 1555000 | 930300 | 468400 | 761100 | 188100 | 173600 | 29500 | 5570 | 5075 | 11510 | 43490 | 81040 | 155700 | 127400 | 175900 | 130700 | 90210 | 129100 | 103900 | 109800 | 246200 | 4355000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | OX 2.86E-7 mM | 9422000
Plate 1 | C02 | Group 1 | OX 2.86E-7 mM | 6833000
Plate 1 | D02 | Group 1 | OX 2.86E-7 mM | 8850000
Plate 1 | E02 | Group 1 | OX 2.86E-7 mM | 9811000
Plate 1 | F02 | Group 1 | OX 2.86E-7 mM | 6981000
Plate 1 | G02 | Group 1 | OX 7.32E-5 mM | 3894000
Plate 1 | H02 | Group 1 | OX 7.32E-5 mM | 6142000
Plate 1 | I02 | Group 1 | OX 7.32E-5 mM | 7915000
Plate 1 | J02 | Group 1 | OX 7.32E-5 mM | 8363000
Plate 1 | K02 | Group 1 | OX 7.32E-5 mM | 6692000
Plate 1 | L02 | Group 1 | OX 1.88E-2 mM | 1034000
Plate 1 | M02 | Group 1 | OX 1.88E-2 mM | 1084000
Plate 1 | N02 | Group 1 | OX 1.88E-2 mM | 1180000
Plate 1 | O02 | Group 1 | OX 1.88E-2 mM | 1555000
Plate 1 | B03 | Group 1 | OX 5.72E-7 mM | 13380000
Plate 1 | C03 | Group 1 | OX 5.72E-7 mM | 11220000
Plate 1 | D03 | Group 1 | OX 5.72E-7 mM | 6781000
Plate 1 | E03 | Group 1 | OX 5.72E-7 mM | 7341000
Plate 1 | F03 | Group 1 | OX 5.72E-7 mM | 6448000
Plate 1 | G03 | Group 1 | OX 1.46E-4 mM | 7985000
Plate 1 | H03 | Group 1 | OX 1.46E-4 mM | 9079000
Plate 1 | I03 | Group 1 | OX 1.46E-4 mM | 8804000
Plate 1 | J03 | Group 1 | OX 1.46E-4 mM | 5537000
Plate 1 | K03 | Group 1 | OX 1.46E-4 mM | 7658000
Plate 1 | L03 | Group 1 | OX 3.75E-2 mM | 696500
Plate 1 | M03 | Group 1 | OX 3.75E-2 mM | 1100000
Plate 1 | N03 | Group 1 | OX 3.75E-2 mM | 662200
Plate 1 | O03 | Group 1 | OX 3.75E-2 mM | 930300
Plate 1 | B04 | Group 1 | OX 1.14E-6 mM | 7651000
Plate 1 | C04 | Group 1 | OX 1.14E-6 mM | 7284000
Plate 1 | D04 | Group 1 | OX 1.14E-6 mM | 13230000
Plate 1 | E04 | Group 1 | OX 1.14E-6 mM | 7171000
Plate 1 | F04 | Group 1 | OX 1.14E-6 mM | 6466000
Plate 1 | G04 | Group 1 | OX 2.93E-4 mM | 7228000
Plate 1 | H04 | Group 1 | OX 2.93E-4 mM | 7248000
Plate 1 | I04 | Group 1 | OX 2.93E-4 mM | 7306000
Plate 1 | J04 | Group 1 | OX 2.93E-4 mM | 7990000
Plate 1 | K04 | Group 1 | OX 2.93E-4 mM | 7250000
Plate 1 | L04 | Group 1 | OX 7.50E-2 mM | 663700
Plate 1 | M04 | Group 1 | OX 7.50E-2 mM | 674900
Plate 1 | N04 | Group 1 | OX 7.50E-2 mM | 305000
Plate 1 | O04 | Group 1 | OX 7.50E-2 mM | 468400
Plate 1 | B05 | Group 1 | OX 2.29E-6 mM | 7071000
Plate 1 | C05 | Group 1 | OX 2.29E-6 mM | 5633000
Plate 1 | D05 | Group 1 | OX 2.29E-6 mM | 6003000
Plate 1 | E05 | Group 1 | OX 2.29E-6 mM | 8532000
Plate 1 | F05 | Group 1 | OX 2.29E-6 mM | 4690000
Plate 1 | G05 | Group 1 | OX 5.86E-4 mM | 10020000
Plate 1 | H05 | Group 1 | OX 5.86E-4 mM | 9030000
Plate 1 | I05 | Group 1 | OX 5.86E-4 mM | 6613000
Plate 1 | J05 | Group 1 | OX 5.86E-4 mM | 7315000
Plate 1 | K05 | Group 1 | OX 5.86E-4 mM | 5961000
Plate 1 | L05 | Group 1 | OX 1.50E-1 mM | 589300
Plate 1 | M05 | Group 1 | OX 1.50E-1 mM | 393900
Plate 1 | N05 | Group 1 | OX 1.50E-1 mM | 283900
Plate 1 | O05 | Group 1 | OX 1.50E-1 mM | 761100
Plate 1 | B06 | Group 1 | OX 4.58E-6 mM | 5450000
Plate 1 | C06 | Group 1 | OX 4.58E-6 mM | 6686000
Plate 1 | D06 | Group 1 | OX 4.58E-6 mM | 9796000
Plate 1 | E06 | Group 1 | OX 4.58E-6 mM | 13470000
Plate 1 | F06 | Group 1 | OX 4.58E-6 mM | 5775000
Plate 1 | G06 | Group 1 | OX 1.17E-3 mM | 4952000
Plate 1 | H06 | Group 1 | OX 1.17E-3 mM | 5491000
Plate 1 | I06 | Group 1 | OX 1.17E-3 mM | 5318000
Plate 1 | J06 | Group 1 | OX 1.17E-3 mM | 4610000
Plate 1 | K06 | Group 1 | OX 1.17E-3 mM | 4238000
Plate 1 | L06 | Group 1 | OX 3.00E-1 mM | 463300
Plate 1 | M06 | Group 1 | OX 3.00E-1 mM | 39990
Plate 1 | N06 | Group 1 | OX 3.00E-1 mM | 246700
Plate 1 | O06 | Group 1 | OX 3.00E-1 mM | 188100
Plate 1 | B07 | Group 1 | OX 9.16E-6 mM | 2933000
Plate 1 | C07 | Group 1 | OX 9.16E-6 mM | 7698000
Plate 1 | D07 | Group 1 | OX 9.16E-6 mM | 7787000
Plate 1 | E07 | Group 1 | OX 9.16E-6 mM | 4016000
Plate 1 | F07 | Group 1 | OX 9.16E-6 mM | 10900000
Plate 1 | G07 | Group 1 | OX 2.34E-3 mM | 6383000
Plate 1 | H07 | Group 1 | OX 2.34E-3 mM | 5935000
Plate 1 | I07 | Group 1 | OX 2.34E-3 mM | 7598000
Plate 1 | J07 | Group 1 | OX 2.34E-3 mM | 3559000
Plate 1 | K07 | Group 1 | OX 2.34E-3 mM | 7673000
Plate 1 | L07 | Group 1 | OX 6.00E-1 mM | 129200
Plate 1 | M07 | Group 1 | OX 6.00E-1 mM | 97860
Plate 1 | N07 | Group 1 | OX 6.00E-1 mM | 176700
Plate 1 | O07 | Group 1 | OX 6.00E-1 mM | 173600
Plate 1 | B08 | Group 1 | OX 1.83E-5 mM | 7908000
Plate 1 | C08 | Group 1 | OX 1.83E-5 mM | 4987000
Plate 1 | D08 | Group 1 | OX 1.83E-5 mM | 10520000
Plate 1 | E08 | Group 1 | OX 1.83E-5 mM | 4954000
Plate 1 | F08 | Group 1 | OX 1.83E-5 mM | 6795000
Plate 1 | G08 | Group 1 | OX 4.69E-3 mM | 2106000
Plate 1 | H08 | Group 1 | OX 4.69E-3 mM | 3761000
Plate 1 | I08 | Group 1 | OX 4.69E-3 mM | 2503000
Plate 1 | J08 | Group 1 | OX 4.69E-3 mM | 4644000
Plate 1 | K08 | Group 1 | OX 4.69E-3 mM | 2374000
Plate 1 | L08 | Group 1 | OX 1.20E0 mM | 72030
Plate 1 | M08 | Group 1 | OX 1.20E0 mM | 58830
Plate 1 | N08 | Group 1 | OX 1.20E0 mM | 31480
Plate 1 | O08 | Group 1 | OX 1.20E0 mM | 29500
Plate 1 | B09 | Group 1 | OX 3.66E-5 mM | 5655000
Plate 1 | C09 | Group 1 | OX 3.66E-5 mM | 4578000
Plate 1 | D09 | Group 1 | OX 3.66E-5 mM | 4790000
Plate 1 | E09 | Group 1 | OX 3.66E-5 mM | 6712000
Plate 1 | F09 | Group 1 | OX 3.66E-5 mM | 7717000
Plate 1 | G09 | Group 1 | OX 9.38E-3 mM | 2231000
Plate 1 | H09 | Group 1 | OX 9.38E-3 mM | 975000
Plate 1 | I09 | Group 1 | OX 9.38E-3 mM | 1780000
Plate 1 | J09 | Group 1 | OX 9.38E-3 mM | 1521000
Plate 1 | K09 | Group 1 | OX 9.38E-3 mM | 2602000
Plate 1 | L09 | Group 1 | OX 2.4E0 mM | 39390
Plate 1 | M09 | Group 1 | OX 2.4E0 mM | 11040
Plate 1 | N09 | Group 1 | OX 2.4E0 mM | 6346
Plate 1 | O09 | Group 1 | OX 2.4E0 mM | 5570
Plate 1 | B10 | Group 1 | CDMO OX 2.29E-6 mM | 2390000
Plate 1 | C10 | Group 1 | CDMO OX 3.66E-5 mM | 4230000
Plate 1 | D10 | Group 1 | CDMO OX 5.86E-4 mM | 4109000
Plate 1 | E10 | Group 1 | CDMO OX 9.38E-3 mM | 659400
Plate 1 | F10 | Group 1 | CDMO OX 1.50E-1 mM | 485500
Plate 1 | G10 | Group 1 | CDMO OX 2.40E0 mM | 109600
Plate 1 | H10 | Group 1 | OX 1.88E-2 mM | 823200
Plate 1 | I10 | Group 1 | OX 3.75E-2 mM | 1450000
Plate 1 | J10 | Group 1 | OX 7.50E-2 mM | 792200
Plate 1 | K10 | Group 1 | OX 1.50E-1 mM | 524800
Plate 1 | L10 | Group 1 | OX 3.00E-1 mM | 181300
Plate 1 | M10 | Group 1 | OX 6.00E-1 mM | 119500
Plate 1 | N10 | Group 1 | OX 1.20E0 mM | 20840
Plate 1 | O10 | Group 1 | OX 2.4E0 mM | 5075
Plate 1 | B11 | Group 1 | CDMO OX 2.29E-6 mM | 1573000
Plate 1 | C11 | Group 1 | CDMO OX 3.66E-5 mM | 5381000
Plate 1 | D11 | Group 1 | CDMO OX 5.86E-4 mM | 1321000
Plate 1 | E11 | Group 1 | CDMO OX 9.38E-3 mM | 426000
Plate 1 | F11 | Group 1 | CDMO OX 1.50E-1 mM | 845000
Plate 1 | G11 | Group 1 | CDMO OX 2.40E0 mM | 104200
Plate 1 | H11 | Group 1 | CDMO OX BLANK | 3529000
Plate 1 | I11 | Group 1 | CDMO OX BLANK | 6149000
Plate 1 | J11 | Group 1 | CDMO OX 2.29E-6 mM | 2365000
Plate 1 | K11 | Group 1 | CDMO OX 3.66E-5 mM | 946900
Plate 1 | L11 | Group 1 | CDMO OX 5.86E-4 mM | 4151000
Plate 1 | M11 | Group 1 | CDMO OX 9.38E-3 mM | 1685000
Plate 1 | N11 | Group 1 | CDMO OX 1.50E-1 mM | 336000
Plate 1 | O11 | Group 1 | CDMO OX 2.40E0 mM | 11510
Plate 1 | B12 | Group 1 | SN38 5.96E-6 mM | 9320000
Plate 1 | C12 | Group 1 | SN38 1.19E-5 mM | 8292000
Plate 1 | D12 | Group 1 | SN38 2.38E-5 mM | 8104000
Plate 1 | E12 | Group 1 | SN38 4.77E-5 mM | 6621000
Plate 1 | F12 | Group 1 | SN38 9.54E-5 mM | 4604000
Plate 1 | G12 | Group 1 | SN38 1.91E-4 mM | 5063000
Plate 1 | H12 | Group 1 | SN38 3.05E-3 mM | 3486000
Plate 1 | I12 | Group 1 | SN38 6.10E-3 mM | 2522000
Plate 1 | J12 | Group 1 | SN38 1.22E-2 mM | 2036000
Plate 1 | K12 | Group 1 | SN38 1.95E-1 mM | 959100
Plate 1 | L12 | Group 1 | SN38 3.91E-1 mM | 474500
Plate 1 | M12 | Group 1 | SN38 7.81E-1 mM | 711900
Plate 1 | N12 | Group 1 | SN38 1.56E0 mM | 94040
Plate 1 | O12 | Group 1 | SN38 3.13E0 mM | 43490
Plate 1 | B13 | Group 1 | SN38 5.96E-6 mM | 10880000
Plate 1 | C13 | Group 1 | SN38 1.19E-5 mM | 7148000
Plate 1 | D13 | Group 1 | SN38 2.38E-5 mM | 9376000
Plate 1 | E13 | Group 1 | SN38 4.77E-5 mM | 6446000
Plate 1 | F13 | Group 1 | SN38 9.54E-5 mM | 8105000
Plate 1 | G13 | Group 1 | SN38 1.91E-4 mM | 11280000
Plate 1 | H13 | Group 1 | SN38 3.05E-3 mM | 1876000
Plate 1 | I13 | Group 1 | SN38 6.10E-3 mM | 1958000
Plate 1 | J13 | Group 1 | SN38 1.22E-2 mM | 2748000
Plate 1 | K13 | Group 1 | SN38 1.95E-1 mM | 1236000
Plate 1 | L13 | Group 1 | SN38 3.91E-1 mM | 984600
Plate 1 | M13 | Group 1 | SN38 7.81E-1 mM | 462000
Plate 1 | N13 | Group 1 | SN38 6.25E0 mM | 56050
Plate 1 | O13 | Group 1 | SN38 1.25E1 mM | 81040
Plate 1 | B14 | Group 1 | SN38 5.96E-6 mM | 12340000
Plate 1 | C14 | Group 1 | SN38 1.19E-5 mM | 7764000
Plate 1 | D14 | Group 1 | SN38 2.38E-5 mM | 6998000
Plate 1 | E14 | Group 1 | SN38 3.81E-4 mM | 2907000
Plate 1 | F14 | Group 1 | SN38 7.63E-4 mM | 5676000
Plate 1 | G14 | Group 1 | SN38 1.53E-3 mM | 7056000
Plate 1 | H14 | Group 1 | SN38 3.05E-3 mM | 4398000
Plate 1 | I14 | Group 1 | SN38 6.10E-3 mM | 1743000
Plate 1 | J14 | Group 1 | SN38 1.22E-2 mM | 2271000
Plate 1 | K14 | Group 1 | SN38 1.95E-1 mM | 1171000
Plate 1 | L14 | Group 1 | SN38 3.91E-1 mM | 1101000
Plate 1 | M14 | Group 1 | SN38 7.81E-1 mM | 288700
Plate 1 | N14 | Group 1 | SN38 1.25E1 mM | 108100
Plate 1 | O14 | Group 1 | SN38 1.25E1 mM | 155700
Plate 1 | B15 | Group 1 | SN38 5.96E-6 mM | 6240000
Plate 1 | C15 | Group 1 | SN38 1.19E-5 mM | 7206000
Plate 1 | D15 | Group 1 | SN38 2.38E-5 mM | 8318000
Plate 1 | E15 | Group 1 | SN38 3.81E-4 mM | 6092000
Plate 1 | F15 | Group 1 | SN38 7.63E-4 mM | 3642000
Plate 1 | G15 | Group 1 | SN38 1.53E-3 mM | 4963000
Plate 1 | H15 | Group 1 | SN38 3.05E-3 mM | 3287000
Plate 1 | I15 | Group 1 | SN38 6.10E-3 mM | 2018000
Plate 1 | J15 | Group 1 | SN38 1.22E-2 mM | 2248000
Plate 1 | K15 | Group 1 | SN38 1.95E-1 mM | 1710000
Plate 1 | L15 | Group 1 | SN38 3.91E-1 mM | 539900
Plate 1 | M15 | Group 1 | SN38 7.81E-1 mM | 492200
Plate 1 | N15 | Group 1 | SN38 1.25E1 mM | 76110
Plate 1 | O15 | Group 1 | SN38 1.25E1 mM | 127400
Plate 1 | B16 | Group 1 | SN38 5.96E-6 mM | 8131000
Plate 1 | C16 | Group 1 | SN38 1.19E-5 mM | 7771000
Plate 1 | D16 | Group 1 | SN38 2.38E-5 mM | 9898000
Plate 1 | E16 | Group 1 | SN38 3.81E-4 mM | 9849000
Plate 1 | F16 | Group 1 | SN38 7.63E-4 mM | 7654000
Plate 1 | G16 | Group 1 | SN38 1.53E-3 mM | 3558000
Plate 1 | H16 | Group 1 | SN38 2.44E-2 mM | 1584000
Plate 1 | I16 | Group 1 | SN38 4.88E-2 mM | 1649000
Plate 1 | J16 | Group 1 | SN38 9.77E-2 mM | 1061000
Plate 1 | K16 | Group 1 | SN38 1.95E-1 mM | 1274000
Plate 1 | L16 | Group 1 | SN38 3.91E-1 mM | 329900
Plate 1 | M16 | Group 1 | SN38 7.81E-1 mM | 209900
Plate 1 | N16 | Group 1 | SN38 2.50E1 mM | 98050
Plate 1 | O16 | Group 1 | SN38 2.50E1 mM | 175900
Plate 1 | B17 | Group 1 | SN38 4.77E-5 mM | 5454000
Plate 1 | C17 | Group 1 | SN38 9.54E-5 mM | 6456000
Plate 1 | D17 | Group 1 | SN38 1.91E-4 mM | 7571000
Plate 1 | E17 | Group 1 | SN38 3.81E-4 mM | 6167000
Plate 1 | F17 | Group 1 | SN38 7.63E-4 mM | 6042000
Plate 1 | G17 | Group 1 | SN38 1.53E-3 mM | 3616000
Plate 1 | H17 | Group 1 | SN38 2.44E-2 mM | 2300000
Plate 1 | I17 | Group 1 | SN38 4.88E-2 mM | 1962000
Plate 1 | J17 | Group 1 | SN38 9.77E-2 mM | 1123000
Plate 1 | K17 | Group 1 | SN38 1.56E0 mM | 137500
Plate 1 | L17 | Group 1 | SN38 3.13E0 mM | 87320
Plate 1 | M17 | Group 1 | SN38 6.25E0 mM | 95540
Plate 1 | N17 | Group 1 | SN38 2.50E1 mM | 77150
Plate 1 | O17 | Group 1 | SN38 2.50E1 mM | 130700
Plate 1 | B18 | Group 1 | SN38 4.77E-5 mM | 8877000
Plate 1 | C18 | Group 1 | SN38 9.54E-5 mM | 7954000
Plate 1 | D18 | Group 1 | SN38 1.91E-4 mM | 5870000
Plate 1 | E18 | Group 1 | SN38 3.81E-4 mM | 4150000
Plate 1 | F18 | Group 1 | SN38 7.63E-4 mM | 6876000
Plate 1 | G18 | Group 1 | SN38 1.53E-3 mM | 4776000
Plate 1 | H18 | Group 1 | SN38 2.44E-2 mM | 1226000
Plate 1 | I18 | Group 1 | SN38 4.88E-2 mM | 1947000
Plate 1 | J18 | Group 1 | SN38 9.77E-2 mM | 2086000
Plate 1 | K18 | Group 1 | SN38 1.56E0 mM | 136000
Plate 1 | L18 | Group 1 | SN38 3.13E0 mM | 66340
Plate 1 | M18 | Group 1 | SN38 6.25E0 mM | 97180
Plate 1 | N18 | Group 1 | SN38 2.50E1 mM | 185700
Plate 1 | O18 | Group 1 | SN38 5.00E1 mM | 90210
Plate 1 | B19 | Group 1 | SN38 4.77E-5 mM | 1688000
Plate 1 | C19 | Group 1 | SN38 9.54E-5 mM | 8778000
Plate 1 | D19 | Group 1 | SN38 1.91E-4 mM | 5893000
Plate 1 | E19 | Group 1 | SN38 3.05E-3 mM | 3806000
Plate 1 | F19 | Group 1 | SN38 6.10E-3 mM | 2684000
Plate 1 | G19 | Group 1 | SN38 1.22E-2 mM | 2391000
Plate 1 | H19 | Group 1 | SN38 2.44E-2 mM | 1455000
Plate 1 | I19 | Group 1 | SN38 4.88E-2 mM | 778600
Plate 1 | J19 | Group 1 | SN38 9.77E-2 mM | 956600
Plate 1 | K19 | Group 1 | SN38 1.56E0 mM | 118600
Plate 1 | L19 | Group 1 | SN38 3.13E0 mM | 135200
Plate 1 | M19 | Group 1 | SN38 6.25E0 mM | 96480
Plate 1 | N19 | Group 1 | SN38 5.00E1 mM | 175300
Plate 1 | O19 | Group 1 | SN38 5.00E1 mM | 129100
Plate 1 | B20 | Group 1 | CDMO SN38 9.54E-5 mM | 4393000
Plate 1 | C20 | Group 1 | CDMO SN38 7.63E-4 mM | 2401000
Plate 1 | D20 | Group 1 | CDMO SN38 1.22E-2 mM | 17500000
Plate 1 | E20 | Group 1 | CDMO SN38 1.95E-1 mM | 429200
Plate 1 | F20 | Group 1 | CDMO SN38 3.13E0 mM | 89620
Plate 1 | G20 | Group 1 | CDMO SN38 5.00E1 mM | 91690
Plate 1 | H20 | Group 1 | SN38 2.44E-2 mM | 1892000
Plate 1 | I20 | Group 1 | SN38 4.88E-2 mM | 1020000
Plate 1 | J20 | Group 1 | SN38 9.77E-2 mM | 1853000
Plate 1 | K20 | Group 1 | SN38 1.56E0 mM | 314200
Plate 1 | L20 | Group 1 | SN38 3.13E0 mM | 97270
Plate 1 | M20 | Group 1 | SN38 6.25E0 mM | 141000
Plate 1 | N20 | Group 1 | SN38 5.00E1 mM | 95800
Plate 1 | O20 | Group 1 | SN38 5.00E1 mM | 103900
Plate 1 | B21 | Group 1 | CDMO SN38 9.54E-5 mM | 2561000
Plate 1 | C21 | Group 1 | CDMO SN38 7.63E-4 mM | 2341000
Plate 1 | D21 | Group 1 | CDMO SN38 1.22E-2 mM | 711300
Plate 1 | E21 | Group 1 | CDMO SN38 1.95E-1 mM | 134300
Plate 1 | F21 | Group 1 | CDMO SN38 3.13E0 mM | 143500
Plate 1 | G21 | Group 1 | CDMO SN38 5.00E1 mM | 68810
Plate 1 | H21 | Group 1 | CDMO SN38 BLANK | 2142000
Plate 1 | I21 | Group 1 | CDMO SN38 BLANK | 3532000
Plate 1 | J21 | Group 1 | CDMO SN38 9.54E-5 mM | 2214000
Plate 1 | K21 | Group 1 | CDMO SN38 7.63E-4 mM | 5309000
Plate 1 | L21 | Group 1 | CDMO SN38 1.22E-2 mM | 353200
Plate 1 | M21 | Group 1 | CDMO SN38 1.95E-1 mM | 262100
Plate 1 | N21 | Group 1 | CDMO SN38 3.13E0 mM | 120600
Plate 1 | O21 | Group 1 | CDMO SN38 5.00E1 mM | 109800
Plate 1 | B22 | Group 1 | OX BLANK | 5698000
Plate 1 | C22 | Group 1 | OX BLANK | 7728000
Plate 1 | D22 | Group 1 | OX BLANK | 6675000
Plate 1 | E22 | Group 1 | OX BLANK | 4677000
Plate 1 | F22 | Group 1 | OX BLANK | 8229000
Plate 1 | G22 | Group 1 | OX BLANK | 295600
Plate 1 | H22 | Group 1 | OX BLANK | 6868000
Plate 1 | I22 | Group 1 | NVX 0 uM | 4653000
Plate 1 | J22 | Group 1 | NVX 20 uM | 450300
Plate 1 | K22 | Group 1 | NVX 20 uM | 379100
Plate 1 | L22 | Group 1 | NVX 20 uM | 202200
Plate 1 | M22 | Group 1 | NVX 40 uM | 153800
Plate 1 | N22 | Group 1 | NVX 40 uM | 104000
Plate 1 | O22 | Group 1 | NVX 40 uM | 246200
Plate 1 | B23 | Group 1 | STP 0 uM | 7887000
Plate 1 | C23 | Group 1 | STP 20 uM | 220300
Plate 1 | D23 | Group 1 | STP 20 uM | 127500
Plate 1 | E23 | Group 1 | STP 20 uM | 97030
Plate 1 | F23 | Group 1 | STP 40 uM | 142900
Plate 1 | G23 | Group 1 | STP 40 uM | 25980
Plate 1 | H23 | Group 1 | STP 40 uM | 180600
Plate 1 | I23 | Group 1 | SN38 BLANK | 6621000
Plate 1 | J23 | Group 1 | SN38 BLANK | 4807000
Plate 1 | K23 | Group 1 | SN38 BLANK | 3915000
Plate 1 | L23 | Group 1 | SN38 BLANK | 8932000
Plate 1 | M23 | Group 1 | SN38 BLANK | 8349000
Plate 1 | N23 | Group 1 | SN38 BLANK | 4807000
Plate 1 | O23 | Group 1 | SN38 BLANK | 4355000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220301_6081_OXSN38_DAY4CTG_MJP.skax
| Session notes | OXA & SN38 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/1/2022 2:03:09 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/1/2022 2:03:09 PM | Session 20220301_6081_OXSN38_DAY4CTG_MJP.skax started
| 3/1/2022 2:03:09 PM | Temperature | 23.6°C
| 3/1/2022 2:03:10 PM | Step Luminescence 1 started
| 3/1/2022 2:03:17 PM | Calibration | Luminometric 1.10467 321261422
| 3/1/2022 2:03:56 PM | Temperature | 23.6°C
| 3/1/2022 2:04:56 PM | Temperature | 23.7°C
| 3/1/2022 2:05:56 PM | Temperature | 23.7°C
| 3/1/2022 2:06:56 PM | Temperature | 23.6°C
| 3/1/2022 2:07:56 PM | Temperature | 23.6°C
| 3/1/2022 2:08:56 PM | Temperature | 23.7°C
| 3/1/2022 2:09:29 PM | Step Luminescence 1 ended
| 3/1/2022 2:09:29 PM | Temperature | 23.7°C
| 3/1/2022 2:09:40 PM | Session 20220301_6081_OXSN38_DAY4CTG_MJP.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 2.29E-6 mM | CDMO OX 2.29E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 5.96E-6 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | CDMO SN38 9.54E-5 mM | CDMO SN38 9.54E-5 mM | OX BLANK | STP 0 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
C |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | CDMO OX 3.66E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 1.19E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | CDMO SN38 7.63E-4 mM | CDMO SN38 7.63E-4 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
D |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 5.86E-4 mM | CDMO OX 5.86E-4 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 2.38E-5 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | CDMO SN38 1.22E-2 mM | CDMO SN38 1.22E-2 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
E |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 9.38E-3 mM | CDMO OX 9.38E-3 mM | SN38 4.77E-5 mM | SN38 4.77E-5 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.81E-4 mM | SN38 3.05E-3 mM | CDMO SN38 1.95E-1 mM | CDMO SN38 1.95E-1 mM | OX BLANK | STP 20 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
F |  | OX 2.86E-7 mM | OX 5.72E-7 mM | OX 1.14E-6 mM | OX 2.29E-6 mM | OX 4.58E-6 mM | OX 9.16E-6 mM | OX 1.83E-5 mM | OX 3.66E-5 mM | CDMO OX 1.50E-1 mM | CDMO OX 1.50E-1 mM | SN38 9.54E-5 mM | SN38 9.54E-5 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 7.63E-4 mM | SN38 6.10E-3 mM | CDMO SN38 3.13E0 mM | CDMO SN38 3.13E0 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
G |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | CDMO OX 2.40E0 mM | CDMO OX 2.40E0 mM | SN38 1.91E-4 mM | SN38 1.91E-4 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.53E-3 mM | SN38 1.22E-2 mM | CDMO SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 0
H |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.88E-2 mM | CDMO OX BLANK | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 3.05E-3 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | SN38 2.44E-2 mM | CDMO SN38 BLANK | OX BLANK | STP 40 uM
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 0
I |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 3.75E-2 mM | CDMO OX BLANK | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 6.10E-3 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | SN38 4.88E-2 mM | CDMO SN38 BLANK | NVX 0 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 7.50E-2 mM | CDMO OX 2.29E-6 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 1.22E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | SN38 9.77E-2 mM | CDMO SN38 9.54E-5 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | OX 7.32E-5 mM | OX 1.46E-4 mM | OX 2.93E-4 mM | OX 5.86E-4 mM | OX 1.17E-3 mM | OX 2.34E-3 mM | OX 4.69E-3 mM | OX 9.38E-3 mM | OX 1.50E-1 mM | CDMO OX 3.66E-5 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.95E-1 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | SN38 1.56E0 mM | CDMO SN38 7.63E-4 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 3.00E-1 mM | CDMO OX 5.86E-4 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.91E-1 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | SN38 3.13E0 mM | CDMO SN38 1.22E-2 mM | NVX 20 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 6.00E-1 mM | CDMO OX 9.38E-3 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 7.81E-1 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | SN38 6.25E0 mM | CDMO SN38 1.95E-1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 1.20E0 mM | CDMO OX 1.50E-1 mM | SN38 1.56E0 mM | SN38 6.25E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 3.13E0 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | OX 1.88E-2 mM | OX 3.75E-2 mM | OX 7.50E-2 mM | OX 1.50E-1 mM | OX 3.00E-1 mM | OX 6.00E-1 mM | OX 1.20E0 mM | OX 2.4E0 mM | OX 2.4E0 mM | CDMO OX 2.40E0 mM | SN38 3.13E0 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 1.25E1 mM | SN38 2.50E1 mM | SN38 2.50E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | SN38 5.00E1 mM | CDMO SN38 5.00E1 mM | NVX 40 uM | SN38 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P