## Luminescence 1_01
Measurement results
20220305_6099_5FUTAS_Day4CTG_MPH.skax
3/5/2022 12:25:02 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 886400 | 603400 | 5149000 | 2250000 | 1198000 | 6879000 | 5344000 | 2614000 | 20920000 | 11350000 | 1531000 | 1918000 | 1984000 | 3061000 | 7573000 | 1454000 | 2170000 | 4532000 | 6816000 | 14260000 | 1376000 | 2060000
C |  | 495800 | 3134000 | 3133000 | 2239000 | 1921000 | 2874000 | 3110000 | 1882000 | 10280000 | 12190000 | 4384000 | 2832000 | 2175000 | 1648000 | 1300000 | 1476000 | 1017000 | 2775000 | 12110000 | 12630000 | 244600 | 3249000
D |  | 2648000 | 4540000 | 2293000 | 2652000 | 3507000 | 2695000 | 2799000 | 3799000 | 8451000 | 8324000 | 2525000 | 3046000 | 3655000 | 2462000 | 1882000 | 802100 | 1582000 | 1927000 | 11870000 | 10630000 | 190600 | 2873000
E |  | 1652000 | 1761000 | 1773000 | 2260000 | 2349000 | 3238000 | 2196000 | 1134000 | 3041000 | 3206000 | 4767000 | 2490000 | 1599000 | 2897000 | 2742000 | 1399000 | 2131000 | 1576000 | 627600 | 1201000 | 57000 | 1735000
F |  | 2354000 | 1922000 | 3026000 | 3013000 | 4469000 | 4448000 | 2752000 | 1284000 | 281900 | 161700 | 1875000 | 1253000 | 4188000 | 1476000 | 2142000 | 1799000 | 5957000 | 1328000 | 1537000 | 852500 | 59200 | 3767000
G |  | 1842000 | 482600 | 821700 | 393900 | 729300 | 374000 | 431800 | 176800 | 63050 | 169000 | 2027000 | 4323000 | 4083000 | 1716000 | 648100 | 1271000 | 822900 | 666400 | 54080 | 109800 | 88110 | 9814000
H |  | 824500 | 2169000 | 906000 | 771500 | 552300 | 694600 | 352500 | 158600 | 172900 | 16710000 | 2095000 | 5810000 | 3421000 | 1612000 | 1737000 | 1930000 | 861000 | 342900 | 204700 | 10160000 | 211700 | 1643000
I |  | 1037000 | 613000 | 927900 | 874700 | 177700 | 207000 | 154100 | 211600 | 82400 | 9930000 | 3743000 | 2483000 | 2891000 | 1645000 | 1012000 | 2206000 | 302500 | 811900 | 295100 | 12720000 | 4167000 | 3273000
J |  | 3404000 | 3098000 | 829200 | 476300 | 235200 | 627100 | 479800 | 87060 | 75810 | 9455000 | 3465000 | 2225000 | 3092000 | 2035000 | 1085000 | 712800 | 574300 | 518500 | 174600 | 11260000 | 275100 | 3810000
K |  | 989000 | 2385000 | 1475000 | 380500 | 421600 | 509400 | 19070 | 113500 | 58540 | 7892000 | 2451000 | 3748000 | 3269000 | 3129000 | 2058000 | 860200 | 1052000 | 503300 | 176700 | 16160000 | 317400 | 3873000
L |  | 20690 | 29520 | 19840 | 7097 | 6896 | 7496 | 3645 | 7090 | 45160 | 5914000 | 445400 | 151600 | 104800 | 86170 | 33660 | 39500 | 21600 | 20900 | 134200 | 12970000 | 256700 | 4972000
M |  | 53090 | 5843 | 2031 | 2121 | 1715 | 1485 | 2098 | 4132 | 22340 | 2877000 | 122000 | 114800 | 122800 | 35740 | 27180 | 21470 | 9836 | 11980 | 43300 | 3093000 | 86850 | 1661000
N |  | 22270 | 4451 | 852 | 665.1 | 721.6 | 815.5 | 1045 | 2095 | 6262 | 328100 | 343200 | 51920 | 98100 | 73450 | 32740 | 19270 | 16900 | 16740 | 24750 | 808200 | 49380 | 3363000
O |  | 49530 | 3043 | 453.8 | 568.3 | 462.9 | 494.7 | 797.1 | 1383 | 1942 | 17380 | 196200 | 133100 | 74110 | 57000 | 41700 | 177900 | 136600 | 102900 | 124700 | 51920 | 33000 | 1702000
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
P
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | B02 | Group 1 | 5-FU 5.95E-6 mM | 886400
Plate 1 | C02 | Group 1 | 5-FU 5.95E-6 mM | 495800
Plate 1 | D02 | Group 1 | 5-FU 5.95E-6 mM | 2648000
Plate 1 | E02 | Group 1 | 5-FU 5.95E-6 mM | 1652000
Plate 1 | F02 | Group 1 | 5-FU 5.95E-6 mM | 2354000
Plate 1 | G02 | Group 1 | 5-FU 1.53E-3 mM | 1842000
Plate 1 | H02 | Group 1 | 5-FU 1.53E-3 mM | 824500
Plate 1 | I02 | Group 1 | 5-FU 1.53E-3 mM | 1037000
Plate 1 | J02 | Group 1 | 5-FU 1.53E-3 mM | 3404000
Plate 1 | K02 | Group 1 | 5-FU 1.53E-3 mM | 989000
Plate 1 | L02 | Group 1 | 5-FU 3.91E-1 mM | 20690
Plate 1 | M02 | Group 1 | 5-FU 3.91E-1 mM | 53090
Plate 1 | N02 | Group 1 | 5-FU 3.91E-1 mM | 22270
Plate 1 | O02 | Group 1 | 5-FU 3.91E-1 mM | 49530
Plate 1 | B03 | Group 1 | 5-FU 1.19E-5 mM | 603400
Plate 1 | C03 | Group 1 | 5-FU 1.19E-5 mM | 3134000
Plate 1 | D03 | Group 1 | 5-FU 1.19E-5 mM | 4540000
Plate 1 | E03 | Group 1 | 5-FU 1.19E-5 mM | 1761000
Plate 1 | F03 | Group 1 | 5-FU 1.19E-5 mM | 1922000
Plate 1 | G03 | Group 1 | 5-FU 3.05E-3 mM | 482600
Plate 1 | H03 | Group 1 | 5-FU 3.05E-3 mM | 2169000
Plate 1 | I03 | Group 1 | 5-FU 3.05E-3 mM | 613000
Plate 1 | J03 | Group 1 | 5-FU 3.05E-3 mM | 3098000
Plate 1 | K03 | Group 1 | 5-FU 3.05E-3 mM | 2385000
Plate 1 | L03 | Group 1 | 5-FU 7.81E-1 mM | 29520
Plate 1 | M03 | Group 1 | 5-FU 7.81E-1 mM | 5843
Plate 1 | N03 | Group 1 | 5-FU 7.81E-1 mM | 4451
Plate 1 | O03 | Group 1 | 5-FU 7.81E-1 mM | 3043
Plate 1 | B04 | Group 1 | 5-FU 2.38E-5 mM | 5149000
Plate 1 | C04 | Group 1 | 5-FU 2.38E-5 mM | 3133000
Plate 1 | D04 | Group 1 | 5-FU 2.38E-5 mM | 2293000
Plate 1 | E04 | Group 1 | 5-FU 2.38E-5 mM | 1773000
Plate 1 | F04 | Group 1 | 5-FU 2.38E-5 mM | 3026000
Plate 1 | G04 | Group 1 | 5-FU 6.11E-3 mM | 821700
Plate 1 | H04 | Group 1 | 5-FU 6.11E-3 mM | 906000
Plate 1 | I04 | Group 1 | 5-FU 6.11E-3 mM | 927900
Plate 1 | J04 | Group 1 | 5-FU 6.11E-3 mM | 829200
Plate 1 | K04 | Group 1 | 5-FU 6.11E-3 mM | 1475000
Plate 1 | L04 | Group 1 | 5-FU 1.56E0 mM | 19840
Plate 1 | M04 | Group 1 | 5-FU 1.56E0 mM | 2031
Plate 1 | N04 | Group 1 | 5-FU 1.56E0 mM | 852
Plate 1 | O04 | Group 1 | 5-FU 1.56E0 mM | 453.8
Plate 1 | B05 | Group 1 | 5-FU 4.76E-5 mM | 2250000
Plate 1 | C05 | Group 1 | 5-FU 4.76E-5 mM | 2239000
Plate 1 | D05 | Group 1 | 5-FU 4.76E-5 mM | 2652000
Plate 1 | E05 | Group 1 | 5-FU 4.76E-5 mM | 2260000
Plate 1 | F05 | Group 1 | 5-FU 4.76E-5 mM | 3013000
Plate 1 | G05 | Group 1 | 5-FU 1.22E-2 mM | 393900
Plate 1 | H05 | Group 1 | 5-FU 1.22E-2 mM | 771500
Plate 1 | I05 | Group 1 | 5-FU 1.22E-2 mM | 874700
Plate 1 | J05 | Group 1 | 5-FU 1.22E-2 mM | 476300
Plate 1 | K05 | Group 1 | 5-FU 1.22E-2 mM | 380500
Plate 1 | L05 | Group 1 | 5-FU 3.13E0 mM | 7097
Plate 1 | M05 | Group 1 | 5-FU 3.13E0 mM | 2121
Plate 1 | N05 | Group 1 | 5-FU 3.13E0 mM | 665.1
Plate 1 | O05 | Group 1 | 5-FU 3.13E0 mM | 568.3
Plate 1 | B06 | Group 1 | 5-FU 9.52E-5 mM | 1198000
Plate 1 | C06 | Group 1 | 5-FU 9.52E-5 mM | 1921000
Plate 1 | D06 | Group 1 | 5-FU 9.52E-5 mM | 3507000
Plate 1 | E06 | Group 1 | 5-FU 9.52E-5 mM | 2349000
Plate 1 | F06 | Group 1 | 5-FU 9.52E-5 mM | 4469000
Plate 1 | G06 | Group 1 | 5-FU 2.44E-2 mM | 729300
Plate 1 | H06 | Group 1 | 5-FU 2.44E-2 mM | 552300
Plate 1 | I06 | Group 1 | 5-FU 2.44E-2 mM | 177700
Plate 1 | J06 | Group 1 | 5-FU 2.44E-2 mM | 235200
Plate 1 | K06 | Group 1 | 5-FU 2.44E-2 mM | 421600
Plate 1 | L06 | Group 1 | 5-FU 6.25E0 mM | 6896
Plate 1 | M06 | Group 1 | 5-FU 6.25E0 mM | 1715
Plate 1 | N06 | Group 1 | 5-FU 6.25E0 mM | 721.6
Plate 1 | O06 | Group 1 | 5-FU 6.25E0 mM | 462.9
Plate 1 | B07 | Group 1 | 5-FU 1.90E-4 mM | 6879000
Plate 1 | C07 | Group 1 | 5-FU 1.90E-4 mM | 2874000
Plate 1 | D07 | Group 1 | 5-FU 1.90E-4 mM | 2695000
Plate 1 | E07 | Group 1 | 5-FU 1.90E-4 mM | 3238000
Plate 1 | F07 | Group 1 | 5-FU 1.90E-4 mM | 4448000
Plate 1 | G07 | Group 1 | 5-FU 4.88E-2 mM | 374000
Plate 1 | H07 | Group 1 | 5-FU 4.88E-2 mM | 694600
Plate 1 | I07 | Group 1 | 5-FU 4.88E-2 mM | 207000
Plate 1 | J07 | Group 1 | 5-FU 4.88E-2 mM | 627100
Plate 1 | K07 | Group 1 | 5-FU 4.88E-2 mM | 509400
Plate 1 | L07 | Group 1 | 5-FU 1.25E1 mM | 7496
Plate 1 | M07 | Group 1 | 5-FU 1.25E1 mM | 1485
Plate 1 | N07 | Group 1 | 5-FU 1.25E1 mM | 815.5
Plate 1 | O07 | Group 1 | 5-FU 1.25E1 mM | 494.7
Plate 1 | B08 | Group 1 | 5-FU 3.81E-4 mM | 5344000
Plate 1 | C08 | Group 1 | 5-FU 3.81E-4 mM | 3110000
Plate 1 | D08 | Group 1 | 5-FU 3.81E-4 mM | 2799000
Plate 1 | E08 | Group 1 | 5-FU 3.81E-4 mM | 2196000
Plate 1 | F08 | Group 1 | 5-FU 3.81E-4 mM | 2752000
Plate 1 | G08 | Group 1 | 5-FU 9.77E-2 mM | 431800
Plate 1 | H08 | Group 1 | 5-FU 9.77E-2 mM | 352500
Plate 1 | I08 | Group 1 | 5-FU 9.77E-2 mM | 154100
Plate 1 | J08 | Group 1 | 5-FU 9.77E-2 mM | 479800
Plate 1 | K08 | Group 1 | 5-FU 9.77E-2 mM | 19070
Plate 1 | L08 | Group 1 | 5-FU 2.50E1 mM | 3645
Plate 1 | M08 | Group 1 | 5-FU 2.50E1 mM | 2098
Plate 1 | N08 | Group 1 | 5-FU 2.50E1 mM | 1045
Plate 1 | O08 | Group 1 | 5-FU 2.50E1 mM | 797.1
Plate 1 | B09 | Group 1 | 5-FU 7.62E-4 mM | 2614000
Plate 1 | C09 | Group 1 | 5-FU 7.62E-4 mM | 1882000
Plate 1 | D09 | Group 1 | 5-FU 7.62E-4 mM | 3799000
Plate 1 | E09 | Group 1 | 5-FU 7.62E-4 mM | 1134000
Plate 1 | F09 | Group 1 | 5-FU 7.62E-4 mM | 1284000
Plate 1 | G09 | Group 1 | 5-FU 1.95E-1 mM | 176800
Plate 1 | H09 | Group 1 | 5-FU 1.95E-1 mM | 158600
Plate 1 | I09 | Group 1 | 5-FU 1.95E-1 mM | 211600
Plate 1 | J09 | Group 1 | 5-FU 1.95E-1 mM | 87060
Plate 1 | K09 | Group 1 | 5-FU 1.95E-1 mM | 113500
Plate 1 | L09 | Group 1 | 5-FU 5.00E1 mM | 7090
Plate 1 | M09 | Group 1 | 5-FU 5.00E1 mM | 4132
Plate 1 | N09 | Group 1 | 5-FU 5.00E1 mM | 2095
Plate 1 | O09 | Group 1 | 5-FU 5.00E1 mM | 1383
Plate 1 | B10 | Group 1 | CDMO 5FU 4.76E-5 mM | 20920000
Plate 1 | C10 | Group 1 | CDMO 5FU 7.62E-4 mM | 10280000
Plate 1 | D10 | Group 1 | CDMO 5FU 1.22E-2 mM | 8451000
Plate 1 | E10 | Group 1 | CDMO 5FU 1.95E-1 mM | 3041000
Plate 1 | F10 | Group 1 | CDMO 5FU 3.13E0 mM | 281900
Plate 1 | G10 | Group 1 | CDMO 5FU 5.00E1 mM | 63050
Plate 1 | H10 | Group 1 | 5-FU 3.91E-1 mM | 172900
Plate 1 | I10 | Group 1 | 5-FU 7.81E-1 mM | 82400
Plate 1 | J10 | Group 1 | 5-FU 1.56E0 mM | 75810
Plate 1 | K10 | Group 1 | 5-FU 3.13E0 mM | 58540
Plate 1 | L10 | Group 1 | 5-FU 6.25E0 mM | 45160
Plate 1 | M10 | Group 1 | 5-FU 1.25E1 mM | 22340
Plate 1 | N10 | Group 1 | 5-FU 2.50E1 mM | 6262
Plate 1 | O10 | Group 1 | 5-FU 5.00E1 mM | 1942
Plate 1 | B11 | Group 1 | CDMO 5FU 4.76E-5 mM | 11350000
Plate 1 | C11 | Group 1 | CDMO 5FU 7.62E-4 mM | 12190000
Plate 1 | D11 | Group 1 | CDMO 5FU 1.22E-2 mM | 8324000
Plate 1 | E11 | Group 1 | CDMO 5FU 1.95E-1 mM | 3206000
Plate 1 | F11 | Group 1 | CDMO 5FU 3.13E0 mM | 161700
Plate 1 | G11 | Group 1 | CDMO 5FU 5.00E1 mM | 169000
Plate 1 | H11 | Group 1 | CDMO 5FU BLANK | 16710000
Plate 1 | I11 | Group 1 | CDMO 5FU BLANK | 9930000
Plate 1 | J11 | Group 1 | CDMO 5FU 4.76E-5 mM | 9455000
Plate 1 | K11 | Group 1 | CDMO 5FU 7.62E-4 mM | 7892000
Plate 1 | L11 | Group 1 | CDMO 5FU 1.22E-2 mM | 5914000
Plate 1 | M11 | Group 1 | CDMO 5FU 1.95E-1 mM | 2877000
Plate 1 | N11 | Group 1 | CDMO 5FU 3.13E0 mM | 328100
Plate 1 | O11 | Group 1 | CDMO 5FU 5.00E1 mM | 17380
Plate 1 | B12 | Group 1 | TAS102 5.96E-7 mM | 1531000
Plate 1 | C12 | Group 1 | TAS102 5.96E-7 mM | 4384000
Plate 1 | D12 | Group 1 | TAS102 5.96E-7 mM | 2525000
Plate 1 | E12 | Group 1 | TAS102 5.96E-7 mM | 4767000
Plate 1 | F12 | Group 1 | TAS102 5.96E-7 mM | 1875000
Plate 1 | G12 | Group 1 | TAS102 1.52E-4 mM | 2027000
Plate 1 | H12 | Group 1 | TAS102 1.52E-4 mM | 2095000
Plate 1 | I12 | Group 1 | TAS102 1.52E-4 mM | 3743000
Plate 1 | J12 | Group 1 | TAS102 1.52E-4 mM | 3465000
Plate 1 | K12 | Group 1 | TAS102 1.52E-4 mM | 2451000
Plate 1 | L12 | Group 1 | TAS102 3.91E-2 mM | 445400
Plate 1 | M12 | Group 1 | TAS102 3.91E-2 mM | 122000
Plate 1 | N12 | Group 1 | TAS102 3.91E-2 mM | 343200
Plate 1 | O12 | Group 1 | TAS102 3.91E-2 mM | 196200
Plate 1 | B13 | Group 1 | TAS102 1.19E-6 mM | 1918000
Plate 1 | C13 | Group 1 | TAS102 1.19E-6 mM | 2832000
Plate 1 | D13 | Group 1 | TAS102 1.19E-6 mM | 3046000
Plate 1 | E13 | Group 1 | TAS102 1.19E-6 mM | 2490000
Plate 1 | F13 | Group 1 | TAS102 1.19E-6 mM | 1253000
Plate 1 | G13 | Group 1 | TAS102 3.05E-4 mM | 4323000
Plate 1 | H13 | Group 1 | TAS102 3.05E-4 mM | 5810000
Plate 1 | I13 | Group 1 | TAS102 3.05E-4 mM | 2483000
Plate 1 | J13 | Group 1 | TAS102 3.05E-4 mM | 2225000
Plate 1 | K13 | Group 1 | TAS102 3.05E-4 mM | 3748000
Plate 1 | L13 | Group 1 | TAS102 7.82E-2 mM | 151600
Plate 1 | M13 | Group 1 | TAS102 7.82E-2 mM | 114800
Plate 1 | N13 | Group 1 | TAS102 7.82E-2 mM | 51920
Plate 1 | O13 | Group 1 | TAS102 7.82E-2 mM | 133100
Plate 1 | B14 | Group 1 | TAS102 2.38E-6 mM | 1984000
Plate 1 | C14 | Group 1 | TAS102 2.38E-6 mM | 2175000
Plate 1 | D14 | Group 1 | TAS102 2.38E-6 mM | 3655000
Plate 1 | E14 | Group 1 | TAS102 2.38E-6 mM | 1599000
Plate 1 | F14 | Group 1 | TAS102 2.38E-6 mM | 4188000
Plate 1 | G14 | Group 1 | TAS102 6.10E-4 mM | 4083000
Plate 1 | H14 | Group 1 | TAS102 6.10E-4 mM | 3421000
Plate 1 | I14 | Group 1 | TAS102 6.10E-4 mM | 2891000
Plate 1 | J14 | Group 1 | TAS102 6.10E-4 mM | 3092000
Plate 1 | K14 | Group 1 | TAS102 6.10E-4 mM | 3269000
Plate 1 | L14 | Group 1 | TAS102 1.56E-1 mM | 104800
Plate 1 | M14 | Group 1 | TAS102 1.56E-1 mM | 122800
Plate 1 | N14 | Group 1 | TAS102 1.56E-1 mM | 98100
Plate 1 | O14 | Group 1 | TAS102 1.56E-1 mM | 74110
Plate 1 | B15 | Group 1 | TAS102 4.77E-6 mM | 3061000
Plate 1 | C15 | Group 1 | TAS102 4.77E-6 mM | 1648000
Plate 1 | D15 | Group 1 | TAS102 4.77E-6 mM | 2462000
Plate 1 | E15 | Group 1 | TAS102 4.77E-6 mM | 2897000
Plate 1 | F15 | Group 1 | TAS102 4.77E-6 mM | 1476000
Plate 1 | G15 | Group 1 | TAS102 1.22E-3 mM | 1716000
Plate 1 | H15 | Group 1 | TAS102 1.22E-3 mM | 1612000
Plate 1 | I15 | Group 1 | TAS102 1.22E-3 mM | 1645000
Plate 1 | J15 | Group 1 | TAS102 1.22E-3 mM | 2035000
Plate 1 | K15 | Group 1 | TAS102 1.22E-3 mM | 3129000
Plate 1 | L15 | Group 1 | TAS102 3.13E-1 mM | 86170
Plate 1 | M15 | Group 1 | TAS102 3.13E-1 mM | 35740
Plate 1 | N15 | Group 1 | TAS102 3.13E-1 mM | 73450
Plate 1 | O15 | Group 1 | TAS102 3.13E-1 mM | 57000
Plate 1 | B16 | Group 1 | TAS102 9.53E-6 mM | 7573000
Plate 1 | C16 | Group 1 | TAS102 9.53E-6 mM | 1300000
Plate 1 | D16 | Group 1 | TAS102 9.53E-6 mM | 1882000
Plate 1 | E16 | Group 1 | TAS102 9.53E-6 mM | 2742000
Plate 1 | F16 | Group 1 | TAS102 9.53E-6 mM | 2142000
Plate 1 | G16 | Group 1 | TAS102 2.44E-3 mM | 648100
Plate 1 | H16 | Group 1 | TAS102 2.44E-3 mM | 1737000
Plate 1 | I16 | Group 1 | TAS102 2.44E-3 mM | 1012000
Plate 1 | J16 | Group 1 | TAS102 2.44E-3 mM | 1085000
Plate 1 | K16 | Group 1 | TAS102 2.44E-3 mM | 2058000
Plate 1 | L16 | Group 1 | TAS102 6.25E-1 mM | 33660
Plate 1 | M16 | Group 1 | TAS102 6.25E-1 mM | 27180
Plate 1 | N16 | Group 1 | TAS102 6.25E-1 mM | 32740
Plate 1 | O16 | Group 1 | TAS102 6.25E-1 mM | 41700
Plate 1 | B17 | Group 1 | TAS102 1.91E-5 mM | 1454000
Plate 1 | C17 | Group 1 | TAS102 1.91E-5 mM | 1476000
Plate 1 | D17 | Group 1 | TAS102 1.91E-5 mM | 802100
Plate 1 | E17 | Group 1 | TAS102 1.91E-5 mM | 1399000
Plate 1 | F17 | Group 1 | TAS102 1.91E-5 mM | 1799000
Plate 1 | G17 | Group 1 | TAS102 4.88E-3 mM | 1271000
Plate 1 | H17 | Group 1 | TAS102 4.88E-3 mM | 1930000
Plate 1 | I17 | Group 1 | TAS102 4.88E-3 mM | 2206000
Plate 1 | J17 | Group 1 | TAS102 4.88E-3 mM | 712800
Plate 1 | K17 | Group 1 | TAS102 4.88E-3 mM | 860200
Plate 1 | L17 | Group 1 | TAS102 1.25E0 mM | 39500
Plate 1 | M17 | Group 1 | TAS102 1.25E0 mM | 21470
Plate 1 | N17 | Group 1 | TAS102 1.25E0 mM | 19270
Plate 1 | O17 | Group 1 | TAS102 1.25E0 mM | 177900
Plate 1 | B18 | Group 1 | TAS102 3.81E-5 mM | 2170000
Plate 1 | C18 | Group 1 | TAS102 3.81E-5 mM | 1017000
Plate 1 | D18 | Group 1 | TAS102 3.81E-5 mM | 1582000
Plate 1 | E18 | Group 1 | TAS102 3.81E-5 mM | 2131000
Plate 1 | F18 | Group 1 | TAS102 3.81E-5 mM | 5957000
Plate 1 | G18 | Group 1 | TAS102 9.76E-3 mM | 822900
Plate 1 | H18 | Group 1 | TAS102 9.76E-3 mM | 861000
Plate 1 | I18 | Group 1 | TAS102 9.76E-3 mM | 302500
Plate 1 | J18 | Group 1 | TAS102 9.76E-3 mM | 574300
Plate 1 | K18 | Group 1 | TAS102 9.76E-3 mM | 1052000
Plate 1 | L18 | Group 1 | TAS102 2.50E0 mM | 21600
Plate 1 | M18 | Group 1 | TAS102 2.50E0 mM | 9836
Plate 1 | N18 | Group 1 | TAS102 2.50E0 mM | 16900
Plate 1 | O18 | Group 1 | TAS102 2.50E0 mM | 136600
Plate 1 | B19 | Group 1 | TAS102 7.63E-5 mM | 4532000
Plate 1 | C19 | Group 1 | TAS102 7.63E-5 mM | 2775000
Plate 1 | D19 | Group 1 | TAS102 7.63E-5 mM | 1927000
Plate 1 | E19 | Group 1 | TAS102 7.63E-5 mM | 1576000
Plate 1 | F19 | Group 1 | TAS102 7.63E-5 mM | 1328000
Plate 1 | G19 | Group 1 | TAS102 1.95E-2 mM | 666400
Plate 1 | H19 | Group 1 | TAS102 1.95E-2 mM | 342900
Plate 1 | I19 | Group 1 | TAS102 1.95E-2 mM | 811900
Plate 1 | J19 | Group 1 | TAS102 1.95E-2 mM | 518500
Plate 1 | K19 | Group 1 | TAS102 1.95E-2 mM | 503300
Plate 1 | L19 | Group 1 | TAS102 5.00E0 mM | 20900
Plate 1 | M19 | Group 1 | TAS102 5.00E0 mM | 11980
Plate 1 | N19 | Group 1 | TAS102 5.00E0 mM | 16740
Plate 1 | O19 | Group 1 | TAS102 5.00E0 mM | 102900
Plate 1 | B20 | Group 1 | CDMO TAS102 4.77E-6 mM | 6816000
Plate 1 | C20 | Group 1 | CDMO TAS102 7.63E-5 mM | 12110000
Plate 1 | D20 | Group 1 | CDMO TAS102 1.22E-3 mM | 11870000
Plate 1 | E20 | Group 1 | CDMO TAS102 1.95E-2 mM | 627600
Plate 1 | F20 | Group 1 | CDMO TAS102 3.11E-1 mM | 1537000
Plate 1 | G20 | Group 1 | CDMO TAS102 5.00E0 mM | 54080
Plate 1 | H20 | Group 1 | TAS102 3.91E-2 mM | 204700
Plate 1 | I20 | Group 1 | TAS102 7.82E-2 mM | 295100
Plate 1 | J20 | Group 1 | TAS102 1.56E-1 mM | 174600
Plate 1 | K20 | Group 1 | TAS102 3.13E-1 mM | 176700
Plate 1 | L20 | Group 1 | TAS102 6.25E-1 mM | 134200
Plate 1 | M20 | Group 1 | TAS102 1.25E0 mM | 43300
Plate 1 | N20 | Group 1 | TAS102 2.50E0 mM | 24750
Plate 1 | O20 | Group 1 | TAS102 5.00E0 mM | 124700
Plate 1 | B21 | Group 1 | CDMO TAS102 4.77E-6 mM | 14260000
Plate 1 | C21 | Group 1 | CDMO TAS102 7.63E-5 mM | 12630000
Plate 1 | D21 | Group 1 | CDMO TAS102 1.22E-3 mM | 10630000
Plate 1 | E21 | Group 1 | CDMO TAS102 1.95E-2 mM | 1201000
Plate 1 | F21 | Group 1 | CDMO TAS102 3.11E-1 mM | 852500
Plate 1 | G21 | Group 1 | CDMO TAS102 5.00E0 mM | 109800
Plate 1 | H21 | Group 1 | CDMO TAS102 BLANK | 10160000
Plate 1 | I21 | Group 1 | CDMO TAS102 BLANK | 12720000
Plate 1 | J21 | Group 1 | CDMO TAS102 4.77E-6 mM | 11260000
Plate 1 | K21 | Group 1 | CDMO TAS102 7.63E-5 mM | 16160000
Plate 1 | L21 | Group 1 | CDMO TAS102 1.22E-3 mM | 12970000
Plate 1 | M21 | Group 1 | CDMO TAS102 1.95E-2 mM | 3093000
Plate 1 | N21 | Group 1 | CDMO TAS102 3.11E-1 mM | 808200
Plate 1 | O21 | Group 1 | CDMO TAS102 5.00E0 mM | 51920
Plate 1 | B22 | Group 1 | STP 0 uM | 1376000
Plate 1 | C22 | Group 1 | STP 20 uM | 244600
Plate 1 | D22 | Group 1 | STP 20 uM | 190600
Plate 1 | E22 | Group 1 | STP 20 uM | 57000
Plate 1 | F22 | Group 1 | STP 40 uM | 59200
Plate 1 | G22 | Group 1 | STP 40 uM | 88110
Plate 1 | H22 | Group 1 | STP 40 uM | 211700
Plate 1 | I22 | Group 1 | NVX 0 uM | 4167000
Plate 1 | J22 | Group 1 | NVX 20 uM | 275100
Plate 1 | K22 | Group 1 | NVX 20 uM | 317400
Plate 1 | L22 | Group 1 | NVX 20 uM | 256700
Plate 1 | M22 | Group 1 | NVX 40 uM | 86850
Plate 1 | N22 | Group 1 | NVX 40 uM | 49380
Plate 1 | O22 | Group 1 | NVX 40 uM | 33000
Plate 1 | B23 | Group 1 | 5-FU BLANK | 2060000
Plate 1 | C23 | Group 1 | 5-FU BLANK | 3249000
Plate 1 | D23 | Group 1 | 5-FU BLANK | 2873000
Plate 1 | E23 | Group 1 | 5-FU BLANK | 1735000
Plate 1 | F23 | Group 1 | 5-FU BLANK | 3767000
Plate 1 | G23 | Group 1 | 5-FU BLANK | 9814000
Plate 1 | H23 | Group 1 | 5-FU BLANK | 1643000
Plate 1 | I23 | Group 1 | TAS102 BLANK | 3273000
Plate 1 | J23 | Group 1 | TAS102 BLANK | 3810000
Plate 1 | K23 | Group 1 | TAS102 BLANK | 3873000
Plate 1 | L23 | Group 1 | TAS102 BLANK | 4972000
Plate 1 | M23 | Group 1 | TAS102 BLANK | 1661000
Plate 1 | N23 | Group 1 | TAS102 BLANK | 3363000
Plate 1 | O23 | Group 1 | TAS102 BLANK | 1702000

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51

## Session information
Session information
| Session name | 20220305_6099_5FUTAS_Day4CTG_MPH.skax
| Session notes | 5-FU & TAS102 drug layout for V2
12NOV2021
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 3/5/2022 12:25:02 PM
| User | DESKTOP-Q87EDMT\VarioSKAN

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80787
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2041802
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | Yes
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 3/5/2022 12:25:02 PM | Session 20220305_6099_5FUTAS_Day4CTG_MPH.skax started
| 3/5/2022 12:25:02 PM | Temperature | 21.3°C
| 3/5/2022 12:25:03 PM | Step Luminescence 1 started
| 3/5/2022 12:25:04 PM | Temperature | 21.3°C
| 3/5/2022 12:25:10 PM | Calibration | Luminometric 1.11303 355232584
| 3/5/2022 12:26:04 PM | Temperature | 21.3°C
| 3/5/2022 12:27:04 PM | Temperature | 21.3°C
| 3/5/2022 12:28:04 PM | Temperature | 21.3°C
| 3/5/2022 12:29:04 PM | Temperature | 21.4°C
| 3/5/2022 12:30:04 PM | Temperature | 21.4°C
| 3/5/2022 12:31:04 PM | Temperature | 21.3°C
| 3/5/2022 12:31:29 PM | Step Luminescence 1 ended
| 3/5/2022 12:31:29 PM | Temperature | 21.4°C
| 3/5/2022 12:31:39 PM | Session 20220305_6099_5FUTAS_Day4CTG_MPH.skax ended

## Layout definitions
Name | Plate 1
Plate template | BRAND, clear bottom, white/black, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 4.76E-5 mM | CDMO 5FU 4.76E-5 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 4.77E-6 mM | CDMO TAS102 4.77E-6 mM | STP 0 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
C |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | CDMO 5FU 7.62E-4 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | CDMO TAS102 7.63E-5 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
D |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.22E-2 mM | CDMO 5FU 1.22E-2 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.22E-3 mM | CDMO TAS102 1.22E-3 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
E |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 1.95E-1 mM | CDMO 5FU 1.95E-1 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 1.95E-2 mM | CDMO TAS102 1.95E-2 mM | STP 20 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
F |  | 5-FU 5.95E-6 mM | 5-FU 1.19E-5 mM | 5-FU 2.38E-5 mM | 5-FU 4.76E-5 mM | 5-FU 9.52E-5 mM | 5-FU 1.90E-4 mM | 5-FU 3.81E-4 mM | 5-FU 7.62E-4 mM | CDMO 5FU 3.13E0 mM | CDMO 5FU 3.13E0 mM | TAS102 5.96E-7 mM | TAS102 1.19E-6 mM | TAS102 2.38E-6 mM | TAS102 4.77E-6 mM | TAS102 9.53E-6 mM | TAS102 1.91E-5 mM | TAS102 3.81E-5 mM | TAS102 7.63E-5 mM | CDMO TAS102 3.11E-1 mM | CDMO TAS102 3.11E-1 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
G |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | CDMO 5FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | CDMO TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 0 | 1:1
H |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.91E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.91E-2 mM | CDMO TAS102 BLANK | STP 40 uM | 5-FU BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
I |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 7.81E-1 mM | CDMO 5FU BLANK | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 7.82E-2 mM | CDMO TAS102 BLANK | NVX 0 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
J |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 1.56E0 mM | CDMO 5FU 4.76E-5 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 1.56E-1 mM | CDMO TAS102 4.77E-6 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
K |  | 5-FU 1.53E-3 mM | 5-FU 3.05E-3 mM | 5-FU 6.11E-3 mM | 5-FU 1.22E-2 mM | 5-FU 2.44E-2 mM | 5-FU 4.88E-2 mM | 5-FU 9.77E-2 mM | 5-FU 1.95E-1 mM | 5-FU 3.13E0 mM | CDMO 5FU 7.62E-4 mM | TAS102 1.52E-4 mM | TAS102 3.05E-4 mM | TAS102 6.10E-4 mM | TAS102 1.22E-3 mM | TAS102 2.44E-3 mM | TAS102 4.88E-3 mM | TAS102 9.76E-3 mM | TAS102 1.95E-2 mM | TAS102 3.13E-1 mM | CDMO TAS102 7.63E-5 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
L |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 6.25E0 mM | CDMO 5FU 1.22E-2 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 6.25E-1 mM | CDMO TAS102 1.22E-3 mM | NVX 20 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
M |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 1.25E1 mM | CDMO 5FU 1.95E-1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 1.25E0 mM | CDMO TAS102 1.95E-2 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
N |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 2.50E1 mM | CDMO 5FU 3.13E0 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 2.50E0 mM | CDMO TAS102 3.11E-1 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
O |  | 5-FU 3.91E-1 mM | 5-FU 7.81E-1 mM | 5-FU 1.56E0 mM | 5-FU 3.13E0 mM | 5-FU 6.25E0 mM | 5-FU 1.25E1 mM | 5-FU 2.50E1 mM | 5-FU 5.00E1 mM | 5-FU 5.00E1 mM | CDMO 5FU 5.00E1 mM | TAS102 3.91E-2 mM | TAS102 7.82E-2 mM | TAS102 1.56E-1 mM | TAS102 3.13E-1 mM | TAS102 6.25E-1 mM | TAS102 1.25E0 mM | TAS102 2.50E0 mM | TAS102 5.00E0 mM | TAS102 5.00E0 mM | CDMO TAS102 5.00E0 mM | NVX 40 uM | TAS102 BLANK
|  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 0 | 0 | 1:1
P